## Table of Contents
Table of Contents
Click on Table Name
Wholesale Cost
Monthly Weather and Energy
Daily Weather and Energy
System Marginal Price
Monthly Generation Fuel Mix
Daily Generation Fuel Mix
Monthly Uplift
Monthly Zonal Uplift
Daily Uplift
High Uplift Days
Uneconomic CC, CT, Steam Hours
Reliability and Deviations BOR
Operating Reserve
Balancing Operating Reserve MWh
Balancing Operating Reserve $
Monthly LOC
Daily LOC
Monthly Load Weighted LMP
Annual LMP Averages
LMP Suspensions and Reruns
Annual DR Estimated Revenue
Demand Response
Incs, Decs and Up-Tos
Congestion and FTR Revenue
Balancing Congestion Facilities
Average Interface Prices
Market to Market Congestion
Regulation and Sync Reserve
Regulation Daily
Synchronized Reserve Daily
Daily Marginal Losses
Monthly Marginal Losses
Sychronized Reserve Performance
Shortage Pricing Intervals
Shortage Interval Constraints

## Wholesale Cost
Wholesale Cost
($/MWh of Load)
Click to return to Table of Contents
Year | Energy | Reliability Capacity | Transmission | Regulation | Operating Reserve | PJM Cost | Reactive | Transmission Owner Control | Synchronized Reserve | Black Start | Total
2019 | 27.15 | 11.05 | 9.52 | 0.11 | 0.11 | 0.38 | 0.44 | 0.09 | 0.04 | 0.08 | 48.98
2020 | 21.65 | 9.45 | 11.03 | 0.1 | 0.12 | 0.38 | 0.47 | 0.09 | 0.03 | 0.09 | 43.41
2021 | 39.79 | 11.04 | 11.72 | 0.18 | 0.23 | 0.38 | 0.47 | 0.09 | 0.07 | 0.09 | 64.07
2022 | 80.17 | 8 | 12.5 | 0.37 | 0.37 | 0.4 | 0.48 | 0.07 | 0.11 | 0.09 | 102.56
2023 | 31.38 | 3.98 | 13.77 | 0.18 | 0.22 | 0.4 | 0.5 | 0.08 | 0.01 | 0.09 | 50.6

## Monthly Weather and Energy
Monthly Weather and Energy
Click to return to Table of Contents
Date | Current Month HDD+CDD | Monthly Average HDD+CDD | Current Month Energy (TWh) | Monthly Average Energy (TWh)
NOV21 | 489.88 | 437.65 | 61.11 | 60.5
DEC21 | 521.21 | 739.83 | 64.94 | 69.11
JAN22 | 981.39 | 876.48 | 76.39 | 72.25
FEB22 | 688.82 | 729.7 | 64 | 64.13
MAR22 | 454.47 | 546.54 | 62.9 | 64.23
APR22 | 281.23 | 254.89 | 56.51 | 56.65
MAY22 | 153.71 | 143.87 | 61.06 | 60.26
JUN22 | 258.8 | 238.01 | 67.81 | 67.61
JUL22 | 403.13 | 351.66 | 77.69 | 76.34
AUG22 | 345.45 | 310.61 | 76.38 | 74.9
SEP22 | 178.06 | 159.21 | 62.66 | 63.24
OCT22 | 181.52 | 190.63 | 57.34 | 59.45
NOV22 | 408.96 | 439.83 | 60.66 | 60.53
DEC22 | 747.38 | 730.72 | 71.64 | 68.94
JAN23 | 622.48 | 880.68 | 68.24 | 72.41
FEB23 | 521.29 | 728.06 | 60.28 | 64.13
MAR23 | 510.36 | 542.86 | 63.9 | 64.17
APR23 | 210.04 | 255.95 | 55.53 | 56.65
MAY23 | 97.85 | 144.27 | 58.01 | 60.29
JUN23 | 170.64 | 238.84 | 62.69 | 67.62
JUL23 | 383.35 | 353.72 | 77.36 | 76.39
AUG23 | 305.88 | 312.01 | 73.72 | 74.96
SEP23 | 158.98 | 159.96 | 63.37 | 63.22
OCT23 | 163.71 | 190.26 | 58.61 | 59.36
NOV23 | 427.57 | 438.6 | 61.46 | 60.53

## Daily Weather and Energy
Daily Weather and Energy
Click to return to Table of Contents
Date | Current Day HDD+CDD | Daily Average HDD+CDD | Current Day Energy (TWh) | Daily Average Energy (TWh) | Current Day Average Temperature | Daily Average Temperature
01NOV2023 | 20.16 | 14.62 | 2.116 | 2 | 39.84 | 45.61
02NOV2023 | 19.21 | 14.62 | 2.1568 | 2 | 40.79 | 45.61
03NOV2023 | 13.04 | 14.62 | 2.0727 | 2 | 46.96 | 45.61
04NOV2023 | 8.59 | 14.62 | 1.8549 | 2 | 51.41 | 45.61
05NOV2023 | 7.61 | 14.62 | 1.8481 | 2 | 52.39 | 45.61
06NOV2023 | 5.78 | 14.62 | 1.9449 | 2 | 54.33 | 45.61
07NOV2023 | 2.5 | 14.62 | 1.9235 | 2 | 58.64 | 45.61
08NOV2023 | 7.37 | 14.62 | 1.9384 | 2 | 53 | 45.61
09NOV2023 | 4.24 | 14.62 | 1.94 | 2 | 56.39 | 45.61
10NOV2023 | 11.79 | 14.62 | 1.9698 | 2 | 48.21 | 45.61
12NOV2023 | 16.5 | 14.62 | 1.9136 | 2 | 43.5 | 45.61
13NOV2023 | 15.58 | 14.62 | 2.1044 | 2 | 44.42 | 45.61
14NOV2023 | 13.81 | 14.62 | 2.0789 | 2 | 46.19 | 45.61
15NOV2023 | 12.61 | 14.62 | 2.0835 | 2 | 47.39 | 45.61
16NOV2023 | 7.65 | 14.62 | 2.0207 | 2 | 52.35 | 45.61
17NOV2023 | 4.81 | 14.62 | 1.9543 | 2 | 55.22 | 45.61
18NOV2023 | 12.62 | 14.62 | 1.8465 | 2 | 47.38 | 45.61
19NOV2023 | 15.7 | 14.62 | 1.9225 | 2 | 44.3 | 45.61
20NOV2023 | 17.58 | 14.62 | 2.1341 | 2 | 42.42 | 45.61
21NOV2023 | 14.82 | 14.62 | 2.1695 | 2 | 45.18 | 45.61
22NOV2023 | 12.6 | 14.62 | 2.052 | 2 | 47.4 | 45.61
23NOV2023 | 15.6 | 14.62 | 1.8689 | 2 | 44.4 | 45.61
24NOV2023 | 20.04 | 14.62 | 1.9651 | 2 | 39.96 | 45.61
25NOV2023 | 24.81 | 14.62 | 2.0529 | 2 | 35.19 | 45.61
26NOV2023 | 20.63 | 14.62 | 2.077 | 2 | 39.37 | 45.61
27NOV2023 | 23.11 | 14.62 | 2.2571 | 2 | 36.89 | 45.61
28NOV2023 | 30.91 | 14.62 | 2.475 | 2 | 29.09 | 45.61
29NOV2023 | 29.64 | 14.62 | 2.5077 | 2 | 30.36 | 45.61
30NOV2023 | 18.27 | 14.62 | 2.2963 | 2 | 41.73 | 45.61

## System Marginal Price
Daily Difference in Day-Ahead and Real-Time System Marginal Price
($/MWh of Load)
Click to return to Table of Contents
Date | DA SMP - RT SMP
01NOV2023 | 2.77
02NOV2023 | $-21.29
03NOV2023 | 8.55
04NOV2023 | $-1.08
05NOV2023 | 3.3
06NOV2023 | 6.7
07NOV2023 | $-9.09
08NOV2023 | $-0.83
09NOV2023 | $-0.76
10NOV2023 | 0.7
11NOV2023 | $-5.75
12NOV2023 | $-1.04
13NOV2023 | 6.93
14NOV2023 | $-6.10
15NOV2023 | 7.9
16NOV2023 | 0.19
17NOV2023 | 3.34
18NOV2023 | 3.24
19NOV2023 | 1.89
20NOV2023 | 2.54
21NOV2023 | $-0.98
22NOV2023 | $-0.28
23NOV2023 | 6.45
24NOV2023 | 2.86
25NOV2023 | 2.03
26NOV2023 | $-2.58
27NOV2023 | $-0.87
28NOV2023 | 0.01
29NOV2023 | 0.05
30NOV2023 | 2.3

## Monthly Generation Fuel Mix
Monthly Generation Fuel Mix
(MWh)
Click to return to Table of Contents
Date | COAL | FLYWHEEL | GAS | HYDRO | MULTIPLE FUELS | NUCLEAR | OIL | OTHER | OTHER RENEWABLES | SOLAR | STORAGE | WIND | Total
01NOV2021 | 9726547 | 0 | 25426346.1 | 1243768.6 | 482555.1 | 22067467.1 | 174205.2 | 48213.2 | 455980.6 | 420684.3 | 0 | 3028346.5 | 63074113.7
01DEC2021 | 12272956.4 | 0 | 27162261.7 | 1095264.9 | 122836.6 | 24937761.4 | 188573.1 | 47215.1 | 515473.2 | 298262.5 | 0 | 3236982.9 | 69877587.8
01JAN2022 | 22096106.4 | 0 | 26934706.2 | 1289801.1 | 608269.3 | 25091532.1 | 336650.6 | 67572.1 | 459303.8 | 335244.8 | 0 | 3092767.5 | 80311953.9
01FEB2022 | 16247378.2 | 0 | 23829408.5 | 1320139.5 | 314419.1 | 21783000.7 | 199016 | 82659.3 | 397734.2 | 432938.9 | 0 | 3303952 | 67910646.4
01MAR2022 | 12391654.9 | 0 | 25773319.2 | 1673091.7 | 66041.2 | 22484823.9 | 189278.3 | 94782.6 | 408892.2 | 586966.3 | 0 | 3452910.6 | 67121760.9
01APR2022 | 11928682.9 | 0 | 20477478.5 | 1402573.8 | 192782.4 | 19462774 | 168845.7 | 130342.5 | 420908.5 | 718934.1 | 0 | 3379448.3 | 58282770.7
01MAY2022 | 12076693 | 0 | 23444271.5 | 1566417.3 | 252351.8 | 22698734.9 | 104098.6 | 88464.7 | 472314.7 | 745154 | 0 | 2754654.8 | 64203155.3
01JUN2022 | 13685809.6 | 0 | 30056761.6 | 1465916.8 | 358750.4 | 23232104.8 | 177172.2 | 89179 | 466858.9 | 865655.7 | 0 | 1911077.7 | 72309286.7
01JUL2022 | 17052242.8 | 0 | 36302866.9 | 1360840 | 610371.7 | 24117345.7 | 243286.8 | 104468.1 | 503862.6 | 771787.9 | 0 | 1568729.1 | 82635801.6
01AUG2022 | 17485730 | 0 | 35827457.9 | 1421843.7 | 495394.7 | 23726492.4 | 274219 | 191607.9 | 498193.8 | 765285.7 | 0 | 1335724.7 | 82021949.8
01SEP2022 | 10870516.5 | 0 | 30174632.6 | 1184450.6 | 275524.8 | 22209898.1 | 158327.7 | 139062.7 | 429092.5 | 677478.1 | 0 | 1709928 | 67828911.6
01OCT2022 | 7699168.4 | 0 | 26657631.5 | 783787.3 | 246213 | 20674823.5 | 143755.8 | 148769.3 | 432503 | 524646.5 | 0 | 3011020 | 60322318.3
01NOV2022 | 9904347 | 0 | 24945972.6 | 1068501.4 | 315264 | 22113890.9 | 151691.9 | 116870.8 | 432373.3 | 420124.6 | 0 | 3569110.3 | 63038146.8
01DEC2022 | 15950358.8 | 0 | 27831147.4 | 1465030 | 328253.2 | 24517964.8 | 653693.7 | 127096.8 | 475959.6 | 311577.3 | 0 | 3113889.6 | 74774971.2
01JAN2023 | 10977371 | 0 | 30436566.8 | 1572855.5 | 150051.2 | 24512234.5 | 186011.5 | 281888.4 | 431908.1 | 324008 | 0 | 2942137.6 | 71815032.6
01FEB2023 | 9309541 | 0 | 27231164 | 1164131 | 114850 | 21442584 | 194771 | 53901 | 375905 | 482879 | 0 | 3477932 | 63847658
01MAR2023 | 10328020 | 0 | 29041912 | 1328819 | 63734 | 22010003 | 235151 | . | 426604 | 760638 | 0 | 3647419 | 67842300
01APR2023 | 8665803 | 0 | 23451828 | 1158282 | 272148 | 20094334 | 209909 | . | 401803 | 861377 | 0 | 2863473 | 57978957
01MAY2023 | 7479791 | 0 | 26083118 | 1361315 | 387790 | 22264117 | 295883 | . | 463135 | 994550 | 7 | 2174829 | 61504535
01JUN2023 | 8636595 | 0 | 31546914 | 1205666 | 399217 | 23467135 | 246157 | . | 462046 | 1013308 | 183 | 1762604 | 68739825
01JUL2023 | 14351713 | 0 | 39505956 | 1563237 | 750243 | 24131711 | 372749 | . | 440113 | 1142976 | 0 | 1110364 | 83369062
01AUG2023 | 13779857 | 0 | 37345688 | 1538111 | 662632 | 23909525 | 268971 | . | 466038 | 1040919 | 0 | 1553830 | 80565571
01SEP2023 | 9813493 | 0 | 31863518 | 1231085 | 508916 | 22680741 | 228611 | . | 397549 | 923233 | 0 | 1307310 | 68954456
01OCT2023 | 7533619 | 0 | 25957413 | 852402 | 754440 | 21841412 | 197416 | . | 412299 | 848661 | 0 | 2654021 | 61051683
01NOV2023 | 9036621 | 0 | 27200160 | 982961 | 476658 | 22700537 | 93795 | . | 424408 | 703973 | 481 | 3123310 | 64742904

## Daily Generation Fuel Mix
Daily Generation Fuel Mix
(MWh)
Click to return to Table of Contents
Date | COAL | FLYWHEEL | GAS | HYDRO | MULTIPLE FUELS | NUCLEAR | OIL | OTHER | OTHER RENEWABLES | SOLAR | STORAGE | WIND | Total
01NOV2023 | 382077 | 0 | 885983 | 33882 | 38824 | 732218 | 1672 | . | 11956 | 31222 | 0 | 73174 | 2191008
02NOV2023 | 367055 | 0 | 914676 | 36778 | 35226 | 733666 | 2871 | . | 12852 | 35262 | 0 | 123349 | 2261735
03NOV2023 | 325922 | 0 | 856336 | 34428 | 25403 | 731843 | 1292 | . | 11812 | 34845 | 0 | 162479 | 2184360
04NOV2023 | 284315 | 0 | 850878 | 29256 | 12478 | 732378 | 1270 | . | 11397 | 29371 | 0 | 43867 | 1995210
05NOV2023 | 255035 | 0 | 773285 | 27861 | 17153 | 731686 | 1206 | . | 11795 | 28959 | 0 | 53212 | 1900192
06NOV2023 | 265709 | 0 | 820389 | 33462 | 19967 | 730410 | 1478 | . | 11678 | 28305 | 3 | 163160 | 2074561
07NOV2023 | 265012 | 0 | 874694 | 32675 | 17813 | 723437 | 1452 | . | 12287 | 23133 | 0 | 97038 | 2047541
08NOV2023 | 245664 | 0 | 888186 | 29448 | 8112 | 710353 | 1142 | . | 12618 | 29538 | 0 | 132751 | 2057812
09NOV2023 | 251229 | 0 | 876524 | 30726 | 7870 | 710321 | 1459 | . | 12805 | 22243 | 0 | 120158 | 2033335
10NOV2023 | 284338 | 0 | 925383 | 27021 | 17341 | 702656 | 2955 | . | 13311 | 9939 | 0 | 84458 | 2067402
11NOV2023 | 240420 | 0 | 899130 | 23496 | 14651 | 700057 | 2191 | . | 13484 | 19529 | 0 | 32381 | 1945339
12NOV2023 | 234601 | 0 | 858338 | 23952 | 14068 | 707363 | 2183 | . | 13830 | 24249 | 0 | 101402 | 1979986
13NOV2023 | 257375 | 0 | 960777 | 36227 | 23529 | 714572 | 3719 | . | 13135 | 30607 | 0 | 93958 | 2133899
14NOV2023 | 272200 | 0 | 936181 | 29673 | 26745 | 720175 | 2329 | . | 13442 | 29382 | 1 | 76159 | 2106287
15NOV2023 | 283629 | 0 | 954609 | 26757 | 23234 | 728591 | 2205 | . | 12990 | 20730 | 0 | 100086 | 2152831
16NOV2023 | 267219 | 0 | 862015 | 23931 | 22506 | 716301 | 8053 | . | 13478 | 28165 | 0 | 138672 | 2080340
17NOV2023 | 242547 | 0 | 906776 | 28655 | 8296 | 749202 | 2571 | . | 13797 | 15669 | 13 | 109035 | 2076561
18NOV2023 | 224374 | 0 | 845836 | 19719 | 8597 | 773166 | 3149 | . | 14925 | 26923 | 0 | 55209 | 1971898
19NOV2023 | 269494 | 0 | 831890 | 23325 | 8536 | 776060 | 2093 | . | 15630 | 29571 | 0 | 62926 | 2019525
20NOV2023 | 299088 | 0 | 920810 | 34678 | 10553 | 790784 | 2385 | . | 15508 | 20468 | 0 | 153021 | 2247295
21NOV2023 | 327872 | 0 | 968375 | 38881 | 13675 | 800750 | 2909 | . | 16337 | 2365 | 3 | 135134 | 2306301
22NOV2023 | 322581 | 0 | 936955 | 37456 | 10973 | 802406 | 2477 | . | 16369 | 8543 | 3 | 91398 | 2229161
23NOV2023 | 288868 | 0 | 741131 | 31102 | 7692 | 808568 | 2800 | . | 16985 | 28053 | 56 | 116813 | 2042068
24NOV2023 | 291445 | 0 | 832788 | 36890 | 8741 | 809486 | 4398 | . | 16963 | 19043 | 72 | 87333 | 2107159
25NOV2023 | 330460 | 0 | 943597 | 43132 | 8530 | 810690 | 4812 | . | 16567 | 23429 | 72 | 28215 | 2209504
26NOV2023 | 348216 | 0 | 911110 | 31904 | 8337 | 808309 | 5368 | . | 16422 | 6615 | 46 | 90470 | 2226797
27NOV2023 | 382432 | 0 | 940149 | 45026 | 8740 | 810378 | 5395 | . | 14903 | 20947 | 79 | 187942 | 2415991
28NOV2023 | 429352 | 0 | 1120961 | 49435 | 18914 | 811779 | 4330 | . | 15325 | 22088 | 39 | 111820 | 2584043
29NOV2023 | 429314 | 0 | 1150845 | 44215 | 18817 | 812138 | 7724 | . | 15750 | 28469 | 59 | 133285 | 2640616
30NOV2023 | 368778 | 0 | 1011553 | 38970 | 11337 | 810794 | 5907 | . | 16057 | 26311 | 35 | 164405 | 2454147

## Monthly Uplift
Monthly Uplift
Click to return to Table of Contents
Date | Day-Ahead Operating Reserve ($ Millions) | Balancing Operating Reserve ($ Millions) | Reactive ($ Millions) | Blackstart ($ Millions) | Lost Opportunity Cost ($ Millions) | Total Uplift ($ Millions) | Day-Ahead Operating Reserve ($/MWh) | Balancing Operating Reserve ($/MWh) | Reactive ($/MWh) | Blackstart ($/MWh) | Lost Opportunity Cost ($/MWh) | Total Uplift ($/MWh)
NOV21 | 0.83 | 14.15 | 0.17 | 0.03 | 7.23 | 22.38 | 0.01 | 0.23 | 0 | 0 | 0.12 | 0.37
DEC21 | 1.63 | 4.9 | 0 | 0 | 3.24 | 9.77 | 0.03 | 0.08 | 0 | 0 | 0.05 | 0.15
JAN22 | 0.71 | 10.22 | 0.01 | 0 | 3.73 | 14.66 | 0.01 | 0.13 | 0 | 0 | 0.05 | 0.19
FEB22 | 0.48 | 3.25 | 0 | 0.05 | 1.79 | 5.52 | 0.01 | 0.05 | 0 | 0 | 0.03 | 0.09
MAR22 | 0.52 | 6.4 | 0.23 | 0.05 | 0.51 | 7.65 | 0.01 | 0.1 | 0 | 0 | 0.01 | 0.12
APR22 | 0.58 | 12.01 | 0 | 0.08 | 1.36 | 13.95 | 0.01 | 0.21 | 0 | 0 | 0.02 | 0.25
MAY22 | 2.32 | 10.74 | 0.75 | 0.11 | 1.08 | 14.9 | 0.04 | 0.18 | 0.01 | 0 | 0.02 | 0.24
JUN22 | 4.15 | 13.84 | 0.01 | 0.01 | 5.56 | 23.55 | 0.06 | 0.2 | 0 | 0 | 0.08 | 0.35
JUL22 | 11.03 | 20.24 | 0 | 0 | 4.75 | 36.02 | 0.14 | 0.26 | 0 | 0 | 0.06 | 0.46
AUG22 | 8.3 | 26.61 | 0.23 | 0 | 5 | 40.13 | 0.11 | 0.35 | 0 | 0 | 0.07 | 0.53
SEP22 | 7.19 | 11.55 | 0.01 | 0 | 1.67 | 20.42 | 0.11 | 0.18 | 0 | 0 | 0.03 | 0.33
OCT22 | 0.32 | 8.81 | 0.09 | 0.06 | 4.23 | 13.45 | 0.01 | 0.15 | 0 | 0 | 0.07 | 0.23
NOV22 | 1.23 | 11.92 | 0 | 0.06 | 1.25 | 14.41 | 0.02 | 0.2 | 0 | 0 | 0.02 | 0.24
DEC22 | 21.97 | 47.42 | 0.19 | 0 | 9.98 | 79.56 | 0.31 | 0.66 | 0 | 0 | 0.14 | 1.11
JAN23 | 1.68 | 4.01 | 0 | 0.01 | 1.91 | 7.6 | 0.02 | 0.06 | 0 | 0 | 0.03 | 0.11
FEB23 | 1.04 | 3.5 | 0 | 0.04 | 1.02 | 5.56 | 0.02 | 0.06 | 0 | 0 | 0.02 | 0.09
MAR23 | 1.32 | 4.29 | 0 | 0.06 | 0.67 | 6.28 | 0.02 | 0.07 | 0 | 0 | 0.01 | 0.1
APR23 | 2.01 | 10.69 | 0.38 | 0.05 | 1.47 | 14.55 | 0.04 | 0.19 | 0.01 | 0 | 0.03 | 0.26
MAY23 | 0.41 | 9.46 | 0 | 0.03 | 1.48 | 11.36 | 0.01 | 0.16 | 0 | 0 | 0.03 | 0.2
JUN23 | 1.77 | 5.68 | 0 | 0.01 | 1.44 | 8.89 | 0.03 | 0.09 | 0 | 0 | 0.02 | 0.14
JUL23 | 10.61 | 8.67 | 0 | 0.02 | 4.39 | 23.67 | 0.14 | 0.11 | 0 | 0 | 0.06 | 0.31
AUG23 | 12 | 5.15 | 0 | 0 | 2.26 | 19.41 | 0.16 | 0.07 | 0 | 0 | 0.03 | 0.26
SEP23 | 11.92 | 7.29 | 0.12 | 0 | 2.44 | 21.76 | 0.19 | 0.11 | 0 | 0 | 0.04 | 0.34
OCT23 | 2.84 | 12.23 | 0.11 | 0.02 | 1.54 | 16.73 | 0.05 | 0.21 | 0 | 0 | 0.03 | 0.29
NOV23 | 3.65 | 11.22 | 0 | 0.01 | 1.11 | 15.99 | 0.06 | 0.18 | 0 | 0 | 0.02 | 0.26

## Monthly Zonal Uplift
Monthly Zonal Uplift
($ Millions)
Click to return to Table of Contents
Date | Zone | Day-Ahead Operating Reserve | Balancing Operating Reserve | Reactive | Blackstart | Lost Opportunity Cost | Total Uplift
01NOV2023 | AECO | 0 | 0.1 | 0 | 0 | 0.02 | 0.12
01NOV2023 | AEP | 0.09 | 2.27 | 0 | 0.01 | 0.12 | 2.49
01NOV2023 | APS | 0 | 0.23 | 0 | 0 | 0.03 | 0.26
01NOV2023 | ATSI | 0 | 0.31 | 0 | 0 | 0.02 | 0.33
01NOV2023 | BGE | 0.16 | 0.19 | 0 | 0 | 0 | 0.35
01NOV2023 | COMED | 0.02 | 0.84 | 0 | 0 | 0.06 | 0.91
01NOV2023 | DAY | 0 | 0.5 | 0 | 0 | 0 | 0.5
01NOV2023 | DEOK | 0 | 0.95 | 0 | 0 | 0 | 0.96
01NOV2023 | DOM | 0.02 | 3.58 | 0 | 0 | 0.06 | 3.66
01NOV2023 | DPL | 0.01 | 0.14 | 0 | 0 | 0.3 | 0.45
01NOV2023 | DUQ | 0.85 | 0.04 | 0 | 0 | 0 | 0.89
01NOV2023 | EKPC | 0 | 1.06 | 0 | 0 | 0 | 1.06
01NOV2023 | JCPL | 0 | 0.21 | 0 | 0 | 0.05 | 0.26
01NOV2023 | METED | 0 | 0.01 | 0 | 0 | 0 | 0.01
01NOV2023 | PECO | 0.01 | 0.1 | 0 | 0 | 0 | 0.11
01NOV2023 | PENELEC | 0 | 0.16 | 0 | 0 | 0.08 | 0.23
01NOV2023 | PEPCO | 2.42 | 0.32 | 0 | 0 | 0.28 | 3.02
01NOV2023 | PPL | 0.07 | 0.16 | 0 | 0 | 0.04 | 0.26
01NOV2023 | PSEG | 0 | 0.07 | 0 | 0 | 0.04 | 0.11

## Daily Uplift
Daily Uplift
($ Millions)
Click to return to Table of Contents
Date | Day-Ahead Operating Reserve | Balancing Operating Reserve | Reactive | Blackstart | Lost Opportunity Cost | Total Uplift
01NOV2023 | 0 | 0.18 | 0 | 0.01 | 0.08 | 0.26
02NOV2023 | 0.17 | 0.29 | 0 | 0 | 0.21 | 0.66
03NOV2023 | 0 | 0.36 | 0 | 0 | 0.02 | 0.38
04NOV2023 | 0.03 | 0.36 | 0 | 0 | 0 | 0.39
05NOV2023 | 0.1 | 0.43 | 0 | 0 | 0.02 | 0.55
06NOV2023 | 0.09 | 0.51 | 0 | 0 | 0 | 0.6
07NOV2023 | 0.11 | 0.73 | 0 | 0 | 0 | 0.84
08NOV2023 | 0.11 | 0.73 | 0 | 0 | 0.01 | 0.85
09NOV2023 | 0.11 | 0.41 | 0 | 0 | 0.02 | 0.53
10NOV2023 | 0.08 | 0.37 | 0 | 0 | 0 | 0.46
11NOV2023 | 0.1 | 0.34 | 0 | 0 | 0 | 0.45
12NOV2023 | 0.12 | 0.21 | 0 | 0 | 0.01 | 0.34
13NOV2023 | 0.04 | 0.56 | 0 | 0 | 0.02 | 0.62
14NOV2023 | 0.17 | 0.66 | 0 | 0 | 0.02 | 0.85
15NOV2023 | 0 | 0.51 | 0 | 0 | 0.02 | 0.54
16NOV2023 | 0.21 | 0.53 | 0 | 0 | 0.04 | 0.78
17NOV2023 | 0.23 | 0.13 | 0 | 0 | 0 | 0.36
18NOV2023 | 0 | 0.07 | 0 | 0 | 0 | 0.08
19NOV2023 | 0 | 0.02 | 0 | 0 | 0 | 0.02
20NOV2023 | 0 | 0.18 | 0 | 0 | 0.01 | 0.19
21NOV2023 | 0.02 | 0.57 | 0 | 0 | 0 | 0.6
22NOV2023 | 0.01 | 0.31 | 0 | 0 | 0 | 0.32
23NOV2023 | 0 | 0.02 | 0 | 0 | 0 | 0.02
24NOV2023 | 0 | 0.03 | 0 | 0 | 0 | 0.03
25NOV2023 | 0 | 0.1 | 0 | 0 | 0.03 | 0.13
26NOV2023 | 0.03 | 0.13 | 0 | 0 | 0.01 | 0.17
27NOV2023 | 0 | 0.3 | 0 | 0 | 0 | 0.3
28NOV2023 | 0.02 | 0.94 | 0 | 0 | 0.13 | 1.09
29NOV2023 | 1.34 | 0.86 | 0 | 0 | 0.37 | 2.58
30NOV2023 | 0.56 | 0.4 | 0 | 0 | 0.05 | 1.01

## High Uplift Days
High Uplift Days
($ Millions)
Click to return to Table of Contents
Date | Day-Ahead Operating Reserve | Balancing Operating Reserve | Reactive | Blackstart | Lost Opportunity Cost | Total Uplift | Reason
07NOV2023 | 0.11 | 0.73 | 0 | 0 | 0 | 0.84
08NOV2023 | 0.11 | 0.73 | 0 | 0 | 0.01 | 0.85
14NOV2023 | 0.17 | 0.66 | 0 | 0 | 0.02 | 0.85
28NOV2023 | 0.02 | 0.94 | 0 | 0 | 0.13 | 1.09
29NOV2023 | 1.34 | 0.86 | 0 | 0 | 0.37 | 2.58
30NOV2023 | 0.56 | 0.4 | 0 | 0 | 0.05 | 1.01

## Uneconomic CC, CT, Steam Hours
Percent of Total CC, CT, and Steam Hours - LMP < Offer
Click to return to Table of Contents
Date | CT | CC and STEAM
NOV21 | 14% | 4%
DEC21 | 27% | 4%
JAN22 | 17% | 6%
FEB22 | 26% | 6%
MAR22 | 26% | 4%
APR22 | 18% | 5%
MAY22 | 15% | 9%
JUN22 | 11% | 9%
JUL22 | 9% | 9%
AUG22 | 10% | 7%
SEP22 | 12% | 8%
OCT22 | 20% | 5%
NOV22 | 16% | 7%
DEC22 | 18% | 10%
JAN23 | 19% | 7%
FEB23 | 30% | 8%
MAR23 | 19% | 7%
APR23 | 14% | 5%
MAY23 | 14% | 6%
JUN23 | 7% | 6%
JUL23 | 5% | 8%
AUG23 | 4% | 8%
SEP23 | 8% | 8%
OCT23 | 12% | 6%
NOV23 | 12% | 5%

## Reliability and Deviations BOR
Reliability and Deviations Balancing Operating Reserve Rates
($/MWh of Load)
Click to return to Table of Contents
Date | Reliability Balancing Operating Reserve Rate RTO | Reliability Balancing Operating Reserve Rate East | Reliability Balancing Operating Reserve Rate West | Deviations Balancing Operating Reserve Rate RTO | Deviations Balancing Operating Reserve Rate East | Deviations Balancing Operating Reserve Rate West
NOV2021 | 0.08 | 0.03 | 0 | 0.77 | 0.19 | 0.02
DEC2021 | 0.04 | 0 | 0 | 0.27 | 0.02 | 0
JAN2022 | 0.07 | 0.01 | 0 | 0.31 | 0.02 | 0.01
FEB2022 | 0.02 | 0 | 0 | 0.12 | 0.05 | 0
MAR2022 | 0.04 | 0.01 | 0 | 0.09 | 0.03 | 0
APR2022 | 0.05 | 0.03 | 0 | 0.32 | 0.32 | 0
MAY2022 | 0.04 | 0.02 | 0.01 | 0.25 | 0.22 | 0.01
JUN2022 | 0.06 | 0.03 | 0 | 0.47 | 0.16 | 0
JUL2022 | 0.09 | 0.02 | 0 | 0.58 | 0.21 | 0.02
AUG2022 | 0.11 | 0.02 | 0 | 0.65 | 0.29 | 0
SEP2022 | 0.05 | 0.01 | 0 | 0.3 | 0.16 | 0.01
OCT2022 | 0.05 | 0.03 | 0 | 0.25 | 0.09 | 0.03
NOV2022 | 0.08 | 0.04 | 0 | 0.18 | 0.08 | 0.01
DEC2022 | 0.25 | 0.04 | 0 | 0.83 | 0.08 | 0
JAN2023 | 0.03 | 0.01 | 0 | 0.09 | 0.02 | 0
FEB2023 | 0.03 | 0.01 | 0 | 0.05 | 0.04 | 0
MAR2023 | 0.03 | 0.03 | 0 | 0.04 | 0.02 | 0
APR2023 | 0.07 | 0.04 | 0 | 0.15 | 0.08 | 0.01
MAY2023 | 0.07 | 0.01 | 0 | 0.15 | 0.06 | 0.01
JUN2023 | 0.03 | 0 | 0 | 0.11 | 0.04 | 0.01
JUL2023 | 0.03 | 0.01 | 0 | 0.29 | 0.06 | 0
AUG2023 | 0.02 | 0.01 | 0 | 0.2 | 0.03 | 0.01
SEP2023 | 0.03 | 0.02 | 0 | 0.24 | 0.07 | 0
OCT2023 | 0.08 | 0.02 | 0 | 0.28 | 0.12 | 0.01
NOV2023 | 0.07 | 0.05 | 0.01 | 0.16 | 0.08 | 0.04

## Operating Reserve
Operating Reserve
($/MWh of Load)
Click to return to Table of Contents
Date | Day-Ahead Allocated to Entire RTO | Day-Ahead Allocated Locally | Real-Time
NOV2021 | 0.01 | 0 | 0.35
DEC2021 | 0.03 | 0 | 0.13
JAN2022 | 0.01 | 0 | 0.19
FEB2022 | 0.01 | 0 | 0.08
MAR2022 | 0.01 | 0 | 0.11
APR2022 | 0.01 | 0 | 0.24
MAY2022 | 0.04 | 0.01 | 0.2
JUN2022 | 0.06 | 0 | 0.29
JUL2022 | 0.14 | 0 | 0.33
AUG2022 | 0.11 | 0 | 0.42
SEP2022 | 0.11 | 0 | 0.22
OCT2022 | 0.01 | 0 | 0.29
NOV2022 | 0.02 | 0 | 0.24
DEC2022 | 0.31 | 0 | 0.83
JAN2023 | 0.02 | 0 | 0.09
FEB2023 | 0.02 | 0 | 0.07
MAR2023 | 0.02 | 0 | 0.08
APR2023 | 0.04 | 0.01 | 0.22
MAY2023 | 0.01 | 0 | 0.19
JUN2023 | 0.03 | 0 | 0.11
JUL2023 | 0.14 | 0 | 0.17
AUG2023 | 0.16 | 0 | 0.1
SEP2023 | 0.19 | 0 | 0.15
OCT2023 | 0.05 | 0 | 0.24
NOV2023 | 0.06 | 0 | 0.2

## Balancing Operating Reserve MWh
Balancing Operating Reserve MWh by Region and Reason
Click to return to Table of Contents
Date | RTO | East | West | Reliability Analysis Reliability | Reliability Analysis Deviation | Real-Time Reliability | Real-Time Deviation | Total
01NOV2023 | 15030.34 | 4006.14 | 7245.82 | . | . | 11963.57 | 14318.73 | 26282.29
02NOV2023 | 19998.13 | 7805.98 | 1444.43 | . | . | 13632.51 | 15616.02 | 29248.53
03NOV2023 | 25193.23 | 9615.24 | 4388.57 | . | . | 23615.68 | 15581.37 | 39197.05
04NOV2023 | 37333.54 | 6847.89 | 223.33 | . | . | 15058.91 | 29345.85 | 44404.76
05NOV2023 | 33017.16 | 8276.1 | . | . | . | 26388.04 | 14905.21 | 41293.26
06NOV2023 | 33436.49 | 1027.2 | 7356.33 | . | . | 31381.89 | 10438.14 | 41820.03
07NOV2023 | 76698.07 | 20619.81 | . | . | . | 31211.09 | 66106.8 | 97317.88
08NOV2023 | 52235.62 | 23030.1 | 1530.09 | . | . | 36998.47 | 39797.34 | 76795.8
09NOV2023 | 56564.55 | 3777.27 | 13022.41 | . | . | 17840.98 | 55523.24 | 73364.23
10NOV2023 | 43442.54 | . | . | . | . | 10258.44 | 33184.1 | 43442.54
11NOV2023 | 37681.2 | 17807.06 | 8141.66 | . | . | 22070.47 | 41559.44 | 63629.91
12NOV2023 | 14456.94 | 11029.45 | 22824.64 | . | . | 3757.06 | 44553.97 | 48311.03
13NOV2023 | 28160.87 | 27778.65 | 5396.13 | . | . | 24802.88 | 36532.77 | 61335.65
14NOV2023 | 43664.93 | 19146.09 | 34825.36 | . | . | 22049.76 | 75586.61 | 97636.37
15NOV2023 | 40673.81 | 23330.64 | 7194.13 | . | . | 24679.43 | 46519.15 | 71198.58
16NOV2023 | 31617.54 | 11440.74 | 13733.57 | . | . | 32670.32 | 24121.54 | 56791.86
17NOV2023 | 10851.39 | 8335.99 | 12614.37 | . | . | 8123.52 | 23678.23 | 31801.76
18NOV2023 | 10060.85 | . | 1250.55 | . | . | 6824.09 | 4487.31 | 11311.39
19NOV2023 | 6985.78 | . | . | . | . | 3238.65 | 3747.13 | 6985.78
20NOV2023 | 7848.66 | 9177.04 | . | . | . | 13598.69 | 3427.01 | 17025.69
21NOV2023 | 46585.29 | 7767.84 | 6703.95 | . | . | 20541.05 | 40516.04 | 61057.08
22NOV2023 | 22044.72 | 6869.28 | 8133.42 | . | . | 19873.22 | 17174.2 | 37047.42
23NOV2023 | 1730.51 | . | 2324.3 | . | . | 1663.36 | 2391.44 | 4054.81
24NOV2023 | 3428.04 | 922.19 | 3060.73 | . | . | 3935.95 | 3475.01 | 7410.96
25NOV2023 | 6776.95 | 2665.71 | 131.6 | . | . | 9574.25 | . | 9574.25
26NOV2023 | 20272.89 | . | 6422.72 | . | . | 6971.13 | 19724.48 | 26695.61
27NOV2023 | 33062.69 | 652.18 | . | . | . | 9828.53 | 23886.34 | 33714.87
28NOV2023 | 26157.56 | 28407.27 | 1942.12 | . | 14193 | 18782.4 | 23531.54 | 56506.94
29NOV2023 | 35950.07 | 8514.32 | 4537.11 | . | . | 32591.49 | 16409.99 | 49001.49
30NOV2023 | 49143.14 | 7495.11 | 3687.32 | . | . | 33971.84 | 26353.74 | 60325.58

## Balancing Operating Reserve $
Balancing Operating Reserve $ by Region and Reason
Click to return to Table of Contents
Date | RTO | East | West | Reliability Analysis Reliability | Reliability Analysis Deviation | Real-Time Reliability | Real-Time Deviation | Total
01NOV2023 | 116375.91 | 33026.55 | 19974.61 | . | . | 90820.06 | 78557.01 | 169377.07
02NOV2023 | 209052.54 | 69085.72 | 8795.27 | . | . | 179900.62 | 107032.91 | 286933.53
03NOV2023 | 242081.15 | 86329.68 | 27917.04 | . | . | 256854.44 | 99473.43 | 356327.87
04NOV2023 | 339811.98 | 22678.5 | 670.46 | . | . | 198768.74 | 164392.2 | 363160.94
05NOV2023 | 388992.25 | 39322.51 | . | . | . | 312815.49 | 115499.27 | 428314.76
06NOV2023 | 439100.79 | 18445.5 | 49116.73 | . | . | 405541.43 | 101121.59 | 506663.02
07NOV2023 | 594775.53 | 133980.41 | . | . | . | 359807.74 | 368948.2 | 728755.94
08NOV2023 | 568995.69 | 151512.52 | 5294.05 | . | . | 384074.85 | 341727.41 | 725802.26
09NOV2023 | 352463.94 | 24821.11 | 29281.33 | . | . | 129296.5 | 277269.88 | 406566.38
10NOV2023 | 374364.8 | . | . | . | . | 167613.51 | 206751.29 | 374364.8
11NOV2023 | 225692.35 | 95825.01 | 22743.28 | . | . | 171886.09 | 172374.55 | 344260.64
12NOV2023 | 66848.55 | 53923.05 | 86542.19 | . | . | 29508.1 | 177805.69 | 207313.79
13NOV2023 | 351654.58 | 187033.07 | 16660.22 | . | . | 352357.88 | 202989.99 | 555347.87
14NOV2023 | 431202.81 | 99496.37 | 130543.67 | . | . | 324866.09 | 336376.76 | 661242.85
15NOV2023 | 325696.29 | 165217.79 | 17358.5 | . | . | 237054.58 | 271218 | 508272.58
16NOV2023 | 376272.45 | 103071.17 | 50649.81 | . | . | 405545.91 | 124447.52 | 529993.43
17NOV2023 | 50320.6 | 36279.95 | 43722.24 | . | . | 57857.07 | 72465.72 | 130322.79
18NOV2023 | 66298.45 | . | 3719.49 | . | . | 63245.93 | 6772.01 | 70017.94
19NOV2023 | 21749.7 | . | . | . | . | 16935.24 | 4814.46 | 21749.7
20NOV2023 | 88232.5 | 87394.28 | . | . | . | 148127.77 | 27499.01 | 175626.78
21NOV2023 | 422038.78 | 139252.48 | 13403 | . | . | 353797.23 | 220897.03 | 574694.26
22NOV2023 | 225691.91 | 54093.73 | 29719.67 | . | . | 173885.25 | 135620.06 | 309505.31
23NOV2023 | 7054.24 | . | 13004.53 | . | . | 7744.56 | 12314.21 | 20058.77
24NOV2023 | 24193.63 | 4082.41 | 6196.03 | . | . | 27585.88 | 6886.19 | 34472.07
25NOV2023 | 74504.51 | 23670.9 | 576.78 | . | . | 98752.19 | . | 98752.19
26NOV2023 | 102708.48 | . | 30224.8 | . | . | 87882.48 | 45050.8 | 132933.28
27NOV2023 | 293499.67 | 4736.3 | . | . | . | 151347.92 | 146888.05 | 298235.97
28NOV2023 | 243199.91 | 650110.77 | 46556.02 | . | 239581.97 | 401716.33 | 298568.4 | 939866.7
29NOV2023 | 524764.21 | 272836.16 | 62438.23 | . | . | 643255.75 | 216782.85 | 860038.6
30NOV2023 | 158510.96 | 184918.98 | 52109.06 | . | . | 264388.01 | 131150.99 | 395539

## Monthly LOC
Monthly Lost Oppotunity Cost
Click to return to Table of Contents
Date | MWh Reduced Wind (MWh) | Lost Oppotunity Cost Wind ($) | Lost Opportunity Cost PJM Total ($)
01NOV2021 | 443 | 21788 | 7231993
01DEC2021 | 0 | 0 | 3238379
01JAN2022 | 22 | 1711 | 3725800
01FEB2022 | 451 | 26649 | 1789923
01MAR2022 | 0 | 0 | 505404
01APR2022 | 121 | 8567 | 1362377
01MAY2022 | 463 | 24696 | 1082256
01JUN2022 | 252 | 122357 | 5558151
01JUL2022 | 0 | 2 | 4750042
01AUG2022 | 2382 | 272050 | 4997078
01SEP2022 | 751 | 62645 | 1668093
01OCT2022 | 12854 | 1192941 | 4228835
01NOV2022 | 2895 | 194084 | 1253492
01DEC2022 | 6611 | 736683 | 9977555
01JAN2023 | 0 | 0 | 1911830
01FEB2023 | 8439 | 425102 | 1019322
01MAR2023 | 41 | 5721 | 674534
01APR2023 | 2376 | 77927 | 1466999
01MAY2023 | 16 | 832 | 1480768
01JUN2023 | 0 | 13 | 1438811
01JUL2023 | 0 | 0 | 4390384
01AUG2023 | 0 | 0 | 2263692
01SEP2023 | 88 | 6350 | 2435521
01OCT2023 | 1865 | 38222 | 1544427
01NOV2023 | 1894 | 60488 | 1113741

## Daily LOC
Daily Lost Oppotunity Cost
Click to return to Table of Contents
Date | Lost Oppotunity Cost Wind ($) | Lost Opportunity Cost PJM Total ($)
01NOV2023 | 0 | 77298
02NOV2023 | 0 | 208897
03NOV2023 | 0 | 19748
04NOV2023 | 0 | 233
05NOV2023 | 0 | 23945
06NOV2023 | 2481 | 3640
07NOV2023 | 0 | 1965
08NOV2023 | 0 | 13459
09NOV2023 | 118 | 19821
10NOV2023 | 1557 | 4756
11NOV2023 | 0 | 1038
12NOV2023 | 5218 | 12060
13NOV2023 | 9793 | 18962
14NOV2023 | 0 | 19119
15NOV2023 | 0 | 19051
16NOV2023 | 37915 | 40106
17NOV2023 | 0 | 2690
18NOV2023 | 0 | 3707
19NOV2023 | 0 | 0
20NOV2023 | 0 | 13417
21NOV2023 | 0 | 1857
22NOV2023 | 0 | 1238
23NOV2023 | 3405 | 3405
24NOV2023 | 0 | 123
25NOV2023 | 0 | 33999
26NOV2023 | 0 | 6750
27NOV2023 | 0 | 3254
28NOV2023 | 0 | 132941
29NOV2023 | 0 | 373242
30NOV2023 | 0 | 53019

## Monthly Load Weighted LMP
Monthly Load Weighted LMP
Click to return to Table of Contents
Date | Load Weighted LMP ($/MWh)
NOV2021 | 63
DEC2021 | 38.9
JAN2022 | 69.1
FEB2022 | 46.8
MAR2022 | 43.6
APR2022 | 63.9
MAY2022 | 83.2
JUN2022 | 97.9
JUL2022 | 92.5
AUG2022 | 113.8
SEP2022 | 78.3
OCT2022 | 55.9
NOV2022 | 52.9
DEC2022 | 142.2
JAN2023 | 35.8
FEB2023 | 26
MAR2023 | 28.4
APR2023 | 29.3
MAY2023 | 28.4
JUN2023 | 27.3
JUL2023 | 37.2
AUG2023 | 31.3
SEP2023 | 31.6
OCT2023 | 34.8
NOV2023 | 33

## Annual LMP Averages
Annual Fuel Cost Adjusted and Load Weighted LMP
Click to return to Table of Contents
Year | Fuel Cost Adjusted LMP ($/MWh) | Load Weighted LMP ($/MWh)
2014 | 26.02 | 53.13
2015 | 28.33 | 36.25
2016 | 26.95 | 29.27
2017 | 31.56 | 31.06
2018 | 33.66 | 37.83
2019 | 31.46 | 27.15
2020 | 32.4 | 21.65
2021 | 32.14 | 39.79
2022 | 35.93 | 80.17
2023 | 45.91 | 31.38
The 2023 value is through the last day of NOV, 2023.

## LMP Suspensions and Reruns
LMP Suspensions and Reruns
Click to return to Table of Contents
Date | Percentage of Intervals Price Posting Suspended | Percentage of Intervals Rerun Prior to Final LMP Posting Curent Calculation
NOV2021 | 0.01% | 1.56%
DEC2021 | 0.01% | 1.76%
JAN2022 | 0.04% | 1.56%
FEB2022 | . | 8.04%
MAR2022 | 0.01% | 3.71%
APR2022 | 0.01% | 2.45%
MAY2022 | 0.01% | 1.8%
JUN2022 | 0.45% | 1.74%
JUL2022 | 0.01% | 2.04%
AUG2022 | 0.41% | 3.39%
SEP2022 | . | 3.82%
OCT2022 | . | 4.01%
NOV2022 | 0.02% | 2.65%
DEC2022 | 0.08% | 2.35%
JAN2023 | 0.06% | 1.28%
FEB2023 | 0.04% | 1.81%
MAR2023 | 0.01% | 1.11%
APR2023 | . | 2.59%
MAY2023 | 0.01% | 1.96%
JUN2023 | . | 1.68%
JUL2023 | 0.02% | 2.48%
AUG2023 | 0.1% | 2.67%
SEP2023 | 0.06% | 1.81%
OCT2023 | 0.31% | 1.99%
NOV2023 | 0.01% | 1.64%

## Annual DR Estimated Revenue
Demand Response Estimated Revenue
Click to return to Table of Contents
Year | Economic Energy | Capacity | Ancillary Services | Emergency Energy | Economic Energy Incentives | Capacity Bonus Payment | Test Emergency Energy | Total
2014 | 17820063 | 631016188 | 6284506 | 42930598 | 0 | . | . | 698051354
2015 | 7983488 | 807137222 | 6118299 | 480978 | 0 | . | . | 821719987
2016 | 3477215 | 644469413 | 4512812 | 0 | 0 | . | . | 652459440
2017 | 2551777 | 492872505 | 4807877 | 0 | 0 | . | . | 500232159
2018 | 2523722 | 584665539 | 8946085 | 0 | 0 | . | . | 596135346
2019 | 979266 | 481661914 | 5205768 | 1062830 | 0 | 447666 | . | 489357444
2020 | 329119 | 368224380 | 3771200 | 0 | 0 | 0 | . | 372324699
2021 | 1163113 | 536620703 | 9929451 | 0 | 0 | 0 | . | 547713268
2022 | 10893489 | 399940516 | 23353786 | 63525922 | 0 | 87808957 | . | 585522669
2023 | 3251150 | 151205882 | 12248737 | 0 | 0 | 0 | 113085 | 166818854
The 2023 value is through the last day of NOV, 2023.

## Demand Response
Demand Response
Click to return to Table of Contents
Date | Economic DR Total Load Reductions | Economic DR Total Net CSP Credits | DR as Sync. Res. MWh Cleared | DR as Sync. Res. Total Payments | DR as Regulation MWh Cleared | DR as Regulation Total Payments | Total MWs Registered in Economic DR
01NOV2021 | 1661 | 129065.94 | 164238 | 1537918 | 7566 | 429248 | 2126
01DEC2021 | 272 | 15611.58 | 79401 | 681433 | 8684 | 259969 | 2129
01JAN2022 | 3062 | 219579.71 | 79792 | 713255 | 8555 | 540011 | 2103
01FEB2022 | 1956 | 123401.53 | 66844 | 410939 | 8532 | 283262 | 2137
01MAR2022 | 1211 | 58864.97 | 103693 | 737865 | 8447 | 258462 | 2105
01APR2022 | 1877 | 131511.04 | 123912 | 1255506 | 8224 | 422769 | 2212
01MAY2022 | 3988 | 356687.72 | 144015 | 1492295 | 13653 | 633502 | 2234
01JUN2022 | 4298 | 526201.32 | 157808 | 2706886 | 10676 | 546659 | 1691
01JUL2022 | 14231 | 1759574.87 | 140464 | 1640622 | 14068 | 787164 | 2216
01AUG2022 | 15801 | 1978740.32 | 181845 | 2137391 | 18883 | 1212870 | 2298
01SEP2022 | 12685 | 1253594.13 | 152931 | 910143 | 18891 | 1029618 | 2311
01OCT2022 | 11904 | 917837.88 | 140006 | 99523 | 19009 | 820235 | 2421
01NOV2022 | 10457 | 760641.55 | 92511 | 107360 | 18530 | 506158 | 2442
01DEC2022 | 22096 | 2806853.62 | 77604 | 1146954 | 14172 | 1442192 | 2456
01JAN2023 | 6295 | 304972.31 | 103847 | 150437 | 14017 | 294337 | 2484
01FEB2023 | 124 | 10803.87 | 99889 | 67615 | 14784 | 291581 | 2433
01MAR2023 | 1327 | 67542.15 | 107236 | 51541 | 17884 | 351672 | 2489
01APR2023 | 3151 | 158954.65 | 129813 | 199537 | 19533 | 488013 | 2636
01MAY2023 | 3633 | 179655.78 | 190816 | 1024284 | 18338 | 521342 | 2609
01JUN2023 | 3036 | 160405.64 | 137212 | 157679 | 26007 | 686317 | 2285
01JUL2023 | 12113 | 1161880.56 | 144622 | 320833 | 27802 | 682856 | 2449
01AUG2023 | 1832 | 103072.91 | 133087 | 132416 | 31407 | 791218 | 2596
01SEP2023 | 2658 | 195425.53 | 208698 | 278211 | 27949 | 746558 | 2729
01OCT2023 | 11091 | 654428.93 | 315016 | 2117309 | 31093 | 1118074 | 2796
01NOV2023 | 4428 | 254007.31 | 233916 | 986252 | 28181 | 605929 | 2804

## Incs, Decs and Up-Tos
Virtual and Up-To Congestion Transactions
Click to return to Table of Contents
Date | Virtual Bids Submitted | Virtaul Bids Cleared | Virtual MWh Submitted | Virtual MWh Cleared | Up-To Transactions Submitted | Up-To Transactions Cleared | Up-To MWh Submitted | Up-To MWh Cleared | Total Transactions Submitted | Total Transactions Cleared | Total MWh Submitted | Total MWh Cleared
NOV2021 | 1656291 | 467405 | 11369701 | 4649046 | 2385838 | 353045 | 13406796 | 4874637 | 4042129 | 820450 | 24776497 | 9523683
DEC2021 | 1551891 | 476684 | 12725122 | 5726641 | 2499837 | 374500 | 14073607 | 4932180 | 4051728 | 851184 | 26798729 | 10658821
JAN2022 | 1955318 | 508718 | 15893777 | 7001586 | 2636803 | 355965 | 21185234 | 6151542 | 4592121 | 864683 | 37079011 | 13153128
FEB2022 | 1737786 | 475257 | 14782342 | 6599706 | 3004748 | 424588 | 20911191 | 8002309 | 4742534 | 899845 | 35693533 | 14602015
MAR2022 | 1647294 | 440982 | 16282470 | 7170257 | 2985400 | 387324 | 25757517 | 8114631 | 4632694 | 828306 | 42039987 | 15284889
APR2022 | 1508609 | 387460 | 14186971 | 5574487 | 2847497 | 316721 | 26571583 | 6501343 | 4356106 | 704181 | 40758554 | 12075830
MAY2022 | 1563068 | 421097 | 15491620 | 6359134 | 2887256 | 326172 | 25363864 | 6410221 | 4450324 | 747269 | 40855485 | 12769355
JUN2022 | 1397621 | 347983 | 13817000 | 5894356 | 3168236 | 374569 | 22656802 | 7353240 | 4565857 | 722552 | 36473802 | 13247595
JUL2022 | 1521446 | 341413 | 13356800 | 5588520 | 4287467 | 464155 | 26211757 | 8190488 | 5808913 | 805568 | 39568557 | 13779008
AUG2022 | 1465696 | 371576 | 13233766 | 5952457 | 5668567 | 562781 | 35834573 | 11165039 | 7134263 | 934357 | 49068339 | 17117496
SEP2022 | 1520746 | 391842 | 13741667 | 6846914 | 5780132 | 614122 | 34118720 | 9546538 | 7300878 | 1005964 | 47860387 | 16393452
OCT2022 | 1673581 | 464139 | 14847553 | 6261710 | 5859676 | 549493 | 39548728 | 10965036 | 7533257 | 1013632 | 54396281 | 17226746
NOV2022 | 1800212 | 490460 | 16070091 | 6554011 | 5906813 | 641304 | 52802789 | 15706300 | 7707025 | 1131764 | 68872880 | 22260312
NOV2022 | 1800212 | 490460 | 16070091 | 6554011 | 5906813 | 641304 | 52802789 | 15706300 | 7707025 | 1131764 | 68872880 | 22260312
DEC2022 | 1820827 | 472288 | 15421533 | 6124227 | 6618098 | 744286 | 60439700 | 17870046 | 8438925 | 1216574 | 75861233 | 23994273
JAN2023 | 1506612 | 469504 | 13234347 | 6177575 | 6452516 | 708370 | 50705416 | 17638580 | 7959128 | 1177874 | 63939763 | 23816155
FEB2023 | 1426573 | 459343 | 13116379 | 6435646 | 7183266 | 674106 | 57444566 | 16290896 | 8609839 | 1133449 | 70560945 | 22726542
MAR2023 | 1620941 | 543059 | 14888549 | 6828384 | 9141322 | 713957 | 84211767 | 18451327 | 10762263 | 1257016 | 99100316 | 25279711
APR2023 | 1531725 | 467429 | 14760108 | 6102021 | 8580136 | 751238 | 91618263 | 21619586 | 10111861 | 1218667 | 106378371 | 27721607
MAY2023 | 1513172 | 504080 | 14428199 | 6527677 | 6646490 | 783478 | 81113241 | 20764812 | 8159662 | 1287558 | 95541440 | 27292489
JUN2023 | 1641935 | 576084 | 14204499 | 6973920 | 3120098 | 796269 | 64759627 | 18898914 | 4762033 | 1372353 | 78964126 | 25872834
JUL2023 | 1890649 | 648297 | 14888354 | 6804331 | 2781449 | 752278 | 44130187 | 13970145 | 4672098 | 1400575 | 59018541 | 20774476
AUG2023 | 1462917 | 461403 | 15090606 | 7026434 | 2247589 | 617272 | 27022883 | 9350215 | 3710506 | 1078675 | 42113489 | 16376649
SEP2023 | 1454862 | 472750 | 15228714 | 6775431 | 1758733 | 493825 | 24848425 | 9053262 | 3213595 | 966575 | 40077140 | 15828693
OCT2023 | 1696861 | 553401 | 16005180 | 7368411 | 1518449 | 431573 | 25269259 | 8042565 | 3215310 | 984974 | 41274439 | 15410976
NOV2023 | 1628657 | 480459 | 12728572 | 6302209 | 1592216 | 494184 | 27458664 | 10764119 | 3220873 | 974643 | 40187235 | 17066328

## Congestion and FTR Revenue
Congestion and FTR Revenue
Click to return to Table of Contents
Date | Total FTR Revenue ($Millions) | Total FTR Target ($Millions) | FTR Payout Ratio (%) | Day-Ahead Congestion ($Millions) | Balancing Congestion ($Millions)
NOV2021 | 221.89 | 270.06 | 82% | 209.85 | -34.31
DEC2021 | 126.69 | 146.42 | 87% | 113.52 | -7.31
JAN2022 | 459.79 | 410.2 | 100% | 442.57 | -121.63
FEB2022 | 174.13 | 170.9 | 100% | 158.77 | -42.47
MAR2022 | 114.17 | 107.63 | 100% | 99.25 | -24.75
APR2022 | 161.87 | 161.64 | 100% | 145.88 | -31.29
MAY2022 | 420.98 | 386.43 | 100% | 406.07 | -52.24
JUN2022 | 220.22 | 231.54 | 95% | 202.01 | -37.64
JUL2022 | 248.73 | 220.42 | 100% | 223.57 | -33.09
AUG2022 | 373.66 | 313.73 | 100% | 355.62 | -46.13
SEP2022 | 269.12 | 260.88 | 100% | 248.49 | -28.71
OCT2022 | 179.69 | 208.05 | 86% | 161.39 | -16.65
NOV2022 | 240.48 | 242.18 | 99% | 215.39 | -28.36
DEC2022 | 392.03 | 322.37 | 100% | 364.98 | -58.57
JAN2023 | 94.62 | 77.62 | 100% | 69.25 | -7.04
FEB2023 | 128.41 | 90.81 | 100% | 102.77 | -16.41
MAR2023 | 80.73 | 59.87 | 100% | 54.1 | -27.34
APR2023 | 155.24 | 140.05 | 100% | 128.82 | -43.34
MAY2023 | 121.05 | 111.93 | 100% | 96.87 | -35.92
JUN2023 | 105.39 | 96.06 | 100% | 87.06 | -12.7
JUL2023 | 185.46 | 155.03 | 100% | 166.17 | -26.65
AUG2023 | 152.58 | 136.02 | 100% | 133.59 | -22.81
SEP2023 | 157 | 160.68 | 98% | 138.13 | -24.69
OCT2023 | 174.14 | 194.08 | 90% | 153.03 | -33.92
NOV2023 | 155.24 | 159.15 | 98% | 135.11 | -28.64

## Balancing Congestion Facilities
Balancing Congestion Facilities
Click to return to Table of Contents
Date | Facility Name | Balancing Congestion ($)
NOV2023 | Dumont-Stillwell 345 (AEP IM) | -8454858
NOV2023 | Ashburn-Pleasant View 230 274D (DOM) | -7761556
NOV2023 | AEP-DOM Interface (EHV) | -2326404
NOV2023 | Collier 345/138 T1 (DQE) | -1885287
NOV2023 | Nottingham Reactor 230 (PECO) | -1370419
NOV2023 | Turkey Hill-Hilgard 138 (MISO) | -1057403
NOV2023 | Mahans Lane-Tidd 138 (APS) | -927397
NOV2023 | Prest-TIbbs 138 (MISO) | -733071
NOV2023 | Edens Ridge-W Kingsport 138 (AEP AP) | -643283
NOV2023 | Crescent-Mt Nebo 138 (DQE) | -617006

## Average Interface Prices
Monthly Average PJM/MISO and PJM/NYISO Interface Prices
Click to return to Table of Contents
Date | PJM's Price for MISO Real-Time | MISO's Price for PJM Real-Time | PJM's Price for MISO Day-Ahead | MISO's Price for PJM Day-Ahead | PJM's Price for NYISO Real-Time | NYISO's Price for PJM Real-Time | PJM's Price for NYISO Day-Ahead | NYISO's Price for PJM Day-Ahead
NOV2021 | 52.39 | 53.89 | 53.77 | 53.35 | 50.91 | 51.83 | 49.89 | 48.65
DEC2021 | 35.72 | 36.34 | 34.61 | 37.65 | 36.09 | 39.71 | 35.27 | 39.77
JAN2022 | 43.79 | 45.49 | 47.63 | 46.33 | 93.71 | 98.5 | 79.12 | 101.16
FEB2022 | 39.89 | 41.72 | 42.35 | 44.3 | 57.09 | 55.41 | 54.29 | 63.83
MAR2022 | 37.63 | 39.86 | 40 | 40.95 | 42.04 | 45.73 | 43.54 | 45.82
APR2022 | 56.09 | 58.65 | 58.31 | 59.87 | 55.82 | 50.4 | 58.81 | 50.1
MAY2022 | 69.85 | 71.96 | 72.18 | 74.39 | 61.34 | 63.62 | 66.21 | 58.89
JUN2022 | 85.89 | 81.23 | 83.44 | 85.9 | 74.5 | 74.23 | 69.82 | 68.3
JUL2022 | 79.74 | 83.61 | 83.71 | 84.55 | 78.79 | 84.28 | 83.14 | 82.98
AUG2022 | 89.88 | 94.62 | 90.8 | 93.05 | 98.3 | 100.68 | 92.15 | 94.87
SEP2022 | 70.17 | 72.46 | 74.28 | 76.51 | 62.25 | 66.95 | 68.04 | 70.43
OCT2022 | 49.31 | 51.57 | 50.67 | 50.95 | 47.81 | 45.8 | 48.78 | 48.11
NOV2022 | 45.33 | 44.69 | 46.97 | 47.8 | 43.35 | 40.9 | 45.58 | 41.21
DEC2022 | 93.73 | 75.53 | 68.23 | 61.64 | 116.57 | 94.81 | 87.7 | 86.24
JAN2023 | 32.8 | 33.81 | 33.46 | 34.96 | 33.45 | 34.33 | 33.56 | 36.97
FEB2023 | 22.98 | 24.56 | 25.7 | 26.58 | 26.11 | 28.29 | 31.28 | 36.83
MAR2023 | 25.66 | 25.5 | 25.67 | 26.65 | 25.19 | 25.01 | 25.86 | 26.77
APR2023 | 23.42 | 24.76 | 24.7 | 25.88 | 24.1 | 26.06 | 25.19 | 25.47
MAY2023 | 25.44 | 27.08 | 26.39 | 27.94 | 20.7 | 21.14 | 21.61 | 20.76
JUN2023 | 26.25 | 27.19 | 26.48 | 28.17 | 23.64 | 24.37 | 22.01 | 25.5
JUL2023 | 33 | 33.37 | 35.37 | 36.48 | 34.3 | 32.46 | 34.08 | 37.31
AUG2023 | 29.82 | 32.04 | 30.89 | 32.49 | 23.45 | 27.12 | 23.02 | 25.69
SEP2023 | 27.37 | 29.96 | 28.2 | 29.2 | 27.9 | 30.24 | 24.7 | 28.24
OCT2023 | 30.39 | 32.51 | 31.71 | 30.85 | 24.73 | 26.53 | 26.18 | 25.58
NOV2023 | 25.5 | 27.75 | 27.14 | 29.46 | 29.46 | 28.57 | 29.82 | 31.28

## Market to Market Congestion
PJM/MISO and PJM/NYISO Market to Market Congestion Payments
Click to return to Table of Contents
Date | Net M2M Payments from PJM to MISO ($) | Payments to MISO as Percent of Total PJM Congestion | Net M2M Payments from PJM to NYISO ($) | Payments to NYISO as Percent of Total PJM Congestion | FTR Revenue ($)
NOV2021 | 1410123 | 0.5% | 184035 | 0.07% | 270062172
DEC2021 | $-2,809,014 | 1.9% | $-220,347 | 0.15% | 146419783
JAN2022 | $-8,827,970 | 2.2% | $-2,842,631 | 0.69% | 410202298
FEB2022 | $-6,539,248 | 3.8% | $-827,421 | 0.48% | 170901305
MAR2022 | $-14,903,430 | 13.8% | $-73,500 | 0.07% | 107630030
APR2022 | $-23,957,490 | 14.8% | $-1,077,850 | 0.67% | 161635739
MAY2022 | $-23,059,246 | 6% | $-2,380,617 | 0.62% | 386433052
JUN2022 | $-8,203,485 | 3.5% | $-9,971 | 0% | 231540036
JUL2022 | $-7,600,711 | 3.4% | $-85,615 | 0.04% | 220415075
AUG2022 | $-5,937,583 | 1.9% | $-134,279 | 0.04% | 313733668
SEP2022 | $-4,658,097 | 1.8% | 36561 | 0.01% | 260877180
OCT2022 | $-17,773,829 | 8.5% | $-44,500 | 0.02% | 208047698
NOV2022 | $-14,312,352 | 5.9% | $-36,302 | 0.01% | 242184098
DEC2022 | $-47,335,717 | 14.7% | $-6,206 | 0% | 322367124
JAN2023 | $-5,658,070 | 7.3% | 279756 | 0.36% | 77622121
FEB2023 | $-2,574,139 | 2.8% | 282401 | 0.31% | 90806423
MAR2023 | $-6,496,984 | 10.9% | $-111,170 | 0.19% | 59866477
APR2023 | $-16,199,761 | 11.6% | $-11,504 | 0.01% | 140053037
MAY2023 | $-10,394,960 | 9.3% | $-10,287 | 0.01% | 111927654
JUN2023 | $-1,730,052 | 1.8% | $-48 | 0% | 96057780
JUL2023 | $-1,727,776 | 1.1% | 2056 | 0% | 155033386
AUG2023 | $-288,916 | 0.2% | $-32,030 | 0.02% | 136020791
SEP2023 | $-2,296,208 | 1.4% | 141308 | 0.09% | 160675473
OCT2023 | $-3,268,721 | 1.7% | $-45,688 | 0.02% | 194082957
NOV2023 | $-4,989,953 | 3.1% | $-53,779 | 0.03% | 159154486

## Regulation and Sync Reserve
Regulation and Synchronized Reserve
Click to return to Table of Contents
Date | Synchronous Condenser ($Millions) | Synchronized Reserve ($Millions) | Synchronous Condenser (Cents/MWh load) | Synchronized Reserve (Cents/MWh load) | Regulation ($Millions)
NOV2021 | . | 10.73 | . | 17.56 | 24.45
DEC2021 | . | 4.86 | . | 7.49 | 13.66
JAN2022 | . | 7.07 | . | 9.26 | 33.95
FEB2022 | . | 2.48 | . | 3.88 | 14.31
MAR2022 | . | 5.25 | . | 8.35 | 13.05
APR2022 | . | 7.96 | . | 14.08 | 23.25
MAY2022 | . | 8.33 | . | 13.64 | 19.63
JUN2022 | . | 20.56 | . | 30.32 | 25.58
JUL2022 | . | 9.81 | . | 12.62 | 28.26
AUG2022 | . | 11.64 | . | 15.24 | 32.33
SEP2022 | . | 4.08 | . | 6.52 | 21.26
OCT2022 | . | 5.05 | . | 8.8 | 19.14
NOV2022 | . | 3.48 | . | 5.74 | 11.43
DEC2022 | . | 6.28 | . | 8.77 | 53.85
JAN2023 | . | 1.38 | . | 2.02 | 9.81
FEB2023 | . | 1.33 | . | 2.21 | 8.13
MAR2023 | . | 1.18 | . | 1.85 | 9.51
APR2023 | . | 2.85 | . | 5.13 | 11.32
MAY2023 | . | 9.01 | . | 15.54 | 12.61
JUN2023 | . | 4.43 | . | 7.06 | 11.65
JUL2023 | . | 10.76 | . | 13.91 | 12.71
AUG2023 | . | 3.3 | . | 4.48 | 11.92
SEP2023 | . | 3.22 | . | 5.08 | 12.02
OCT2023 | . | 21.37 | . | 36.47 | 15.21
NOV2023 | . | 11.53 | . | 18.75 | 9.28

## Regulation Daily
Regulation Market Daily Prices and Charges
Click to return to Table of Contents
Date | Minimum Hourly Price ($/MWh) | Average Hourly Price ($/MWh) | Maximum Hourly Price ($/MWh) | Total Daily Regulation Charges($Millions) /
01NOV2023 | 0.75 | 14.56 | 39.44 | 508666.48
02NOV2023 | 0 | 19.59 | 86.55 | 610661.73
03NOV2023 | 0 | 6.04 | 18.19 | 243328.03
04NOV2023 | 1.49 | 23.57 | 129.5 | 330477.14
05NOV2023 | 0 | 11.19 | 40.59 | 189302.2
06NOV2023 | 0 | 9.59 | 54.56 | 150728.64
07NOV2023 | 0.01 | 15.96 | 38.38 | 234323.87
08NOV2023 | 0 | 9.81 | 36.71 | 279306.7
09NOV2023 | 0 | 17.29 | 49.65 | 311281.8
10NOV2023 | 0 | 29 | 271.42 | 359117.66
11NOV2023 | 0 | 33.7 | 380.12 | 409338.25
12NOV2023 | 0 | 16.52 | 66.8 | 338577.1
13NOV2023 | 0 | 24 | 152.32 | 450642.77
14NOV2023 | 0 | 35.76 | 325.54 | 401026.29
15NOV2023 | 0 | 17.87 | 54.37 | 300341.21
16NOV2023 | 0 | 13.93 | 35.53 | 293906.61
17NOV2023 | 0.09 | 11.04 | 47.86 | 198618.95
18NOV2023 | 2.22 | 11.84 | 56.51 | 176537.84
19NOV2023 | 0 | 7.21 | 16.44 | 123313.99
20NOV2023 | 0 | 9.77 | 62.63 | 160265.71
21NOV2023 | 1.8 | 21.55 | 71.06 | 256662.14
22NOV2023 | 0.01 | 14.34 | 53.06 | 322505.17
23NOV2023 | 2.04 | 11.86 | 40.32 | 180536.51
24NOV2023 | 0.12 | 9.85 | 68.85 | 142899.87
25NOV2023 | 5.16 | 18.7 | 58.54 | 293764
26NOV2023 | 1.35 | 14.38 | 30.94 | 311896.48
27NOV2023 | 0.01 | 15.9 | 57.48 | 311235.72
28NOV2023 | 0 | 30.88 | 279.68 | 402065.05
29NOV2023 | 0 | 37.48 | 276.49 | 775374.18
30NOV2023 | 0 | 11.65 | 34.39 | 216995.26

## Synchronized Reserve Daily
Synchronized Reserve Market Daily Prices and Charges
Click to return to Table of Contents
Date | Minimum Hourly Price ($/MWh) | Average Hourly Price ($/MWh) | Maximum Hourly Price ($/MWh) | Total Daily Regulation Charges($Millions) /
01NOV2023 | 0.01 | 1.48 | 19.21 | 735244.66
02NOV2023 | 0 | 3.91 | 74.2 | 662067.33
03NOV2023 | 0 | 0.01 | 0.04 | 454210.75
04NOV2023 | 0.01 | 0.02 | 0.04 | 437675.41
05NOV2023 | 0 | 0.02 | 0.04 | 585147.01
06NOV2023 | 0 | 0.02 | 0.04 | 520406.51
07NOV2023 | 0 | 0.95 | 16.86 | 592324.67
08NOV2023 | 0 | 0.37 | 8.27 | 609773.46
09NOV2023 | 0.01 | 2.21 | 24.85 | 606806.19
10NOV2023 | 0.01 | 11.97 | 183.48 | 822461.69
11NOV2023 | 0 | 14.01 | 280.34 | 300909.5
12NOV2023 | 0.01 | 1.71 | 16.18 | 382156.11
13NOV2023 | 0 | 4.89 | 35.87 | 855136.88
14NOV2023 | 0.01 | 9.73 | 165.91 | 441100.12
15NOV2023 | 0.01 | 0.66 | 6.2 | 606477.18
16NOV2023 | 0.01 | 1.07 | 20.52 | 273795.44
17NOV2023 | 0 | 0.02 | 0.04 | 251503.59
18NOV2023 | 0 | 0.02 | 0.04 | 191257.13
19NOV2023 | 0.01 | 0.02 | 0.04 | 101110.14
20NOV2023 | 0.01 | 0.02 | 0.04 | 170331.73
21NOV2023 | 0.01 | 0.83 | 10.42 | 184522.1
22NOV2023 | 0 | 0.06 | 1.03 | 63498.39
23NOV2023 | 0 | 0.01 | 0.04 | 23365.5
24NOV2023 | 0 | 0.03 | 0.33 | 67931.14
25NOV2023 | 0 | 0.02 | 0.04 | 150148.2
26NOV2023 | 0.01 | 0.03 | 0.1 | 17561.31
27NOV2023 | 0 | 1.49 | 28.23 | 330244.52
28NOV2023 | 0.01 | 3.88 | 50.01 | 425295.09
29NOV2023 | 0 | 0.02 | 0.04 | 465084.16
30NOV2023 | 0 | 1.21 | 21.58 | 198773.21

## Daily Marginal Losses
Daily Marginal Loss Summary
Click to return to Table of Contents
Date | Average Energy Price ($/MWh) | Minimum Loss Component ($/MWh) | Maximum Loss Component ($/MWh) | Minimum Loss Zone | Maximum Loss Zone | Loss Credits ($) | Loss Credits ($/MWh)
01NOV2023 | 41.88 | (3.62) | 3.35 | COMED | BGE | 1000897 | 0.47
02NOV2023 | 60.71 | (30.24) | 22.96 | COMED | BGE | 931510 | 0.43
03NOV2023 | 33.97 | (16.13) | 12.18 | COMED | BGE | 1250023 | 0.6
04NOV2023 | 31.47 | (2.50) | 2.92 | COMED | BGE | 810334 | 0.44
05NOV2023 | 22.65 | (1.25) | 1.51 | COMED | BGE | 453351 | 0.25
06NOV2023 | 21.73 | (1.65) | 1.73 | COMED | BGE | 330794 | 0.17
07NOV2023 | 38.97 | (2.28) | 2.46 | COMED | BGE | 554053 | 0.29
08NOV2023 | 29.1 | (5.46) | 5.78 | COMED | BGE | 369716 | 0.19
09NOV2023 | 30.06 | (3.27) | 3.28 | COMED | BGE | 481733 | 0.25
10NOV2023 | 34.67 | (2.71) | 3.01 | COMED | BGE | 903027 | 0.46
11NOV2023 | 36.22 | (2.75) | 2.81 | COMED | BGE | 603219 | 0.32
12NOV2023 | 31.32 | (8.14) | 6.11 | COMED | BGE | 573810 | 0.3
13NOV2023 | 36.22 | (7.02) | 5.35 | COMED | DPL | 850976 | 0.4
14NOV2023 | 39.17 | (7.02) | 5.68 | COMED | BGE | 641142 | 0.31
15NOV2023 | 31.71 | (3.58) | 3.09 | COMED | DPL | 891610 | 0.43
16NOV2023 | 28.9 | (2.66) | 2.27 | COMED | BGE | 745078 | 0.37
17NOV2023 | 27.01 | (2.34) | 1.86 | COMED | DPL | 721058 | 0.37
18NOV2023 | 24.51 | (1.74) | 1.22 | COMED | DAY | 515291 | 0.28
19NOV2023 | 23.53 | (1.78) | 1.35 | COMED | BGE | 410366 | 0.21
20NOV2023 | 26.2 | (2.73) | 1.92 | COMED | BGE | 460425 | 0.22
21NOV2023 | 29.57 | (2.54) | 2.13 | COMED | BGE | 646528 | 0.3
22NOV2023 | 28.23 | (1.77) | 2.64 | COMED | DAY | 652201 | 0.32
23NOV2023 | 17.54 | (1.09) | 1.02 | COMED | DAY | 325417 | 0.17
24NOV2023 | 22.82 | (1.23) | 0.93 | COMED | BGE | 583381 | 0.3
25NOV2023 | 27.2 | (1.27) | 1.21 | DUQ | DAY | 703383 | 0.34
26NOV2023 | 27.91 | (1.46) | 1.43 | COMED | BGE | 508054 | 0.24
27NOV2023 | 32.5 | (2.18) | 2.57 | COMED | DAY | 719189 | 0.32
28NOV2023 | 42.79 | (2.82) | 2.67 | DUQ | DOM | 1072124 | 0.43
29NOV2023 | 48.85 | (20.12) | 14.96 | COMED | BGE | 1190248 | 0.47
30NOV2023 | 32.34 | (4.64) | 3.74 | COMED | BGE | 1346453 | 0.59

## Monthly Marginal Losses
Monthly Marginal Losses
Click to return to Table of Contents
Date | Loss Credits ($) | Loss Credits ($/MWh)
NOV2021 | 35095332.64 | 0.57
DEC2021 | 24458886.73 | 0.38
JAN2022 | 68104134.85 | 0.89
FEB2022 | 38546557.75 | 0.6
MAR2022 | 25638483.69 | 0.41
APR2022 | 29309509.42 | 0.52
MAY2022 | 48282039.84 | 0.79
JUN2022 | 56294833.57 | 0.83
JUL2022 | 83683325 | 1.08
AUG2022 | 88800028.1 | 1.16
SEP2022 | 54330379.88 | 0.87
OCT2022 | 32917653.86 | 0.57
NOV2022 | 34171012.1 | 0.56
DEC2022 | 81841621.69 | 1.14
JAN2023 | 25887176.02 | 0.38
FEB2023 | 21144569.31 | 0.35
MAR2023 | 18545452.43 | 0.29
APR2023 | 15210425.22 | 0.27
MAY2023 | 16519916.8 | 0.28
JUN2023 | 19165944.57 | 0.31
JUL2023 | 38068632.28 | 0.49
AUG2023 | 25796839.83 | 0.35
SEP2023 | 23437309.66 | 0.37
OCT2023 | 23150254.76 | 0.39
NOV2023 | 21245391.9 | 0.35

## Sychronized Reserve Performance
Sychronized Reserve Performance
Click to return to Table of Contents
Start Time | End Time | Generation Tier 1 Response | Generation Tier 2 Assignment | Generation Tier 2 Response | Generation Zero Response | DSR Tier 1 Response | DSR Tier 2 Assignment | DSR Tier 2 Response | DSR Zero Response
07MAR19:03:05:00 | 07MAR19:03:15:00 | 271.26 | 75.63 | 76.09 | . | 0 | 47.39 | 22.58 | 27.62
23SEP19:16:06:00 | 23SEP19:16:18:00 | 648.01 | 75.84 | 63.89 | 3.2 | 0 | 54.48 | 51.96 | 0.74
01OCT19:18:56:00 | 01OCT19:19:07:00 | 361.41 | 176.93 | 162.4 | 3.12 | 0 | 38.93 | 48.83 | 0.04
18FEB20:11:16:00 | 18FEB20:11:26:00 | 421.44 | 6.67 | 0.28 | . | 0 | . | . | .
06JUL20:21:22:00 | 06JUL20:21:32:00 | 254.4 | 68.97 | 63.81 | 4.67 | 0 | 10.98 | 10.05 | 1.75
25JUL20:16:39:00 | 25JUL20:16:50:00 | 168.72 | 49.13 | 43.02 | . | 0 | 6.29 | 13.09 | 0.11
10SEP20:00:19:00 | 10SEP20:00:29:00 | 223.78 | 92.2 | 41.48 | 6.67 | 0 | 38.24 | 43.63 | 1.17
16DEC20:16:38:00 | 16DEC20:16:48:00 | 185.05 | 79.2 | 77.14 | 9.5 | 0 | 8.74 | 8.86 | .
09MAR21:12:50:00 | 09MAR21:13:01:00 | 303.76 | 109.41 | 61.66 | 10.08 | 0 | 52.66 | 64.75 | 0.92
30APR21:20:30:00 | 30APR21:20:42:00 | 414.24 | 52.9 | 52.7 | . | 0 | 48.76 | 43.21 | 1.58
26MAY21:14:17:00 | 26MAY21:14:27:00 | 545.84 | 73.65 | 64.71 | . | 0 | 42.21 | 47.42 | 0.67
23AUG21:20:44:00 | 23AUG21:21:01:00 | 561.46 | 163.46 | 156.05 | . | 0 | 96.14 | 52.33 | 38.36
12NOV21:22:25:00 | 12NOV21:22:37:00 | 432.47 | 123.6 | 99.82 | 24 | 0 | 54.54 | 74.32 | 0.16
06APR22:15:45:00 | 06APR22:15:55:00 | 303.15 | 161.51 | 112.95 | 47.23 | 0 | 36.2 | 38.6 | 0.03
13APR22:21:25:00 | 13APR22:21:53:00 | 1025.37 | 320.37 | 338.12 | 6.07 | 0 | 89.88 | 86.21 | 4.01
16MAY22:19:32:00 | 16MAY22:19:43:00 | 593.54 | 54.04 | 19.04 | 23.28 | 0 | . | . | .
16MAY22:19:53:00 | 16MAY22:20:03:00 | 572.62 | 103.07 | 45.43 | 10.37 | 0 | . | . | .
23MAY22:21:17:00 | 23MAY22:21:32:00 | 376.89 | 185.53 | 135.17 | . | 0 | 80.01 | 63.96 | 11.9
29OCT22:06:12:00 | 29OCT22:06:24:00 | 189.14 | 333.76 | 96.45 | 180.3 | 0 | 37.82 | 56.12 | 0.06
29NOV22:21:30:00 | 29NOV22:21:47:00 | 461.63 | 482.49 | 327.64 | 119.09 | 0 | 6.77 | 8 | 0.31
23DEC22:15:14:00 | 23DEC22:15:25:00 | 449.04 | 315.59 | 388.12 | 15.88 | 0 | 12.84 | 17.85 | 0.17
23DEC22:21:17:00 | 23DEC22:23:09:00 | 4594.02 | 3027.55 | 1442.9 | 514.08 | 0 | 417.58 | 614.23 | 1.87
24DEC22:05:05:00 | 24DEC22:05:30:00 | 507.6 | 715.38 | 393.03 | 193.84 | 0 | 20.67 | 13.36 | .
24DEC22:07:23:00 | 24DEC22:07:54:00 | 447.29 | 753.56 | 209.99 | 68.2 | 0 | 106.59 | 102.9 | 9.71
24DEC22:09:23:00 | 24DEC22:10:51:00 | 1104.38 | 1435.87 | 226.78 | 275.88 | 87.18 | 173.07 | 210.03 | 2.05
05JAN23:17:43:00 | 05JAN23:17:55:00 | 289.75 | 311.78 | 212.04 | 35.9 | 0 | 30.94 | 34.02 | .
10JAN23:12:06:00 | 10JAN23:12:23:00 | 289.83 | 566.08 | 342.73 | 81.6 | 0 | 104.89 | 89.69 | 20.54
All values are converted into MWHs by multiplying MWs by the event duration

## Shortage Pricing Intervals
Shortage Pricing Intervals
Click to return to Table of Contents
Date | 5-Minute Interval | Reserve Penalty Factors | 5-Minute Interval SMP | Hourly Integrated SMP
. | . - . |  | . | .