## Matrix
Maintenance Items/Actions to be Categorized | ENERGY |  | CAPACITY
Fossil Steam Unit | SRMC (HOURLY) | SHORT RUN VOM | ACR (ANNUAL) | APIR (>ANNUAL)
Water Wall Tube Leak Repair
Water Wall or Pendant Replacement
Boiler Annual Inspection
Burner Repairs
Burner Overhaul
Water Chemistry Tasks
DeMineralizer Resin Replacement
Flow Acceleration Corrosion NDE Survey
FD/ID Fan Repair
FD/ID Fan Overhaul
Air Heater Wash
Air Heater Bucket Replacement
Rotating Equipment Oil Survey
Rotating Equipment Vibration
Generator Inspection
Generator Rewind
Feedwater Pump Overhaul
Unplanned Steam Turbine Repair
Turbine Valve Repairs
Steam Turbine Inspection/Overhaul
a) Open, Inspect, Clean, and Close
b) Seal Replacement
c) Bearing Repairs
d) Nozzle/Blade Repairs
e) Nozzle/Blade Replacements
Coal Mill Overhaul
Fuel Pumps Repair
Fuel Pumps Overhaul
Replacement of Cooling Tower Fill and Drift Eliminators
Condenser Cleaning
Condenser Tube Replacement
Circulating Water Pump Overhaul
Precipitator Inspection
CEMs Maintenance
Catalyst Replacement
Air Compressor Overhaul
Water Plant Repairs
Ash Handling System Repairs
Waste Treatment Facility Repairs
Combustion Turbine
Inlet Air Filter Replacement
Borescopic Inspection of Hot Gas Path
Turbine Overhaul
Turbine Blade Replacement
Combuster Replacement
Governor Controls Upgrade
Fuel Gas Compressors Overhaul
Air/Diesel Starting System Repairs
Clutch Inspection
Clutch Overhaul
Power Turbine Overhaul
Generator Inspection
Generator Rewind
Stack Repairs
Fuel/Water Tank Inspections
Fuel/Water Tank Repairs

## Proposed by Category
Category | Energy | Capacity
| VOM | ACR (Non-APIR) | APIR
Admin
Permits & Licensing Fees |  | X
Insurance Premiums |  | X
Property Taxes |  | X
Site Security & Utilities |  | X
Labor
Operations |  | X
Planned Maintenance |  | X
Overtime - Short Term Repairs | ? | ? | ?
Support |  | X
Training |  | X
Overhauls (Including Overtime) |  |  | X
Unexpected Major Repair * | ? | ? | ?
Contractor
Operations |  | X
Planned Maintenance |  | X
Short Term Repairs | ? | ? | ?
Support |  | X
Training |  | X
Overhauls (Including Overtime) |  |  | X
Unexpected Major Repair * | ? | ? | ?
Materials
Consumables | X
Operations |  | X
Planned Maintenance |  | X
Short Term Repairs | ? | ? | ?
Overhauls |  |  | X
Unexpected Major Repair * | ? | ? | ?
* Turbine Overhaul Planned for 2015. Plan to enter cost in 2015 - 2016 BRA APIR. Major Failure in 2013. Cost ?