## Matrix of Economic CBLs 745-II
CBL | DayType | Use Median or Avg. for CBL1 | CBL Basis Window2 | CBL Basis Window Limit3 | Start Selection From Days Prior to Event4 | Exclude Previous Curtailment Days5 | Exclude Long/Short DST Days6 | Exclude Avg. Event Period Usage Less than Threshold7 | Exclude # of Low Usage Days8 | Use Previous Curtailment if CBL Basis Window incomplete9 | Use Highest or Recent Previous Curtailment Day10 | Adjustments11 | Allow Negative Adjustments12 | Adjustments Start (HE0-x)13 | Adjustment Basis Hours14
3 DayTypes | Weekdays | Average | 5 | 45 | 1 | Y | N/A | 25% | 1 | Yes | Highest | None | N/A | N/A | N/A
| Sat ,Sun/Hol | Average | 3 | 45 | 1 | Y | Y | 25% | 1 | Yes | Highest | None | N/A | N/A | N/A
3 Day Types with SAA | Weekdays | Average | 5 | 45 | 1 | Y | N/A | 25% | 1 | Yes | Highest | Symmetric Additive | Yes | 4 | 3
| Sat,Sun/Hol | Average | 3 | 45 | 1 | Y | Y | 25% | 1 | Yes | Highest | Symmetric Additive | Yes | 4 | 3
3 Day Types with WSA | Weekdays | Average | 5 | 45 | 1 | Y | N/A | 25% | 1 | Yes | Highest | Weather Sensitive | Yes | 0 | Event Hours
| Sat, Sun/Hol | Average | 3 | 45 | 1 | Y | Y | 25% | 1 | Yes | Highest | Weather Sensitive | Yes | 0 | Event Hours
7 DayTypes | Mon,Tue,Wed,Thu,Fri,Sat,Sun/Hol | Average | 3 | 60 | 1 | Y | Y | 25% | 0 | Yes | Highest | None | N/A | N/A | N/A
7 Day Types with SAA | Mon,Tue,Wed,Thu,Fri,Sat,Sun/Hol | Average | 3 | 60 | 1 | Y | Y | 25% | 0 | Yes | Highest | Symmetric Additive | Yes | 4 | 3
MBL(Max Base Load)A | Weekdays | Average | 5 | 45 | 1 | Y | N/A | 25% | 0 | Yes | Recent | None | N/A | N/A | N/A
| Sat,Sun/Hol | Average | 3 | 45 | 1 | Y | Y | 25% | 0 | Yes | Recent | None | N/A | N/A | N/A
Metered GenerationB | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
ManualC | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
NOTES:
AMBL(Max Base Load). Average of daily minimum loads over event hours where there are at least three event hours. If the number of event hours is less than three, then use the following hours: hour prior to event, event hour(s), hour after event, in that order until three hours are attained. Exceptions: use only event hours if start of event is sometime between 9pm and midnight OR if end of event is sometime before 3am.
BMetered Generation. The use of this methodology must be approved by PJM. Historical data will be required showing that the unit does not normally run or is not normally active. If the data indicates that the unit runs normally, is active, or if the unit is a cogen operation then another CBL methodology will be required.
CManual. This designation signifies that PJM approves of and authorizes the CSP to calculate/provide CBL to PJM.
1Use Median or Avg. for CBL. Whether to use median or average to calculate the CBL after the CBL Basis Window has been defined and high and low usage days have been excluded.
2CBL Basis Window. This is the set of days that will serve as representative of end-use customer’s typical usage. If the number of days specified is 5, then after all exclusions (before excluding High and Low Usage Days), the set will contain 5 days.
3CBL Basis Window Limit. The set of days for the CBL Basis Window cannot be selected from more than the specified number of calendar days prior to the event day.
4Start Selection from Days before Event Day. The number of similar day types prior to the event day that must be excluded before the selection of days for the CBL Basis Window begins. The minimum value allowed is 1.
5Exclude Previous Curtailment Days. If this is set to “Y”, exclude all previous curtailment days. Previous Curtailment Days are previous economic settlements in pending or confirmed status.
6Exclude Long/Short DST Days. If this is set to "Y", then any long/short DST day is excluded from the CBL Basis Window.
7Exclude Avg. Daily Event Period Usage Less than Threshold. If the Average Daily Event Period Usage for the CBL day selected is less than the threshold indicated, then that day will be excluded from the CBL Basis Window.
8Exclude # of Low Usage Days. If the CBL Basis Window is set to 5 and this switch is set to 1, then the 1 day with the lowest Average Daily Event Period Usage will be excluded from the CBL calculation.
9Use Previous Curtailment Day if CBL Incomplete. If this is set to “Y”, and if the CBL is unable to attain the minimum number of days required to calculate the CBL, then Previous Curtailment Days will be used as part of the CBL Basis Window until such minimum is attained. If this is set to “Y”, then Exclude Previous Curtailment Days must also be set to “Y”.
10Use Highest or Recent Previous Curtailment Day. Required if the Use Previous Curtailment Day if CBL Incomplete is set to “Y”. "Highest" means that the model will rank Previous Curtailment Days based on event period usage within the CBL Basis Window Limit and add them to the CBL Basis Window in descending order until the CBL Basis Window contains the minimum number of days required to calculate CBL. "Recent" means that the model will start adding days to the CBL Basis Window starting with the Most Recent Curtailment Day that was excluded until the CBL Basis Window contains the minimum number of days required to calculate CBL.
11Adjustments. If this is set to “Y”, an Adjustment will be calculated and added to the CBL basis.
12Allow Negative Adjustments. If this is set to “Y”, then the Adjustments may be positive or negative. Otherwise, Adjustments will always be greater than zero.
13Adjustment Start (HE0-x). The starting point for the hour(s) to be used in calculating the Adjustments. If the test event is on HE13 and Adjustment Start is 4, then HE9 will be the first hour used to calculate Adjustments.
14Adjustment Basis Hours. This switch allows the user to calculate Additive Adjustments using multiple hours from Adjustment Start. If the test event is on HE13, Adjustment Start is 4, and Adjustment Basis Hours is 3, then the adjustment will be based on the load from HE9-HE11.