## NOTE - READ ME
The Test Model and Test Model w/ Shorter Sector Est Pd forecasts are for informational purposes only to help guide the discussion around understanding potential methodological changes for the 2022 Load Forecast.
All models were run using the following:
- Moody's Analytics September 2020 economic forecast
- 2020 Itron/EIA end-use data (consistent with the 2020 EIA Annual Energy Outlook
- 2021 BtM Solar Capacity forecast provided to PJM by IHS Markit

## Summer - Pivot Table
ZONE | PJM RTO
Data
Year | Sum of Actual | Sum of WN | Sum of 2021 Forecast | Sum of Test | Sum of Test w/ Shorter Sector Est Pd
1998 | 131813
1999 | 141491
2000 | 131798
2001 | 150924
2002 | 150826
2003 | 145227
2004 | 139279
2005 | 155257 | 150587.19
2006 | 166929 | 154054.4
2007 | 162035 | 154291.46
2008 | 150622 | 156159.19
2009 | 145112 | 151524.02
2010 | 157247 | 152888.26
2011 | 165524 | 152461.68
2012 | 158219 | 152502.29
2013 | 159149 | 150387.16
2014 | 141509 | 150072.42
2015 | 143579 | 148826.94
2016 | 152069 | 148920.08
2017 | 145434 | 150166.78
2018 | 150573 | 149592.82
2019 | 151302 | 148889.88
2020 | 144320 | 146891.32
2021 |  |  | 149224 | 149686 | 149357
2022 |  |  | 149966 | 150038 | 149670
2023 |  |  | 150855 | 150350 | 149892
2024 |  |  | 151503 | 150746 | 150137
2025 |  |  | 151928 | 150992 | 150387
2026 |  |  | 152290 | 151159 | 150629
2027 |  |  | 152571 | 151131 | 150643
2028 |  |  | 152971 | 151172 | 150634
2029 |  |  | 153268 | 151249 | 150838
2030 |  |  | 153536 | 151188 | 150953
2031 |  |  | 153759 | 151234 | 150954
2032 |  |  | 154045 | 151258 | 150988
2033 |  |  | 154323 | 151307 | 151073
2034 |  |  | 154561 | 151215 | 151072
2035 |  |  | 154620 | 151182 | 151106
2036 |  |  | 154728 | 151318 | 151175
Total Result | 3440238 | 2418215.89 | 2444148 | 2415225 | 2409508

## Summer - Data
ZONE | Year | Actual | WN | 2021 Forecast | Test | Test w/ Shorter Sector Est Pd
AE | 1998 | 2265
AE | 1999 | 2473
AE | 2000 | 2329
AE | 2001 | 2635
AE | 2002 | 2678
AE | 2003 | 2485
AE | 2004 | 2454
AE | 2005 | 2839 | 2637.01
AE | 2006 | 3009 | 2705.04
AE | 2007 | 2953 | 2781.01
AE | 2008 | 2639 | 2760.98
AE | 2009 | 2707 | 2731.37
AE | 2010 | 2937 | 2756.98
AE | 2011 | 2967 | 2690.09
AE | 2012 | 2853 | 2770.32
AE | 2013 | 2740 | 2653.03
AE | 2014 | 2444 | 2675.7
AE | 2015 | 2553 | 2511.82
AE | 2016 | 2674 | 2572.21
AE | 2017 | 2541 | 2468.09
AE | 2018 | 2592 | 2521.7
AE | 2019 | 2738 | 2454.58
AE | 2020 | 2635 | 2482.4
AE | 2021 |  |  | 2470 | 2509 | 2516
AE | 2022 |  |  | 2492 | 2514 | 2538
AE | 2023 |  |  | 2503 | 2526 | 2560
AE | 2024 |  |  | 2511 | 2532 | 2577
AE | 2025 |  |  | 2517 | 2531 | 2591
AE | 2026 |  |  | 2528 | 2539 | 2608
AE | 2027 |  |  | 2541 | 2542 | 2613
AE | 2028 |  |  | 2556 | 2558 | 2639
AE | 2029 |  |  | 2575 | 2571 | 2665
AE | 2030 |  |  | 2590 | 2581 | 2687
AE | 2031 |  |  | 2605 | 2590 | 2707
AE | 2032 |  |  | 2622 | 2596 | 2716
AE | 2033 |  |  | 2629 | 2604 | 2730
AE | 2034 |  |  | 2633 | 2612 | 2753
AE | 2035 |  |  | 2639 | 2619 | 2775
AE | 2036 |  |  | 2654 | 2622 | 2790
AEP | 1998 | 21156
AEP | 1999 | 21887
AEP | 2000 | 20584
AEP | 2001 | 22907
AEP | 2002 | 23126
AEP | 2003 | 22572
AEP | 2004 | 21882
AEP | 2005 | 23914 | 22517.8
AEP | 2006 | 24834 | 23650.89
AEP | 2007 | 25293 | 24104.23
AEP | 2008 | 23826 | 24605.24
AEP | 2009 | 21881 | 23428.27
AEP | 2010 | 23500 | 23646.55
AEP | 2011 | 24538 | 23617.64
AEP | 2012 | 23500 | 23622.52
AEP | 2013 | 22939 | 23320.96
AEP | 2014 | 21407 | 22772.65
AEP | 2015 | 21872 | 22604.99
AEP | 2016 | 22484 | 22205.01
AEP | 2017 | 21714 | 22892.12
AEP | 2018 | 22273 | 22673.6
AEP | 2019 | 21758 | 22467.17
AEP | 2020 | 21654 | 22075.52
AEP | 2021 |  |  | 22609 | 22193 | 22124
AEP | 2022 |  |  | 22776 | 22244 | 22253
AEP | 2023 |  |  | 22887 | 22267 | 22319
AEP | 2024 |  |  | 22981 | 22322 | 22411
AEP | 2025 |  |  | 23039 | 22370 | 22491
AEP | 2026 |  |  | 23123 | 22398 | 22543
AEP | 2027 |  |  | 23188 | 22420 | 22587
AEP | 2028 |  |  | 23269 | 22431 | 22619
AEP | 2029 |  |  | 23347 | 22460 | 22680
AEP | 2030 |  |  | 23415 | 22521 | 22747
AEP | 2031 |  |  | 23471 | 22539 | 22784
AEP | 2032 |  |  | 23538 | 22549 | 22809
AEP | 2033 |  |  | 23613 | 22573 | 22844
AEP | 2034 |  |  | 23640 | 22555 | 22847
AEP | 2035 |  |  | 23678 | 22572 | 22882
AEP | 2036 |  |  | 23722 | 22606 | 22936
APS | 1998 | 7314
APS | 1999 | 7788
APS | 2000 | 7546
APS | 2001 | 8265
APS | 2002 | 8340
APS | 2003 | 8183
APS | 2004 | 7997
APS | 2005 | 8824 | 8806.49
APS | 2006 | 8735 | 8535.62
APS | 2007 | 8638 | 8476.55
APS | 2008 | 8432 | 8517.58
APS | 2009 | 7872 | 8274.46
APS | 2010 | 8532 | 8534.68
APS | 2011 | 8975 | 8495.15
APS | 2012 | 8537 | 8496.33
APS | 2013 | 8682 | 8626.95
APS | 2014 | 8085 | 8736.49
APS | 2015 | 8257 | 8695.63
APS | 2016 | 8718 | 8662.89
APS | 2017 | 8315 | 8880.96
APS | 2018 | 8632 | 8853.15
APS | 2019 | 8446 | 8872.43
APS | 2020 | 8645 | 8919.69
APS | 2021 |  |  | 8859 | 8588 | 8651
APS | 2022 |  |  | 8907 | 8626 | 8668
APS | 2023 |  |  | 8969 | 8659 | 8674
APS | 2024 |  |  | 9014 | 8689 | 8706
APS | 2025 |  |  | 9047 | 8695 | 8724
APS | 2026 |  |  | 9076 | 8699 | 8731
APS | 2027 |  |  | 9087 | 8697 | 8736
APS | 2028 |  |  | 9104 | 8664 | 8697
APS | 2029 |  |  | 9113 | 8676 | 8715
APS | 2030 |  |  | 9126 | 8657 | 8707
APS | 2031 |  |  | 9140 | 8641 | 8697
APS | 2032 |  |  | 9174 | 8635 | 8689
APS | 2033 |  |  | 9185 | 8629 | 8684
APS | 2034 |  |  | 9193 | 8603 | 8658
APS | 2035 |  |  | 9220 | 8629 | 8681
APS | 2036 |  |  | 9254 | 8626 | 8690
ATSI | 1998 | 11657
ATSI | 1999 | 12713
ATSI | 2000 | 11959
ATSI | 2001 | 13145
ATSI | 2002 | 13299
ATSI | 2003 | 12165
ATSI | 2004 | 12310
ATSI | 2005 | 13578 | 13049.26
ATSI | 2006 | 13804 | 13392.45
ATSI | 2007 | 13536 | 13299.29
ATSI | 2008 | 12972 | 13279.43
ATSI | 2009 | 12310 | 12443.17
ATSI | 2010 | 13177 | 13022.87
ATSI | 2011 | 14033 | 13043.51
ATSI | 2012 | 13516 | 12916.39
ATSI | 2013 | 13480 | 12938.1
ATSI | 2014 | 12365 | 12913.55
ATSI | 2015 | 12357 | 12673.83
ATSI | 2016 | 12753 | 12573.33
ATSI | 2017 | 12054 | 12616.69
ATSI | 2018 | 12835 | 12491.09
ATSI | 2019 | 12582 | 12318.92
ATSI | 2020 | 12476 | 12255.76
ATSI | 2021 |  |  | 12525 | 12458 | 12431
ATSI | 2022 |  |  | 12622 | 12475 | 12444
ATSI | 2023 |  |  | 12673 | 12475 | 12430
ATSI | 2024 |  |  | 12690 | 12505 | 12444
ATSI | 2025 |  |  | 12710 | 12516 | 12440
ATSI | 2026 |  |  | 12731 | 12530 | 12439
ATSI | 2027 |  |  | 12749 | 12528 | 12421
ATSI | 2028 |  |  | 12781 | 12512 | 12394
ATSI | 2029 |  |  | 12796 | 12574 | 12435
ATSI | 2030 |  |  | 12828 | 12599 | 12446
ATSI | 2031 |  |  | 12842 | 12606 | 12434
ATSI | 2032 |  |  | 12855 | 12574 | 12380
ATSI | 2033 |  |  | 12862 | 12581 | 12363
ATSI | 2034 |  |  | 12843 | 12539 | 12308
ATSI | 2035 |  |  | 12819 | 12561 | 12298
ATSI | 2036 |  |  | 12805 | 12564 | 12287
BGE | 1998 | 6045
BGE | 1999 | 6670
BGE | 2000 | 6015
BGE | 2001 | 6868
BGE | 2002 | 6898
BGE | 2003 | 6572
BGE | 2004 | 6267
BGE | 2005 | 7376 | 7019.21
BGE | 2006 | 7485 | 7048.63
BGE | 2007 | 7478 | 7031.18
BGE | 2008 | 7151 | 7018.77
BGE | 2009 | 6596 | 6970.31
BGE | 2010 | 7125 | 6819.04
BGE | 2011 | 7617 | 7083.59
BGE | 2012 | 7435 | 7008.95
BGE | 2013 | 7039 | 6824.59
BGE | 2014 | 6666 | 6768.17
BGE | 2015 | 6508 | 6718.33
BGE | 2016 | 6932 | 6661.07
BGE | 2017 | 6449 | 6597.34
BGE | 2018 | 6627 | 6571.17
BGE | 2019 | 6706 | 6607.38
BGE | 2020 | 6701 | 6544.34
BGE | 2021 |  |  | 6582 | 6392 | 6512
BGE | 2022 |  |  | 6606 | 6383 | 6446
BGE | 2023 |  |  | 6652 | 6372 | 6386
BGE | 2024 |  |  | 6688 | 6377 | 6366
BGE | 2025 |  |  | 6705 | 6348 | 6323
BGE | 2026 |  |  | 6696 | 6314 | 6278
BGE | 2027 |  |  | 6680 | 6267 | 6217
BGE | 2028 |  |  | 6677 | 6237 | 6163
BGE | 2029 |  |  | 6680 | 6206 | 6110
BGE | 2030 |  |  | 6676 | 6166 | 6059
BGE | 2031 |  |  | 6652 | 6146 | 6020
BGE | 2032 |  |  | 6635 | 6128 | 5972
BGE | 2033 |  |  | 6653 | 6127 | 5947
BGE | 2034 |  |  | 6643 | 6119 | 5922
BGE | 2035 |  |  | 6650 | 6112 | 5887
BGE | 2036 |  |  | 6657 | 6110 | 5857
COMED | 1998 | 19510
COMED | 1999 | 22157
COMED | 2000 | 20143
COMED | 2001 | 21574
COMED | 2002 | 21804
COMED | 2003 | 22054
COMED | 2004 | 19794
COMED | 2005 | 21635 | 21207.05
COMED | 2006 | 23996 | 21627.5
COMED | 2007 | 21970 | 21647.67
COMED | 2008 | 20976 | 22032.64
COMED | 2009 | 21218 | 21345.99
COMED | 2010 | 21915 | 22034.27
COMED | 2011 | 23754 | 21503.6
COMED | 2012 | 23602 | 21531.25
COMED | 2013 | 22290 | 21244.24
COMED | 2014 | 19723 | 21420.76
COMED | 2015 | 20165 | 21329.92
COMED | 2016 | 21187 | 21272.64
COMED | 2017 | 20351 | 21176.18
COMED | 2018 | 21359 | 21028.35
COMED | 2019 | 20949 | 20760.82
COMED | 2020 | 20225 | 19657
COMED | 2021 |  |  | 20421 | 21480 | 21261
COMED | 2022 |  |  | 20304 | 21384 | 21220
COMED | 2023 |  |  | 20179 | 21258 | 21159
COMED | 2024 |  |  | 20064 | 21193 | 21117
COMED | 2025 |  |  | 19947 | 21109 | 21066
COMED | 2026 |  |  | 19876 | 21031 | 21037
COMED | 2027 |  |  | 19767 | 20963 | 21039
COMED | 2028 |  |  | 19699 | 20856 | 20964
COMED | 2029 |  |  | 19624 | 20812 | 20994
COMED | 2030 |  |  | 19533 | 20721 | 20910
COMED | 2031 |  |  | 19433 | 20668 | 20906
COMED | 2032 |  |  | 19362 | 20623 | 20894
COMED | 2033 |  |  | 19288 | 20543 | 20864
COMED | 2034 |  |  | 19201 | 20388 | 20741
COMED | 2035 |  |  | 19098 | 20353 | 20767
COMED | 2036 |  |  | 19004 | 20290 | 20756
DAYTON | 1998 | 3303
DAYTON | 1999 | 3460
DAYTON | 2000 | 3176
DAYTON | 2001 | 3436
DAYTON | 2002 | 3283
DAYTON | 2003 | 3366
DAYTON | 2004 | 3280
DAYTON | 2005 | 3725 | 3318.35
DAYTON | 2006 | 3706 | 3464.53
DAYTON | 2007 | 3748 | 3510.85
DAYTON | 2008 | 3494 | 3562.12
DAYTON | 2009 | 3327 | 3421.99
DAYTON | 2010 | 3387 | 3414.67
DAYTON | 2011 | 3644 | 3399.38
DAYTON | 2012 | 3495 | 3419.63
DAYTON | 2013 | 3398 | 3375.16
DAYTON | 2014 | 3224 | 3350.85
DAYTON | 2015 | 3269 | 3361.62
DAYTON | 2016 | 3327 | 3355.11
DAYTON | 2017 | 3213 | 3486.87
DAYTON | 2018 | 3325 | 3451.27
DAYTON | 2019 | 3246 | 3400.32
DAYTON | 2020 | 3296 | 3273.04
DAYTON | 2021 |  |  | 3415 | 3268 | 3281
DAYTON | 2022 |  |  | 3430 | 3271 | 3289
DAYTON | 2023 |  |  | 3445 | 3271 | 3292
DAYTON | 2024 |  |  | 3458 | 3282 | 3303
DAYTON | 2025 |  |  | 3470 | 3295 | 3314
DAYTON | 2026 |  |  | 3480 | 3295 | 3313
DAYTON | 2027 |  |  | 3493 | 3294 | 3310
DAYTON | 2028 |  |  | 3507 | 3288 | 3302
DAYTON | 2029 |  |  | 3523 | 3293 | 3305
DAYTON | 2030 |  |  | 3537 | 3301 | 3311
DAYTON | 2031 |  |  | 3550 | 3303 | 3312
DAYTON | 2032 |  |  | 3564 | 3301 | 3308
DAYTON | 2033 |  |  | 3578 | 3301 | 3305
DAYTON | 2034 |  |  | 3584 | 3293 | 3295
DAYTON | 2035 |  |  | 3589 | 3291 | 3291
DAYTON | 2036 |  |  | 3596 | 3301 | 3299
DEOK | 1998 | 4851
DEOK | 1999 | 5156
DEOK | 2000 | 4872
DEOK | 2001 | 5197
DEOK | 2002 | 5423
DEOK | 2003 | 5227
DEOK | 2004 | 5106
DEOK | 2005 | 5756 | 5281.1
DEOK | 2006 | 5595 | 5489.71
DEOK | 2007 | 5769 | 5378.78
DEOK | 2008 | 5403 | 5492.41
DEOK | 2009 | 5014 | 5376.71
DEOK | 2010 | 5545 | 5473.14
DEOK | 2011 | 5600 | 5357.61
DEOK | 2012 | 5445 | 5344.01
DEOK | 2013 | 5146 | 5308.96
DEOK | 2014 | 5039 | 5337.26
DEOK | 2015 | 5123 | 5273.95
DEOK | 2016 | 5309 | 5301.22
DEOK | 2017 | 5036 | 5413.65
DEOK | 2018 | 5195 | 5257.17
DEOK | 2019 | 5052 | 5294.79
DEOK | 2020 | 4975 | 5114.08
DEOK | 2021 |  |  | 5390 | 5202 | 5190
DEOK | 2022 |  |  | 5440 | 5222 | 5208
DEOK | 2023 |  |  | 5494 | 5245 | 5230
DEOK | 2024 |  |  | 5539 | 5259 | 5242
DEOK | 2025 |  |  | 5578 | 5275 | 5258
DEOK | 2026 |  |  | 5605 | 5291 | 5271
DEOK | 2027 |  |  | 5632 | 5308 | 5280
DEOK | 2028 |  |  | 5662 | 5324 | 5297
DEOK | 2029 |  |  | 5697 | 5343 | 5315
DEOK | 2030 |  |  | 5721 | 5362 | 5330
DEOK | 2031 |  |  | 5746 | 5376 | 5340
DEOK | 2032 |  |  | 5773 | 5390 | 5351
DEOK | 2033 |  |  | 5796 | 5394 | 5348
DEOK | 2034 |  |  | 5811 | 5399 | 5354
DEOK | 2035 |  |  | 5823 | 5411 | 5353
DEOK | 2036 |  |  | 5831 | 5423 | 5373
DLCO | 1998 | 2484
DLCO | 1999 | 2756
DLCO | 2000 | 2673
DLCO | 2001 | 2771
DLCO | 2002 | 2917
DLCO | 2003 | 2686
DLCO | 2004 | 2646
DLCO | 2005 | 2885 | 2809.21
DLCO | 2006 | 3053 | 2959.34
DLCO | 2007 | 2891 | 2888.68
DLCO | 2008 | 2822 | 2915.2
DLCO | 2009 | 2733 | 2847.37
DLCO | 2010 | 2889 | 2900.75
DLCO | 2011 | 3071 | 2880.38
DLCO | 2012 | 3055 | 2941.71
DLCO | 2013 | 2952 | 2920.63
DLCO | 2014 | 2693 | 2866.06
DLCO | 2015 | 2805 | 2807.01
DLCO | 2016 | 2797 | 2725.02
DLCO | 2017 | 2683 | 2788.22
DLCO | 2018 | 2796 | 2746.78
DLCO | 2019 | 2662 | 2727.73
DLCO | 2020 | 2668 | 2692.82
DLCO | 2021 |  |  | 2768 | 2825 | 2841
DLCO | 2022 |  |  | 2796 | 2848 | 2857
DLCO | 2023 |  |  | 2832 | 2868 | 2873
DLCO | 2024 |  |  | 2855 | 2886 | 2887
DLCO | 2025 |  |  | 2875 | 2901 | 2898
DLCO | 2026 |  |  | 2888 | 2916 | 2908
DLCO | 2027 |  |  | 2900 | 2931 | 2919
DLCO | 2028 |  |  | 2915 | 2942 | 2925
DLCO | 2029 |  |  | 2931 | 2957 | 2944
DLCO | 2030 |  |  | 2943 | 2969 | 2953
DLCO | 2031 |  |  | 2954 | 2978 | 2962
DLCO | 2032 |  |  | 2961 | 2995 | 2978
DLCO | 2033 |  |  | 2968 | 3002 | 2986
DLCO | 2034 |  |  | 2973 | 3006 | 2991
DLCO | 2035 |  |  | 2980 | 3031 | 3016
DLCO | 2036 |  |  | 2989 | 3038 | 3027
DOM | 1998 | 15231
DOM | 1999 | 16027
DOM | 2000 | 15252
DOM | 2001 | 16440
DOM | 2002 | 16911
DOM | 2003 | 16250
DOM | 2004 | 16327
DOM | 2005 | 19028 | 18321.32
DOM | 2006 | 19375 | 18651.81
DOM | 2007 | 19749 | 18909.9
DOM | 2008 | 19112 | 19088.63
DOM | 2009 | 18154 | 18645.42
DOM | 2010 | 19428 | 19203.48
DOM | 2011 | 20148 | 19744.67
DOM | 2012 | 19323 | 19669.93
DOM | 2013 | 18839 | 19475.6
DOM | 2014 | 18761 | 19551.09
DOM | 2015 | 19024 | 19417.84
DOM | 2016 | 19559 | 19574.36
DOM | 2017 | 18903 | 19805.03
DOM | 2018 | 19245 | 19933.85
DOM | 2019 | 19608 | 20144.47
DOM | 2020 | 20090 | 20428.87
DOM | 2021 |  |  | 20150 | 19843 | 19624
DOM | 2022 |  |  | 20248 | 20125 | 19717
DOM | 2023 |  |  | 20491 | 20380 | 19791
DOM | 2024 |  |  | 20694 | 20648 | 19906
DOM | 2025 |  |  | 20902 | 20907 | 20013
DOM | 2026 |  |  | 20962 | 20952 | 20047
DOM | 2027 |  |  | 21034 | 20975 | 20076
DOM | 2028 |  |  | 21109 | 20968 | 20060
DOM | 2029 |  |  | 21154 | 21043 | 20129
DOM | 2030 |  |  | 21194 | 21077 | 20167
DOM | 2031 |  |  | 21269 | 21157 | 20248
DOM | 2032 |  |  | 21365 | 21222 | 20306
DOM | 2033 |  |  | 21470 | 21288 | 20331
DOM | 2034 |  |  | 21576 | 21371 | 20424
DOM | 2035 |  |  | 21680 | 21476 | 20567
DOM | 2036 |  |  | 21775 | 21594 | 20696
DPL | 1998 | 3277
DPL | 1999 | 3715
DPL | 2000 | 3477
DPL | 2001 | 3793
DPL | 2002 | 3906
DPL | 2003 | 3687
DPL | 2004 | 3642
DPL | 2005 | 4235 | 4015.17
DPL | 2006 | 4328 | 4077.55
DPL | 2007 | 4350 | 4142.42
DPL | 2008 | 4015 | 4144.97
DPL | 2009 | 3844 | 4066.69
DPL | 2010 | 4056 | 4023.42
DPL | 2011 | 4338 | 4114.39
DPL | 2012 | 4152 | 4123.61
DPL | 2013 | 4019 | 4043.49
DPL | 2014 | 3876 | 4046.44
DPL | 2015 | 3822 | 4032.17
DPL | 2016 | 4127 | 4042.85
DPL | 2017 | 3813 | 4030.42
DPL | 2018 | 4003 | 4036.38
DPL | 2019 | 4098 | 3859.13
DPL | 2020 | 4101 | 3956.84
DPL | 2021 |  |  | 3895 | 3896 | 3885
DPL | 2022 |  |  | 3906 | 3910 | 3911
DPL | 2023 |  |  | 3927 | 3924 | 3932
DPL | 2024 |  |  | 3941 | 3930 | 3942
DPL | 2025 |  |  | 3958 | 3937 | 3953
DPL | 2026 |  |  | 3962 | 3940 | 3965
DPL | 2027 |  |  | 3969 | 3940 | 3969
DPL | 2028 |  |  | 3977 | 3939 | 3972
DPL | 2029 |  |  | 3985 | 3938 | 3974
DPL | 2030 |  |  | 3976 | 3930 | 3967
DPL | 2031 |  |  | 3976 | 3922 | 3961
DPL | 2032 |  |  | 3951 | 3906 | 3949
DPL | 2033 |  |  | 3945 | 3889 | 3938
DPL | 2034 |  |  | 3935 | 3890 | 3947
DPL | 2035 |  |  | 3938 | 3896 | 3957
DPL | 2036 |  |  | 3946 | 3900 | 3967
EKPC | 1999 | 1658
EKPC | 2000 | 1761
EKPC | 2001 | 1805
EKPC | 2002 | 1912
EKPC | 2003 | 1804
EKPC | 2004 | 1676
EKPC | 2005 | 1895 | 1868.75
EKPC | 2006 | 1885 | 1934.06
EKPC | 2007 | 2003 | 1919.83
EKPC | 2008 | 1837 | 1916.86
EKPC | 2009 | 1783 | 1903.94
EKPC | 2010 | 1966 | 1913.37
EKPC | 2011 | 1946 | 1915.63
EKPC | 2012 | 1977 | 1940.14
EKPC | 2013 | 1901 | 2024.52
EKPC | 2014 | 1896 | 2010.55
EKPC | 2015 | 1916 | 2027.16
EKPC | 2016 | 2026 | 2031.85
EKPC | 2017 | 1987 | 2106.97
EKPC | 2018 | 1983 | 2054.04
EKPC | 2019 | 2076 | 2078.83
EKPC | 2020 | 1946 | 2122.1
EKPC | 2021 |  |  | 2130 | 2070 | 2046
EKPC | 2022 |  |  | 2145 | 2096 | 2061
EKPC | 2023 |  |  | 2166 | 2124 | 2081
EKPC | 2024 |  |  | 2185 | 2154 | 2106
EKPC | 2025 |  |  | 2201 | 2180 | 2125
EKPC | 2026 |  |  | 2216 | 2203 | 2144
EKPC | 2027 |  |  | 2228 | 2227 | 2159
EKPC | 2028 |  |  | 2239 | 2254 | 2178
EKPC | 2029 |  |  | 2252 | 2278 | 2196
EKPC | 2030 |  |  | 2268 | 2308 | 2214
EKPC | 2031 |  |  | 2280 | 2331 | 2229
EKPC | 2032 |  |  | 2290 | 2353 | 2243
EKPC | 2033 |  |  | 2300 | 2377 | 2258
EKPC | 2034 |  |  | 2310 | 2405 | 2279
EKPC | 2035 |  |  | 2322 | 2433 | 2295
EKPC | 2036 |  |  | 2336 | 2462 | 2315
JCPL | 1998 | 4998
JCPL | 1999 | 5357
JCPL | 2000 | 5047
JCPL | 2001 | 5826
JCPL | 2002 | 5919
JCPL | 2003 | 5669
JCPL | 2004 | 5458
JCPL | 2005 | 6441 | 6162.61
JCPL | 2006 | 6751 | 6228.33
JCPL | 2007 | 6314 | 6341.1
JCPL | 2008 | 6398 | 6256.09
JCPL | 2009 | 5739 | 6138.08
JCPL | 2010 | 6449 | 6059.29
JCPL | 2011 | 6675 | 5980.24
JCPL | 2012 | 6300 | 6053.04
JCPL | 2013 | 6379 | 6006.43
JCPL | 2014 | 5637 | 6032.04
JCPL | 2015 | 5819 | 5978.89
JCPL | 2016 | 5955 | 6112.05
JCPL | 2017 | 5721 | 5880.07
JCPL | 2018 | 5977 | 6026.17
JCPL | 2019 | 6058 | 5849.08
JCPL | 2020 | 5904 | 6126.54
JCPL | 2021 |  |  | 5876 | 5875 | 5889
JCPL | 2022 |  |  | 5891 | 5894 | 5916
JCPL | 2023 |  |  | 5920 | 5912 | 5943
JCPL | 2024 |  |  | 5945 | 5932 | 5962
JCPL | 2025 |  |  | 5972 | 5945 | 5978
JCPL | 2026 |  |  | 6006 | 5962 | 5995
JCPL | 2027 |  |  | 6037 | 5994 | 6019
JCPL | 2028 |  |  | 6071 | 6027 | 6051
JCPL | 2029 |  |  | 6121 | 6066 | 6089
JCPL | 2030 |  |  | 6151 | 6099 | 6119
JCPL | 2031 |  |  | 6193 | 6129 | 6143
JCPL | 2032 |  |  | 6239 | 6162 | 6170
JCPL | 2033 |  |  | 6262 | 6193 | 6195
JCPL | 2034 |  |  | 6296 | 6222 | 6221
JCPL | 2035 |  |  | 6328 | 6251 | 6245
JCPL | 2036 |  |  | 6365 | 6273 | 6263
METED | 1998 | 2225
METED | 1999 | 2492
METED | 2000 | 2342
METED | 2001 | 2600
METED | 2002 | 2616
METED | 2003 | 2514
METED | 2004 | 2557
METED | 2005 | 2862 | 2794.27
METED | 2006 | 3000 | 2908.12
METED | 2007 | 2996 | 2890.82
METED | 2008 | 3110 | 2978.48
METED | 2009 | 2840 | 2947.9
METED | 2010 | 2941 | 2899.19
METED | 2011 | 3208 | 2991.99
METED | 2012 | 3039 | 2945.78
METED | 2013 | 3013 | 2903.27
METED | 2014 | 2817 | 2899.35
METED | 2015 | 2792 | 2926.96
METED | 2016 | 2948 | 2950.54
METED | 2017 | 2897 | 2986.4
METED | 2018 | 3028 | 3019.59
METED | 2019 | 2987 | 3024.17
METED | 2020 | 2977 | 3027.91
METED | 2021 |  |  | 3060 | 2980 | 2969
METED | 2022 |  |  | 3085 | 2986 | 2978
METED | 2023 |  |  | 3106 | 2991 | 2982
METED | 2024 |  |  | 3124 | 2997 | 2989
METED | 2025 |  |  | 3148 | 3007 | 3000
METED | 2026 |  |  | 3165 | 3020 | 3010
METED | 2027 |  |  | 3183 | 3032 | 3016
METED | 2028 |  |  | 3201 | 3044 | 3024
METED | 2029 |  |  | 3211 | 3053 | 3033
METED | 2030 |  |  | 3233 | 3062 | 3039
METED | 2031 |  |  | 3255 | 3072 | 3047
METED | 2032 |  |  | 3274 | 3086 | 3057
METED | 2033 |  |  | 3284 | 3100 | 3065
METED | 2034 |  |  | 3297 | 3106 | 3070
METED | 2035 |  |  | 3309 | 3116 | 3079
METED | 2036 |  |  | 3328 | 3122 | 3080
PECO | 1998 | 7108
PECO | 1999 | 8230
PECO | 2000 | 7333
PECO | 2001 | 8187
PECO | 2002 | 8164
PECO | 2003 | 7696
PECO | 2004 | 7567
PECO | 2005 | 8848 | 8355.45
PECO | 2006 | 8995 | 8487.88
PECO | 2007 | 8851 | 8527.89
PECO | 2008 | 8838 | 8636.55
PECO | 2009 | 8010 | 8616.77
PECO | 2010 | 8911 | 8452.74
PECO | 2011 | 9286 | 8594.12
PECO | 2012 | 8727 | 8502.3
PECO | 2013 | 8655 | 8356.77
PECO | 2014 | 8258 | 8333.05
PECO | 2015 | 8095 | 8245.17
PECO | 2016 | 8364 | 8464.71
PECO | 2017 | 8142 | 8328.79
PECO | 2018 | 8608 | 8455.69
PECO | 2019 | 8432 | 8510.87
PECO | 2020 | 8148 | 8185.32
PECO | 2021 |  |  | 8389 | 8501 | 8475
PECO | 2022 |  |  | 8451 | 8513 | 8498
PECO | 2023 |  |  | 8503 | 8523 | 8519
PECO | 2024 |  |  | 8547 | 8550 | 8543
PECO | 2025 |  |  | 8583 | 8557 | 8560
PECO | 2026 |  |  | 8600 | 8573 | 8575
PECO | 2027 |  |  | 8614 | 8567 | 8568
PECO | 2028 |  |  | 8628 | 8569 | 8570
PECO | 2029 |  |  | 8666 | 8607 | 8611
PECO | 2030 |  |  | 8675 | 8614 | 8626
PECO | 2031 |  |  | 8691 | 8627 | 8637
PECO | 2032 |  |  | 8695 | 8635 | 8635
PECO | 2033 |  |  | 8685 | 8647 | 8647
PECO | 2034 |  |  | 8684 | 8663 | 8658
PECO | 2035 |  |  | 8690 | 8685 | 8682
PECO | 2036 |  |  | 8691 | 8690 | 8700
PENLC | 1998 | 2419
PENLC | 1999 | 2516
PENLC | 2000 | 2482
PENLC | 2001 | 2709
PENLC | 2002 | 2707
PENLC | 2003 | 2623
PENLC | 2004 | 2639
PENLC | 2005 | 2875 | 2846.26
PENLC | 2006 | 3069 | 2899.62
PENLC | 2007 | 2903 | 2826.81
PENLC | 2008 | 2881 | 2872.18
PENLC | 2009 | 2817 | 2858.26
PENLC | 2010 | 2971 | 2916.71
PENLC | 2011 | 3129 | 2920.12
PENLC | 2012 | 2914 | 2895.26
PENLC | 2013 | 3088 | 2881.75
PENLC | 2014 | 2789 | 2852.93
PENLC | 2015 | 2819 | 2893.93
PENLC | 2016 | 2910 | 2836.22
PENLC | 2017 | 2883 | 2896.27
PENLC | 2018 | 2998 | 2885.67
PENLC | 2019 | 2866 | 2874.36
PENLC | 2020 | 2912 | 2952.19
PENLC | 2021 |  |  | 2894 | 2865 | 2849
PENLC | 2022 |  |  | 2924 | 2866 | 2850
PENLC | 2023 |  |  | 2943 | 2855 | 2841
PENLC | 2024 |  |  | 2962 | 2851 | 2834
PENLC | 2025 |  |  | 2990 | 2854 | 2839
PENLC | 2026 |  |  | 3021 | 2857 | 2843
PENLC | 2027 |  |  | 3041 | 2860 | 2845
PENLC | 2028 |  |  | 3070 | 2854 | 2842
PENLC | 2029 |  |  | 3102 | 2850 | 2839
PENLC | 2030 |  |  | 3126 | 2855 | 2842
PENLC | 2031 |  |  | 3164 | 2858 | 2846
PENLC | 2032 |  |  | 3200 | 2870 | 2851
PENLC | 2033 |  |  | 3236 | 2868 | 2850
PENLC | 2034 |  |  | 3262 | 2854 | 2836
PENLC | 2035 |  |  | 3291 | 2848 | 2833
PENLC | 2036 |  |  | 3326 | 2853 | 2838
PEPCO | 1998 | 5807
PEPCO | 1999 | 6224
PEPCO | 2000 | 5721
PEPCO | 2001 | 6399
PEPCO | 2002 | 6513
PEPCO | 2003 | 6166
PEPCO | 2004 | 6087
PEPCO | 2005 | 6767 | 6481.04
PEPCO | 2006 | 6947 | 6686.77
PEPCO | 2007 | 6892 | 6555.08
PEPCO | 2008 | 6753 | 6651.45
PEPCO | 2009 | 6326 | 6598.6
PEPCO | 2010 | 6719 | 6553.77
PEPCO | 2011 | 7025 | 6326.26
PEPCO | 2012 | 6759 | 6544.22
PEPCO | 2013 | 6534 | 6381.04
PEPCO | 2014 | 6346 | 6393.07
PEPCO | 2015 | 6268 | 6253.4
PEPCO | 2016 | 6584 | 6308.07
PEPCO | 2017 | 6098 | 6190.74
PEPCO | 2018 | 6412 | 6130.28
PEPCO | 2019 | 6191 | 6147.83
PEPCO | 2020 | 5887 | 5838.14
PEPCO | 2021 |  |  | 5924 | 5906 | 6085
PEPCO | 2022 |  |  | 5814 | 5904 | 6062
PEPCO | 2023 |  |  | 5793 | 5883 | 6025
PEPCO | 2024 |  |  | 5780 | 5870 | 6021
PEPCO | 2025 |  |  | 5727 | 5836 | 6004
PEPCO | 2026 |  |  | 5646 | 5787 | 5986
PEPCO | 2027 |  |  | 5551 | 5739 | 5963
PEPCO | 2028 |  |  | 5476 | 5691 | 5933
PEPCO | 2029 |  |  | 5414 | 5649 | 5907
PEPCO | 2030 |  |  | 5335 | 5590 | 5877
PEPCO | 2031 |  |  | 5248 | 5552 | 5858
PEPCO | 2032 |  |  | 5166 | 5517 | 5838
PEPCO | 2033 |  |  | 5089 | 5486 | 5822
PEPCO | 2034 |  |  | 5045 | 5454 | 5809
PEPCO | 2035 |  |  | 5000 | 5438 | 5805
PEPCO | 2036 |  |  | 4955 | 5432 | 5807
PJM RTO | 1998 | 131813
PJM RTO | 1999 | 141491
PJM RTO | 2000 | 131798
PJM RTO | 2001 | 150924
PJM RTO | 2002 | 150826
PJM RTO | 2003 | 145227
PJM RTO | 2004 | 139279
PJM RTO | 2005 | 155257 | 150587.19
PJM RTO | 2006 | 166929 | 154054.4
PJM RTO | 2007 | 162035 | 154291.46
PJM RTO | 2008 | 150622 | 156159.19
PJM RTO | 2009 | 145112 | 151524.02
PJM RTO | 2010 | 157247 | 152888.26
PJM RTO | 2011 | 165524 | 152461.68
PJM RTO | 2012 | 158219 | 152502.29
PJM RTO | 2013 | 159149 | 150387.16
PJM RTO | 2014 | 141509 | 150072.42
PJM RTO | 2015 | 143579 | 148826.94
PJM RTO | 2016 | 152069 | 148920.08
PJM RTO | 2017 | 145434 | 150166.78
PJM RTO | 2018 | 150573 | 149592.82
PJM RTO | 2019 | 151302 | 148889.88
PJM RTO | 2020 | 144320 | 146891.32
PJM RTO | 2021 |  |  | 149224 | 149686 | 149357
PJM RTO | 2022 |  |  | 149966 | 150038 | 149670
PJM RTO | 2023 |  |  | 150855 | 150350 | 149892
PJM RTO | 2024 |  |  | 151503 | 150746 | 150137
PJM RTO | 2025 |  |  | 151928 | 150992 | 150387
PJM RTO | 2026 |  |  | 152290 | 151159 | 150629
PJM RTO | 2027 |  |  | 152571 | 151131 | 150643
PJM RTO | 2028 |  |  | 152971 | 151172 | 150634
PJM RTO | 2029 |  |  | 153268 | 151249 | 150838
PJM RTO | 2030 |  |  | 153536 | 151188 | 150953
PJM RTO | 2031 |  |  | 153759 | 151234 | 150954
PJM RTO | 2032 |  |  | 154045 | 151258 | 150988
PJM RTO | 2033 |  |  | 154323 | 151307 | 151073
PJM RTO | 2034 |  |  | 154561 | 151215 | 151072
PJM RTO | 2035 |  |  | 154620 | 151182 | 151106
PJM RTO | 2036 |  |  | 154728 | 151318 | 151175
PL | 1998 | 5809
PL | 1999 | 6416
PL | 2000 | 6068
PL | 2001 | 6790
PL | 2002 | 6946
PL | 2003 | 6481
PL | 2004 | 6447
PL | 2005 | 7176 | 6857.02
PL | 2006 | 7689 | 7252.34
PL | 2007 | 7305 | 7121.79
PL | 2008 | 7371 | 7320.79
PL | 2009 | 6853 | 7326.5
PL | 2010 | 7216 | 7181
PL | 2011 | 7528 | 7121.88
PL | 2012 | 7290 | 7024.25
PL | 2013 | 7328 | 6965.48
PL | 2014 | 6732 | 6960.39
PL | 2015 | 6721 | 6931.05
PL | 2016 | 6841 | 6647.04
PL | 2017 | 6730 | 7051.93
PL | 2018 | 7129 | 7065.2
PL | 2019 | 7070 | 7069.11
PL | 2020 | 7050 | 7041.33
PL | 2021 |  |  | 7204 | 7035 | 6989
PL | 2022 |  |  | 7269 | 7044 | 7026
PL | 2023 |  |  | 7321 | 7052 | 7045
PL | 2024 |  |  | 7362 | 7074 | 7086
PL | 2025 |  |  | 7426 | 7089 | 7110
PL | 2026 |  |  | 7486 | 7108 | 7128
PL | 2027 |  |  | 7534 | 7125 | 7148
PL | 2028 |  |  | 7583 | 7141 | 7162
PL | 2029 |  |  | 7632 | 7163 | 7192
PL | 2030 |  |  | 7691 | 7184 | 7228
PL | 2031 |  |  | 7758 | 7205 | 7245
PL | 2032 |  |  | 7824 | 7221 | 7262
PL | 2033 |  |  | 7881 | 7235 | 7280
PL | 2034 |  |  | 7922 | 7242 | 7297
PL | 2035 |  |  | 7959 | 7257 | 7309
PL | 2036 |  |  | 8029 | 7290 | 7343
PS | 1998 | 9291
PS | 1999 | 10226
PS | 2000 | 9369
PS | 2001 | 10427
PS | 2002 | 10188
PS | 2003 | 9856
PS | 2004 | 9429
PS | 2005 | 11122 | 10568.54
PS | 2006 | 11229 | 10492.95
PS | 2007 | 10478 | 10656.2
PS | 2008 | 10716 | 10669.94
PS | 2009 | 9687 | 10487.91
PS | 2010 | 10762 | 10141.58
PS | 2011 | 10998 | 9992.17
PS | 2012 | 10475 | 10075.38
PS | 2013 | 10415 | 9910.19
PS | 2014 | 9516 | 9858.73
PS | 2015 | 9595 | 9806.11
PS | 2016 | 9801 | 9877.34
PS | 2017 | 9567 | 9761.06
PS | 2018 | 9979 | 9844.13
PS | 2019 | 9754 | 9704.11
PS | 2020 | 9558 | 9896.26
PS | 2021 |  |  | 9871 | 9760 | 9734
PS | 2022 |  |  | 9923 | 9815 | 9804
PS | 2023 |  |  | 9985 | 9861 | 9868
PS | 2024 |  |  | 10050 | 9932 | 9947
PS | 2025 |  |  | 10104 | 9960 | 9978
PS | 2026 |  |  | 10148 | 10002 | 10008
PS | 2027 |  |  | 10189 | 10049 | 10062
PS | 2028 |  |  | 10247 | 10106 | 10118
PS | 2029 |  |  | 10311 | 10179 | 10199
PS | 2030 |  |  | 10366 | 10251 | 10266
PS | 2031 |  |  | 10407 | 10310 | 10331
PS | 2032 |  |  | 10454 | 10369 | 10394
PS | 2033 |  |  | 10492 | 10420 | 10439
PS | 2034 |  |  | 10534 | 10464 | 10498
PS | 2035 |  |  | 10572 | 10513 | 10557
PS | 2036 |  |  | 10612 | 10575 | 10622
RECO | 1998 | 364
RECO | 1999 | 438
RECO | 2000 | 386
RECO | 2001 | 471
RECO | 2002 | 438
RECO | 2003 | 394
RECO | 2004 | 383
RECO | 2005 | 435 | 433.47
RECO | 2006 | 442 | 423.84
RECO | 2007 | 424 | 435.82
RECO | 2008 | 440 | 431.43
RECO | 2009 | 372 | 418.02
RECO | 2010 | 431 | 408.06
RECO | 2011 | 437 | 389.3
RECO | 2012 | 430 | 404.8
RECO | 2013 | 439 | 409.8
RECO | 2014 | 389 | 405.1
RECO | 2015 | 398 | 389.62
RECO | 2016 | 402 | 403.63
RECO | 2017 | 402 | 396.08
RECO | 2018 | 415 | 406.42
RECO | 2019 | 394 | 400.78
RECO | 2020 | 398 | 426.45
RECO | 2021 |  |  | 396 | 408 | 412
RECO | 2022 |  |  | 395 | 409 | 415
RECO | 2023 |  |  | 394 | 412 | 419
RECO | 2024 |  |  | 394 | 413 | 424
RECO | 2025 |  |  | 393 | 415 | 429
RECO | 2026 |  |  | 394 | 418 | 433
RECO | 2027 |  |  | 394 | 421 | 437
RECO | 2028 |  |  | 395 | 423 | 441
RECO | 2029 |  |  | 395 | 427 | 446
RECO | 2030 |  |  | 396 | 429 | 451
RECO | 2031 |  |  | 397 | 432 | 455
RECO | 2032 |  |  | 397 | 434 | 459
RECO | 2033 |  |  | 397 | 436 | 463
RECO | 2034 |  |  | 397 | 439 | 467
RECO | 2035 |  |  | 397 | 441 | 470
RECO | 2036 |  |  | 397 | 443 | 475
UGI | 1998 | 156
UGI | 1999 | 171
UGI | 2000 | 159
UGI | 2001 | 181
UGI | 2002 | 184
UGI | 2003 | 175
UGI | 2004 | 171
UGI | 2005 | 196 | 183.36
UGI | 2006 | 212 | 190.07
UGI | 2007 | 195 | 189.49
UGI | 2008 | 195 | 188.84
UGI | 2009 | 181 | 188.7
UGI | 2010 | 197 | 188.16
UGI | 2011 | 216 | 191.69
UGI | 2012 | 200 | 191.44
UGI | 2013 | 205 | 190.99
UGI | 2014 | 189 | 190.35
UGI | 2015 | 193 | 192.4
UGI | 2016 | 200 | 189.57
UGI | 2017 | 185 | 192.32
UGI | 2018 | 207 | 196.94
UGI | 2019 | 203 | 193.82
UGI | 2020 | 211 | 198.14
UGI | 2021 |  |  | 195 | 196 | 196
UGI | 2022 |  |  | 195 | 197 | 197
UGI | 2023 |  |  | 195 | 196 | 196
UGI | 2024 |  |  | 196 | 196 | 196
UGI | 2025 |  |  | 197 | 197 | 197
UGI | 2026 |  |  | 198 | 198 | 198
UGI | 2027 |  |  | 198 | 198 | 198
UGI | 2028 |  |  | 199 | 198 | 197
UGI | 2029 |  |  | 200 | 198 | 197
UGI | 2030 |  |  | 200 | 198 | 197
UGI | 2031 |  |  | 201 | 198 | 198
UGI | 2032 |  |  | 202 | 199 | 198
UGI | 2033 |  |  | 203 | 199 | 199
UGI | 2034 |  |  | 203 | 199 | 199
UGI | 2035 |  |  | 204 | 199 | 199
UGI | 2036 |  |  | 204 | 200 | 199

## Winter - Pivot Table
ZONE | PJM RTO
Data
Delivery Year | Sum of peak | Sum of WN | Sum of Forecast 2021 | Sum of Test Model | Sum of Test Model w/ Shorter Sector Est Pd
1997 | 102081
1998 | 116086
1999 | 118435
2000 | 118046
2001 | 112217
2002 | 129965
2003 | 122424
2004 | 131234 | 130313.07
2005 | 126777 | 131431.96
2006 | 136804 | 133090.94
2007 | 128368 | 135376.94
2008 | 134077 | 131148.12
2009 | 125350 | 132447.64
2010 | 132315 | 132275.25
2011 | 124506 | 132015.23
2012 | 128810 | 129545.32
2013 | 141866 | 128692.16
2014 | 142856 | 129895.39
2015 | 129540 | 129432.26
2016 | 130825 | 129583.24
2017 | 137212 | 130809.61
2018 | 137618 | 130673.72
2019 | 120272 | 129768.36
2020 |  |  | 132027 | 130106 | 129649.4594
2021 |  |  | 132632 | 130857 | 130664.5974
2022 |  |  | 132785 | 131409 | 131395.4432
2023 |  |  | 133527 | 132078 | 132167.5256
2024 |  |  | 133888 | 132359 | 132366.4239
2025 |  |  | 134223 | 132465 | 132673.7757
2026 |  |  | 134799 | 132908 | 133490.6695
2027 |  |  | 135163 | 133183 | 134030.6064
2028 |  |  | 135108 | 133447 | 134498.6352
2029 |  |  | 135829 | 133386 | 134532.4357
2030 |  |  | 135568 | 133628 | 134906.9413
2031 |  |  | 135799 | 133676 | 135153.0295
2032 |  |  | 136319 | 134107 | 136145.0012
2033 |  |  | 136238 | 133916 | 136074.981
2034 |  |  | 136304 | 134191 | 136821.4078
2035 |  |  | 136459 | 134057 | 136780.9628
Total Result | 2927684 | 2096499.21 | 2156668 | 2125773 | 2141351.8957

## Winter - Data
ZONE | Delivery Year | peak | WN | Forecast 2021 | Test Model | Test Model w/ Shorter Sector Est Pd
AE | 1997 | 1456
AE | 1998 | 1582
AE | 1999 | 1666
AE | 2000 | 1659
AE | 2001 | 1592
AE | 2002 | 1755
AE | 2003 | 1773
AE | 2004 | 1863 | 1702.35
AE | 2005 | 1777 | 1702.4
AE | 2006 | 1793 | 1729.65
AE | 2007 | 1744 | 1741.4
AE | 2008 | 1777 | 1707.85
AE | 2009 | 1677 | 1668.55
AE | 2010 | 1736 | 1658.69
AE | 2011 | 1654 | 1636.63
AE | 2012 | 1647 | 1594.62
AE | 2013 | 1807 | 1569.16
AE | 2014 | 1705 | 1623.44
AE | 2015 | 1556 | 1557.14
AE | 2016 | 1628 | 1499.89
AE | 2017 | 1679 | 1488.45
AE | 2018 | 1635 | 1493.37
AE | 2019 | 1484 | 1492.99
AE | 2020 |  |  | 1538 | 1530 | 1522
AE | 2021 |  |  | 1541 | 1528 | 1532
AE | 2022 |  |  | 1541 | 1525 | 1542
AE | 2023 |  |  | 1555 | 1521 | 1551
AE | 2024 |  |  | 1567 | 1518 | 1556
AE | 2025 |  |  | 1579 | 1514 | 1560
AE | 2026 |  |  | 1584 | 1511 | 1563
AE | 2027 |  |  | 1592 | 1505 | 1569
AE | 2028 |  |  | 1596 | 1494 | 1565
AE | 2029 |  |  | 1602 | 1495 | 1574
AE | 2030 |  |  | 1606 | 1484 | 1572
AE | 2031 |  |  | 1612 | 1484 | 1577
AE | 2032 |  |  | 1615 | 1478 | 1580
AE | 2033 |  |  | 1615 | 1469 | 1579
AE | 2034 |  |  | 1612 | 1459 | 1577
AE | 2035 |  |  | 1615 | 1453 | 1575
AEP | 1997 | 18529
AEP | 1998 | 20432
AEP | 1999 | 21777
AEP | 2000 | 21125
AEP | 2001 | 20393
AEP | 2002 | 22331
AEP | 2003 | 21653
AEP | 2004 | 22331 | 22371.16
AEP | 2005 | 22360 | 23145.21
AEP | 2006 | 24154 | 23443.05
AEP | 2007 | 24199 | 23989.04
AEP | 2008 | 24422 | 23376.88
AEP | 2009 | 22464 | 23498.41
AEP | 2010 | 22887 | 23564.17
AEP | 2011 | 21581 | 23599.52
AEP | 2012 | 22244 | 22870.34
AEP | 2013 | 24413 | 22422.88
AEP | 2014 | 24727 | 22634.48
AEP | 2015 | 22248 | 22295.52
AEP | 2016 | 21607 | 22527.77
AEP | 2017 | 22751 | 22571.51
AEP | 2018 | 22506 | 22363.15
AEP | 2019 | 20538 | 21959.95
AEP | 2020 |  |  | 22301 | 21896 | 21816
AEP | 2021 |  |  | 22408 | 22049 | 22089
AEP | 2022 |  |  | 22443 | 22037 | 22127
AEP | 2023 |  |  | 22525 | 22044 | 22193
AEP | 2024 |  |  | 22521 | 21975 | 22181
AEP | 2025 |  |  | 22575 | 21959 | 22226
AEP | 2026 |  |  | 22579 | 21950 | 22271
AEP | 2027 |  |  | 22630 | 21981 | 22363
AEP | 2028 |  |  | 22626 | 21956 | 22417
AEP | 2029 |  |  | 22584 | 21940 | 22461
AEP | 2030 |  |  | 22570 | 21927 | 22507
AEP | 2031 |  |  | 22580 | 21916 | 22554
AEP | 2032 |  |  | 22578 | 21933 | 22637
AEP | 2033 |  |  | 22521 | 21945 | 22721
AEP | 2034 |  |  | 22476 | 21979 | 22831
AEP | 2035 |  |  | 22380 | 22008 | 22929
APS | 1997 | 6747
APS | 1998 | 7421
APS | 1999 | 7791
APS | 2000 | 7716
APS | 2001 | 7552
APS | 2002 | 8437
APS | 2003 | 8288
APS | 2004 | 8598 | 8725.62
APS | 2005 | 8410 | 8361.02
APS | 2006 | 8665 | 8380.57
APS | 2007 | 8136 | 8569.34
APS | 2008 | 8527 | 8309.61
APS | 2009 | 7947 | 8559.86
APS | 2010 | 8643 | 8325.38
APS | 2011 | 8081 | 8260.77
APS | 2012 | 8496 | 8095.5
APS | 2013 | 9351 | 8141.97
APS | 2014 | 9594 | 8384.94
APS | 2015 | 8666 | 8394.55
APS | 2016 | 8755 | 8540.29
APS | 2017 | 9351 | 8720.06
APS | 2018 | 9597 | 8826.76
APS | 2019 | 8190 | 8848.72
APS | 2020 |  |  | 8896 | 8666 | 8732
APS | 2021 |  |  | 8910 | 8780 | 8829
APS | 2022 |  |  | 8937 | 8838 | 8868
APS | 2023 |  |  | 8972 | 8875 | 8898
APS | 2024 |  |  | 8992 | 8867 | 8896
APS | 2025 |  |  | 9005 | 8857 | 8900
APS | 2026 |  |  | 9014 | 8850 | 8906
APS | 2027 |  |  | 9029 | 8845 | 8916
APS | 2028 |  |  | 9043 | 8839 | 8910
APS | 2029 |  |  | 9053 | 8830 | 8910
APS | 2030 |  |  | 9058 | 8819 | 8910
APS | 2031 |  |  | 9065 | 8813 | 8912
APS | 2032 |  |  | 9065 | 8810 | 8918
APS | 2033 |  |  | 9060 | 8811 | 8925
APS | 2034 |  |  | 9054 | 8816 | 8934
APS | 2035 |  |  | 9048 | 8819 | 8943
ATSI | 1997 | 9544
ATSI | 1998 | 10187
ATSI | 1999 | 10131
ATSI | 2000 | 10561
ATSI | 2001 | 9775
ATSI | 2002 | 10569
ATSI | 2003 | 10556
ATSI | 2004 | 10857 | 10875.82
ATSI | 2005 | 10951 | 10845.47
ATSI | 2006 | 11195 | 10837.62
ATSI | 2007 | 10662 | 10960.58
ATSI | 2008 | 10463 | 10289.61
ATSI | 2009 | 10687 | 10539.61
ATSI | 2010 | 10710 | 10524.7
ATSI | 2011 | 10121 | 10737.16
ATSI | 2012 | 10360 | 10542.66
ATSI | 2013 | 11352 | 10551.67
ATSI | 2014 | 11041 | 10584.12
ATSI | 2015 | 10395 | 10410.8
ATSI | 2016 | 10633 | 10415.73
ATSI | 2017 | 10654 | 10476.68
ATSI | 2018 | 11092 | 10808.51
ATSI | 2019 | 9624 | 10745.63
ATSI | 2020 |  |  | 10918 | 10115 | 10168
ATSI | 2021 |  |  | 10985 | 10104 | 10204
ATSI | 2022 |  |  | 10977 | 10110 | 10217
ATSI | 2023 |  |  | 10982 | 10123 | 10233
ATSI | 2024 |  |  | 10963 | 10097 | 10202
ATSI | 2025 |  |  | 10952 | 10076 | 10194
ATSI | 2026 |  |  | 10932 | 10047 | 10170
ATSI | 2027 |  |  | 10946 | 10030 | 10172
ATSI | 2028 |  |  | 10888 | 10009 | 10159
ATSI | 2029 |  |  | 10875 | 9982 | 10140
ATSI | 2030 |  |  | 10856 | 9944 | 10109
ATSI | 2031 |  |  | 10839 | 9922 | 10088
ATSI | 2032 |  |  | 10837 | 9893 | 10061
ATSI | 2033 |  |  | 10797 | 9850 | 10031
ATSI | 2034 |  |  | 10709 | 9814 | 10002
ATSI | 2035 |  |  | 10654 | 9771 | 9975
BGE | 1997 | 4651
BGE | 1998 | 5411
BGE | 1999 | 5575
BGE | 2000 | 5372
BGE | 2001 | 5111
BGE | 2002 | 6176
BGE | 2003 | 6118
BGE | 2004 | 6148 | 6148.43
BGE | 2005 | 5793 | 6313.16
BGE | 2006 | 6348 | 6165.3
BGE | 2007 | 5690 | 6247.13
BGE | 2008 | 6084 | 6000.32
BGE | 2009 | 5872 | 6082.9
BGE | 2010 | 5905 | 6077.39
BGE | 2011 | 5621 | 6016.78
BGE | 2012 | 5805 | 5822.69
BGE | 2013 | 6612 | 5827.74
BGE | 2014 | 6712 | 5843.21
BGE | 2015 | 5811 | 5826.83
BGE | 2016 | 5666 | 5796.73
BGE | 2017 | 6322 | 5881.31
BGE | 2018 | 6409 | 5853.03
BGE | 2019 | 5221 | 5900.94
BGE | 2020 |  |  | 6032 | 5813 | 5874
BGE | 2021 |  |  | 6056 | 5843 | 5834
BGE | 2022 |  |  | 6075 | 5881 | 5830
BGE | 2023 |  |  | 6116 | 5920 | 5846
BGE | 2024 |  |  | 6157 | 5951 | 5853
BGE | 2025 |  |  | 6189 | 5988 | 5872
BGE | 2026 |  |  | 6226 | 6028 | 5888
BGE | 2027 |  |  | 6260 | 6070 | 5903
BGE | 2028 |  |  | 6288 | 6112 | 5920
BGE | 2029 |  |  | 6313 | 6144 | 5932
BGE | 2030 |  |  | 6339 | 6183 | 5946
BGE | 2031 |  |  | 6361 | 6221 | 5959
BGE | 2032 |  |  | 6389 | 6258 | 5964
BGE | 2033 |  |  | 6402 | 6282 | 5956
BGE | 2034 |  |  | 6419 | 6314 | 5956
BGE | 2035 |  |  | 6434 | 6334 | 5946
COMED | 1997 | 13573
COMED | 1998 | 14222
COMED | 1999 | 14484
COMED | 2000 | 15047
COMED | 2001 | 13927
COMED | 2002 | 14812
COMED | 2003 | 15205
COMED | 2004 | 15222 | 15963.42
COMED | 2005 | 16081 | 16131.8
COMED | 2006 | 16207 | 16414.34
COMED | 2007 | 15845 | 16705.97
COMED | 2008 | 16328 | 16206.52
COMED | 2009 | 16093 | 16333.78
COMED | 2010 | 15653 | 15820.42
COMED | 2011 | 14813 | 15907.79
COMED | 2012 | 15139 | 15648.63
COMED | 2013 | 16519 | 15599.89
COMED | 2014 | 15951 | 15542.07
COMED | 2015 | 14956 | 15330.74
COMED | 2016 | 15385 | 15087.26
COMED | 2017 | 15408 | 15247.48
COMED | 2018 | 15584 | 14771.94
COMED | 2019 | 13832 | 14001.01
COMED | 2020 |  |  | 14478 | 14553 | 14418
COMED | 2021 |  |  | 14563 | 14479 | 14455
COMED | 2022 |  |  | 14387 | 14416 | 14503
COMED | 2023 |  |  | 14310 | 14321 | 14494
COMED | 2024 |  |  | 14152 | 14210 | 14389
COMED | 2025 |  |  | 14084 | 14132 | 14381
COMED | 2026 |  |  | 14045 | 14073 | 14444
COMED | 2027 |  |  | 14003 | 13994 | 14461
COMED | 2028 |  |  | 13891 | 13917 | 14413
COMED | 2029 |  |  | 13812 | 13830 | 14335
COMED | 2030 |  |  | 13673 | 13723 | 14282
COMED | 2031 |  |  | 13587 | 13640 | 14292
COMED | 2032 |  |  | 13562 | 13575 | 14372
COMED | 2033 |  |  | 13448 | 13463 | 14320
COMED | 2034 |  |  | 13343 | 13369 | 14329
COMED | 2035 |  |  | 13227 | 13275 | 14311
DAYTON | 1997 | 2373
DAYTON | 1998 | 2840
DAYTON | 1999 | 2931
DAYTON | 2000 | 2986
DAYTON | 2001 | 2631
DAYTON | 2002 | 2952
DAYTON | 2003 | 2873
DAYTON | 2004 | 2975 | 3127.21
DAYTON | 2005 | 2968 | 3121.94
DAYTON | 2006 | 3103 | 3195.35
DAYTON | 2007 | 3031 | 3075.55
DAYTON | 2008 | 3124 | 2992.24
DAYTON | 2009 | 2838 | 2948.37
DAYTON | 2010 | 2865 | 2882.17
DAYTON | 2011 | 2710 | 2951.71
DAYTON | 2012 | 2836 | 2868.39
DAYTON | 2013 | 3180 | 2852.4
DAYTON | 2014 | 2999 | 2916.22
DAYTON | 2015 | 2885 | 2938.23
DAYTON | 2016 | 2919 | 3008
DAYTON | 2017 | 3007 | 3011.27
DAYTON | 2018 | 3168 | 2990.07
DAYTON | 2019 | 2719 | 2951.3
DAYTON | 2020 |  |  | 2964 | 2957 | 3009
DAYTON | 2021 |  |  | 2974 | 3029 | 3124
DAYTON | 2022 |  |  | 2977 | 3061 | 3155
DAYTON | 2023 |  |  | 2984 | 3088 | 3187
DAYTON | 2024 |  |  | 2978 | 3101 | 3218
DAYTON | 2025 |  |  | 2981 | 3127 | 3258
DAYTON | 2026 |  |  | 2982 | 3147 | 3304
DAYTON | 2027 |  |  | 2984 | 3175 | 3358
DAYTON | 2028 |  |  | 2984 | 3198 | 3399
DAYTON | 2029 |  |  | 2982 | 3219 | 3445
DAYTON | 2030 |  |  | 2976 | 3237 | 3489
DAYTON | 2031 |  |  | 2978 | 3265 | 3538
DAYTON | 2032 |  |  | 2981 | 3300 | 3602
DAYTON | 2033 |  |  | 2979 | 3332 | 3668
DAYTON | 2034 |  |  | 2971 | 3371 | 3739
DAYTON | 2035 |  |  | 2960 | 3406 | 3806
DEOK | 1997 | 3582
DEOK | 1998 | 4027
DEOK | 1999 | 4298
DEOK | 2000 | 4227
DEOK | 2001 | 3935
DEOK | 2002 | 4390
DEOK | 2003 | 4242
DEOK | 2004 | 4381 | 4794.91
DEOK | 2005 | 4304 | 4505.58
DEOK | 2006 | 4576 | 4520.97
DEOK | 2007 | 4519 | 4547.82
DEOK | 2008 | 4588 | 4381.33
DEOK | 2009 | 4185 | 4439.18
DEOK | 2010 | 4351 | 4450.92
DEOK | 2011 | 4047 | 4492.44
DEOK | 2012 | 4257 | 4435.61
DEOK | 2013 | 5105 | 4450.58
DEOK | 2014 | 4750 | 4483.45
DEOK | 2015 | 4381 | 4529.33
DEOK | 2016 | 4388 | 4578.13
DEOK | 2017 | 4769 | 4559.31
DEOK | 2018 | 4866 | 4525.98
DEOK | 2019 | 4145 | 4537.37
DEOK | 2020 |  |  | 4634 | 4549 | 4488
DEOK | 2021 |  |  | 4691 | 4633 | 4545
DEOK | 2022 |  |  | 4725 | 4660 | 4571
DEOK | 2023 |  |  | 4767 | 4691 | 4598
DEOK | 2024 |  |  | 4781 | 4710 | 4609
DEOK | 2025 |  |  | 4803 | 4743 | 4627
DEOK | 2026 |  |  | 4825 | 4781 | 4645
DEOK | 2027 |  |  | 4855 | 4831 | 4673
DEOK | 2028 |  |  | 4847 | 4858 | 4686
DEOK | 2029 |  |  | 4879 | 4894 | 4703
DEOK | 2030 |  |  | 4877 | 4917 | 4699
DEOK | 2031 |  |  | 4887 | 4953 | 4714
DEOK | 2032 |  |  | 4913 | 5005 | 4749
DEOK | 2033 |  |  | 4913 | 5047 | 4765
DEOK | 2034 |  |  | 4911 | 5086 | 4776
DEOK | 2035 |  |  | 4917 | 5132 | 4784
DLCO | 1997 | 1918
DLCO | 1998 | 2064
DLCO | 1999 | 2051
DLCO | 2000 | 2082
DLCO | 2001 | 1991
DLCO | 2002 | 2120
DLCO | 2003 | 2074
DLCO | 2004 | 2135 | 2170
DLCO | 2005 | 2175 | 2188.35
DLCO | 2006 | 2236 | 2231.96
DLCO | 2007 | 2138 | 2275.96
DLCO | 2008 | 2246 | 2198.85
DLCO | 2009 | 2122 | 2237.65
DLCO | 2010 | 2281 | 2258.13
DLCO | 2011 | 2207 | 2280.1
DLCO | 2012 | 2241 | 2191
DLCO | 2013 | 2372 | 2188.79
DLCO | 2014 | 2315 | 2190.25
DLCO | 2015 | 2073 | 2116.86
DLCO | 2016 | 2119 | 2094.91
DLCO | 2017 | 2176 | 2077.65
DLCO | 2018 | 2155 | 2066.57
DLCO | 2019 | 1921 | 1994.15
DLCO | 2020 |  |  | 2088 | 2072 | 2073
DLCO | 2021 |  |  | 2115 | 2100 | 2093
DLCO | 2022 |  |  | 2125 | 2118 | 2103
DLCO | 2023 |  |  | 2144 | 2130 | 2109
DLCO | 2024 |  |  | 2153 | 2134 | 2107
DLCO | 2025 |  |  | 2162 | 2139 | 2107
DLCO | 2026 |  |  | 2163 | 2144 | 2108
DLCO | 2027 |  |  | 2165 | 2150 | 2112
DLCO | 2028 |  |  | 2162 | 2154 | 2114
DLCO | 2029 |  |  | 2166 | 2159 | 2117
DLCO | 2030 |  |  | 2165 | 2161 | 2118
DLCO | 2031 |  |  | 2163 | 2167 | 2126
DLCO | 2032 |  |  | 2158 | 2173 | 2132
DLCO | 2033 |  |  | 2151 | 2178 | 2137
DLCO | 2034 |  |  | 2141 | 2182 | 2144
DLCO | 2035 |  |  | 2134 | 2186 | 2150
DOM | 1997 | 11761
DOM | 1998 | 14041
DOM | 1999 | 14881
DOM | 2000 | 14502
DOM | 2001 | 13907
DOM | 2002 | 16010
DOM | 2003 | 15511
DOM | 2004 | 16809 | 17041.5
DOM | 2005 | 15435 | 17451.87
DOM | 2006 | 18079 | 17824.66
DOM | 2007 | 17028 | 18003.22
DOM | 2008 | 17904 | 17744.12
DOM | 2009 | 17612 | 18004.11
DOM | 2010 | 17689 | 18450.51
DOM | 2011 | 16881 | 18537.49
DOM | 2012 | 17623 | 18401.48
DOM | 2013 | 19942 | 18550.56
DOM | 2014 | 21651 | 18779.84
DOM | 2015 | 18948 | 19092.17
DOM | 2016 | 19662 | 19179.64
DOM | 2017 | 21233 | 19618.45
DOM | 2018 | 19931 | 19872.58
DOM | 2019 | 17544 | 20169
DOM | 2020 |  |  | 20306 | 20275 | 20127
DOM | 2021 |  |  | 20499 | 20554 | 20312
DOM | 2022 |  |  | 20663 | 20926 | 20545
DOM | 2023 |  |  | 20896 | 21299 | 20813
DOM | 2024 |  |  | 21113 | 21667 | 21085
DOM | 2025 |  |  | 21332 | 21874 | 21317
DOM | 2026 |  |  | 21526 | 22073 | 21553
DOM | 2027 |  |  | 21720 | 22268 | 21780
DOM | 2028 |  |  | 21910 | 22471 | 21997
DOM | 2029 |  |  | 22079 | 22654 | 22221
DOM | 2030 |  |  | 22269 | 22853 | 22480
DOM | 2031 |  |  | 22459 | 23035 | 22703
DOM | 2032 |  |  | 22641 | 23220 | 22920
DOM | 2033 |  |  | 22788 | 23364 | 23099
DOM | 2034 |  |  | 22948 | 23517 | 23302
DOM | 2035 |  |  | 23097 | 23677 | 23508
DPL | 1997 | 2504
DPL | 1998 | 2861
DPL | 1999 | 3028
DPL | 2000 | 2917
DPL | 2001 | 2875
DPL | 2002 | 3414
DPL | 2003 | 3399
DPL | 2004 | 3487 | 3387.33
DPL | 2005 | 3181 | 3466.16
DPL | 2006 | 3603 | 3450.07
DPL | 2007 | 3237 | 3457.48
DPL | 2008 | 3494 | 3453.59
DPL | 2009 | 3313 | 3405.8
DPL | 2010 | 3385 | 3469.45
DPL | 2011 | 3221 | 3459.89
DPL | 2012 | 3406 | 3447.71
DPL | 2013 | 3839 | 3482
DPL | 2014 | 4114 | 3601.53
DPL | 2015 | 3471 | 3629.13
DPL | 2016 | 3473 | 3624.75
DPL | 2017 | 3857 | 3720.78
DPL | 2018 | 3839 | 3847.68
DPL | 2019 | 3206 | 3836.7
DPL | 2020 |  |  | 3876 | 3704 | 3770
DPL | 2021 |  |  | 3891 | 3729 | 3984
DPL | 2022 |  |  | 3910 | 3763 | 4054
DPL | 2023 |  |  | 3938 | 3795 | 4124
DPL | 2024 |  |  | 3959 | 3828 | 4196
DPL | 2025 |  |  | 3994 | 3868 | 4263
DPL | 2026 |  |  | 4020 | 3898 | 4329
DPL | 2027 |  |  | 4050 | 3923 | 4380
DPL | 2028 |  |  | 4076 | 3956 | 4432
DPL | 2029 |  |  | 4101 | 3987 | 4478
DPL | 2030 |  |  | 4126 | 4020 | 4531
DPL | 2031 |  |  | 4156 | 4056 | 4587
DPL | 2032 |  |  | 4196 | 4084 | 4649
DPL | 2033 |  |  | 4215 | 4112 | 4725
DPL | 2034 |  |  | 4240 | 4140 | 4800
DPL | 2035 |  |  | 4262 | 4171 | 4871
EKPC | 1998 | 1890
EKPC | 1999 | 1959
EKPC | 2000 | 2066
EKPC | 2001 | 1988
EKPC | 2002 | 2297
EKPC | 2003 | 2179
EKPC | 2004 | 2240 | 2310.98
EKPC | 2005 | 2197 | 2417.08
EKPC | 2006 | 2352 | 2431.69
EKPC | 2007 | 2501 | 2493.22
EKPC | 2008 | 2664 | 2424.35
EKPC | 2009 | 2338 | 2491.1
EKPC | 2010 | 2442 | 2566.78
EKPC | 2011 | 2032 | 2754.58
EKPC | 2012 | 2196 | 2775.93
EKPC | 2013 | 3111 | 2798
EKPC | 2014 | 3123 | 2745.59
EKPC | 2015 | 2501 | 2766.51
EKPC | 2016 | 2465 | 2778.56
EKPC | 2017 | 2958 | 2753.74
EKPC | 2018 | 2622 | 2767.17
EKPC | 2019 | 2343 | 2782.86
EKPC | 2020 |  |  | 2811 | 2664 | 2637
EKPC | 2021 |  |  | 2827 | 2683 | 2649
EKPC | 2022 |  |  | 2847 | 2702 | 2660
EKPC | 2023 |  |  | 2865 | 2712 | 2662
EKPC | 2024 |  |  | 2884 | 2722 | 2663
EKPC | 2025 |  |  | 2901 | 2735 | 2668
EKPC | 2026 |  |  | 2922 | 2750 | 2674
EKPC | 2027 |  |  | 2950 | 2771 | 2683
EKPC | 2028 |  |  | 2960 | 2786 | 2689
EKPC | 2029 |  |  | 2980 | 2798 | 2691
EKPC | 2030 |  |  | 3000 | 2811 | 2690
EKPC | 2031 |  |  | 3019 | 2826 | 2690
EKPC | 2032 |  |  | 3049 | 2847 | 2703
EKPC | 2033 |  |  | 3069 | 2866 | 2710
EKPC | 2034 |  |  | 3080 | 2881 | 2716
EKPC | 2035 |  |  | 3094 | 2893 | 2717
JCPL | 1997 | 3042
JCPL | 1998 | 3469
JCPL | 1999 | 3619
JCPL | 2000 | 3551
JCPL | 2001 | 3422
JCPL | 2002 | 3787
JCPL | 2003 | 3952
JCPL | 2004 | 4154 | 3967.96
JCPL | 2005 | 3927 | 3997.75
JCPL | 2006 | 4075 | 4098.34
JCPL | 2007 | 4057 | 4111.7
JCPL | 2008 | 3938 | 3934.89
JCPL | 2009 | 3787 | 3860.54
JCPL | 2010 | 3802 | 3879.7
JCPL | 2011 | 3640 | 3790.04
JCPL | 2012 | 3760 | 3767.17
JCPL | 2013 | 4091 | 3729.5
JCPL | 2014 | 3805 | 3750.36
JCPL | 2015 | 3574 | 3655.1
JCPL | 2016 | 3769 | 3567.2
JCPL | 2017 | 3815 | 3636.53
JCPL | 2018 | 3819 | 3561.16
JCPL | 2019 | 3547 | 3583.01
JCPL | 2020 |  |  | 3658 | 3513 | 3519
JCPL | 2021 |  |  | 3683 | 3494 | 3515
JCPL | 2022 |  |  | 3719 | 3504 | 3532
JCPL | 2023 |  |  | 3755 | 3520 | 3549
JCPL | 2024 |  |  | 3781 | 3520 | 3549
JCPL | 2025 |  |  | 3812 | 3530 | 3552
JCPL | 2026 |  |  | 3846 | 3536 | 3550
JCPL | 2027 |  |  | 3874 | 3543 | 3556
JCPL | 2028 |  |  | 3897 | 3538 | 3547
JCPL | 2029 |  |  | 3926 | 3542 | 3546
JCPL | 2030 |  |  | 3936 | 3535 | 3535
JCPL | 2031 |  |  | 3963 | 3537 | 3535
JCPL | 2032 |  |  | 3995 | 3539 | 3533
JCPL | 2033 |  |  | 4013 | 3520 | 3515
JCPL | 2034 |  |  | 4022 | 3497 | 3496
JCPL | 2035 |  |  | 4037 | 3476 | 3475
METED | 1997 | 1954
METED | 1998 | 2160
METED | 1999 | 2284
METED | 2000 | 2252
METED | 2001 | 2146
METED | 2002 | 2395
METED | 2003 | 2457
METED | 2004 | 2530 | 2464.99
METED | 2005 | 2560 | 2550.43
METED | 2006 | 2624 | 2574.4
METED | 2007 | 2612 | 2689.88
METED | 2008 | 2623 | 2686.03
METED | 2009 | 2453 | 2696.19
METED | 2010 | 2582 | 2600.25
METED | 2011 | 2539 | 2677.67
METED | 2012 | 2579 | 2598.08
METED | 2013 | 2827 | 2637.91
METED | 2014 | 2799 | 2594.32
METED | 2015 | 2535 | 2602.04
METED | 2016 | 2648 | 2602.37
METED | 2017 | 2791 | 2692.69
METED | 2018 | 2854 | 2661.89
METED | 2019 | 2516 | 2673.86
METED | 2020 |  |  | 2701 | 2682 | 2670
METED | 2021 |  |  | 2711 | 2655 | 2651
METED | 2022 |  |  | 2717 | 2659 | 2660
METED | 2023 |  |  | 2736 | 2675 | 2679
METED | 2024 |  |  | 2749 | 2687 | 2689
METED | 2025 |  |  | 2758 | 2700 | 2697
METED | 2026 |  |  | 2765 | 2705 | 2698
METED | 2027 |  |  | 2775 | 2717 | 2705
METED | 2028 |  |  | 2786 | 2728 | 2710
METED | 2029 |  |  | 2796 | 2737 | 2717
METED | 2030 |  |  | 2808 | 2748 | 2720
METED | 2031 |  |  | 2814 | 2751 | 2717
METED | 2032 |  |  | 2819 | 2761 | 2721
METED | 2033 |  |  | 2824 | 2760 | 2721
METED | 2034 |  |  | 2830 | 2764 | 2718
METED | 2035 |  |  | 2842 | 2761 | 2716
PECO | 1997 | 5332
PECO | 1998 | 5885
PECO | 1999 | 6124
PECO | 2000 | 5878
PECO | 2001 | 5740
PECO | 2002 | 6346
PECO | 2003 | 6396
PECO | 2004 | 6838 | 6520.68
PECO | 2005 | 6550 | 6670
PECO | 2006 | 6835 | 6807.81
PECO | 2007 | 6519 | 6912.17
PECO | 2008 | 6777 | 6848.5
PECO | 2009 | 6374 | 6787.89
PECO | 2010 | 6679 | 6831.18
PECO | 2011 | 6329 | 6712.17
PECO | 2012 | 6652 | 6674.67
PECO | 2013 | 7224 | 6659.55
PECO | 2014 | 7034 | 6710.13
PECO | 2015 | 6383 | 6762.29
PECO | 2016 | 6612 | 6664.91
PECO | 2017 | 7099 | 6807.45
PECO | 2018 | 6869 | 6699.21
PECO | 2019 | 6029 | 6621.69
PECO | 2020 |  |  | 6682 | 6643 | 6648
PECO | 2021 |  |  | 6681 | 6595 | 6637
PECO | 2022 |  |  | 6684 | 6583 | 6651
PECO | 2023 |  |  | 6706 | 6585 | 6669
PECO | 2024 |  |  | 6711 | 6573 | 6671
PECO | 2025 |  |  | 6707 | 6553 | 6660
PECO | 2026 |  |  | 6692 | 6526 | 6642
PECO | 2027 |  |  | 6690 | 6504 | 6635
PECO | 2028 |  |  | 6692 | 6480 | 6624
PECO | 2029 |  |  | 6687 | 6460 | 6610
PECO | 2030 |  |  | 6679 | 6433 | 6601
PECO | 2031 |  |  | 6672 | 6406 | 6589
PECO | 2032 |  |  | 6660 | 6373 | 6575
PECO | 2033 |  |  | 6643 | 6325 | 6544
PECO | 2034 |  |  | 6628 | 6282 | 6521
PECO | 2035 |  |  | 6613 | 6237 | 6498
PENLC | 1997 | 2341
PENLC | 1998 | 2497
PENLC | 1999 | 2583
PENLC | 2000 | 2517
PENLC | 2001 | 2427
PENLC | 2002 | 2661
PENLC | 2003 | 2684
PENLC | 2004 | 2830 | 2839.19
PENLC | 2005 | 2821 | 2802.01
PENLC | 2006 | 2895 | 2826.08
PENLC | 2007 | 2838 | 2887.17
PENLC | 2008 | 2866 | 2835.23
PENLC | 2009 | 2778 | 2938.01
PENLC | 2010 | 2920 | 2920.13
PENLC | 2011 | 2753 | 2886.42
PENLC | 2012 | 2904 | 2825.1
PENLC | 2013 | 3110 | 2845.54
PENLC | 2014 | 3025 | 2891.63
PENLC | 2015 | 2758 | 2883.46
PENLC | 2016 | 2890 | 2896.55
PENLC | 2017 | 2910 | 2944.01
PENLC | 2018 | 3015 | 2859.5
PENLC | 2019 | 2667 | 2827.22
PENLC | 2020 |  |  | 2842 | 2836 | 2813
PENLC | 2021 |  |  | 2857 | 2858 | 2845
PENLC | 2022 |  |  | 2862 | 2874 | 2865
PENLC | 2023 |  |  | 2865 | 2887 | 2884
PENLC | 2024 |  |  | 2867 | 2893 | 2898
PENLC | 2025 |  |  | 2870 | 2903 | 2913
PENLC | 2026 |  |  | 2874 | 2912 | 2928
PENLC | 2027 |  |  | 2882 | 2923 | 2946
PENLC | 2028 |  |  | 2885 | 2932 | 2962
PENLC | 2029 |  |  | 2897 | 2942 | 2979
PENLC | 2030 |  |  | 2896 | 2949 | 2993
PENLC | 2031 |  |  | 2901 | 2958 | 3009
PENLC | 2032 |  |  | 2913 | 2971 | 3026
PENLC | 2033 |  |  | 2918 | 2982 | 3044
PENLC | 2034 |  |  | 2921 | 2991 | 3061
PENLC | 2035 |  |  | 2928 | 2999 | 3075
PEPCO | 1997 | 4042
PEPCO | 1998 | 4631
PEPCO | 1999 | 4735
PEPCO | 2000 | 4637
PEPCO | 2001 | 4575
PEPCO | 2002 | 5462
PEPCO | 2003 | 5220
PEPCO | 2004 | 5444 | 5452.18
PEPCO | 2005 | 5106 | 5599.35
PEPCO | 2006 | 5606 | 5460.85
PEPCO | 2007 | 5042 | 5613.52
PEPCO | 2008 | 5555 | 5509.71
PEPCO | 2009 | 5114 | 5499.01
PEPCO | 2010 | 5503 | 5658.32
PEPCO | 2011 | 5090 | 5542.31
PEPCO | 2012 | 5246 | 5383.58
PEPCO | 2013 | 5851 | 5431.25
PEPCO | 2014 | 6066 | 5526.36
PEPCO | 2015 | 5466 | 5642.28
PEPCO | 2016 | 5408 | 5661.12
PEPCO | 2017 | 5731 | 5676.31
PEPCO | 2018 | 5790 | 5702.49
PEPCO | 2019 | 4874 | 5696.04
PEPCO | 2020 |  |  | 5716 | 5438 | 5505
PEPCO | 2021 |  |  | 5670 | 5488 | 5522
PEPCO | 2022 |  |  | 5647 | 5533 | 5548
PEPCO | 2023 |  |  | 5674 | 5569 | 5584
PEPCO | 2024 |  |  | 5686 | 5600 | 5627
PEPCO | 2025 |  |  | 5679 | 5623 | 5666
PEPCO | 2026 |  |  | 5671 | 5652 | 5706
PEPCO | 2027 |  |  | 5670 | 5683 | 5737
PEPCO | 2028 |  |  | 5672 | 5698 | 5763
PEPCO | 2029 |  |  | 5659 | 5718 | 5801
PEPCO | 2030 |  |  | 5645 | 5743 | 5841
PEPCO | 2031 |  |  | 5631 | 5772 | 5878
PEPCO | 2032 |  |  | 5616 | 5799 | 5904
PEPCO | 2033 |  |  | 5598 | 5817 | 5919
PEPCO | 2034 |  |  | 5583 | 5832 | 5939
PEPCO | 2035 |  |  | 5569 | 5875 | 5990
PJM RTO | 1997 | 102081
PJM RTO | 1998 | 116086
PJM RTO | 1999 | 118435
PJM RTO | 2000 | 118046
PJM RTO | 2001 | 112217
PJM RTO | 2002 | 129965
PJM RTO | 2003 | 122424
PJM RTO | 2004 | 131234 | 130313.07
PJM RTO | 2005 | 126777 | 131431.96
PJM RTO | 2006 | 136804 | 133090.94
PJM RTO | 2007 | 128368 | 135376.94
PJM RTO | 2008 | 134077 | 131148.12
PJM RTO | 2009 | 125350 | 132447.64
PJM RTO | 2010 | 132315 | 132275.25
PJM RTO | 2011 | 124506 | 132015.23
PJM RTO | 2012 | 128810 | 129545.32
PJM RTO | 2013 | 141866 | 128692.16
PJM RTO | 2014 | 142856 | 129895.39
PJM RTO | 2015 | 129540 | 129432.26
PJM RTO | 2016 | 130825 | 129583.24
PJM RTO | 2017 | 137212 | 130809.61
PJM RTO | 2018 | 137618 | 130673.72
PJM RTO | 2019 | 120272 | 129768.36
PJM RTO | 2020 |  |  | 132027 | 130106 | 129649.4594
PJM RTO | 2021 |  |  | 132632 | 130857 | 130664.5974
PJM RTO | 2022 |  |  | 132785 | 131409 | 131395.4432
PJM RTO | 2023 |  |  | 133527 | 132078 | 132167.5256
PJM RTO | 2024 |  |  | 133888 | 132359 | 132366.4239
PJM RTO | 2025 |  |  | 134223 | 132465 | 132673.7757
PJM RTO | 2026 |  |  | 134799 | 132908 | 133490.6695
PJM RTO | 2027 |  |  | 135163 | 133183 | 134030.6064
PJM RTO | 2028 |  |  | 135108 | 133447 | 134498.6352
PJM RTO | 2029 |  |  | 135829 | 133386 | 134532.4357
PJM RTO | 2030 |  |  | 135568 | 133628 | 134906.9413
PJM RTO | 2031 |  |  | 135799 | 133676 | 135153.0295
PJM RTO | 2032 |  |  | 136319 | 134107 | 136145.0012
PJM RTO | 2033 |  |  | 136238 | 133916 | 136074.981
PJM RTO | 2034 |  |  | 136304 | 134191 | 136821.4078
PJM RTO | 2035 |  |  | 136459 | 134057 | 136780.9628
PL | 1997 | 5722
PL | 1998 | 6570
PL | 1999 | 6809
PL | 2000 | 6433
PL | 2001 | 6158
PL | 2002 | 6971
PL | 2003 | 7198
PL | 2004 | 7274 | 7231.47
PL | 2005 | 7083 | 7414.94
PL | 2006 | 7577 | 7461.55
PL | 2007 | 7164 | 7711.35
PL | 2008 | 7415 | 7572.45
PL | 2009 | 6801 | 7650.21
PL | 2010 | 7366 | 7577.71
PL | 2011 | 6776 | 7429.06
PL | 2012 | 7114 | 7266.23
PL | 2013 | 7913 | 7259.61
PL | 2014 | 7845 | 7335.91
PL | 2015 | 6798 | 7139.8
PL | 2016 | 7202 | 7355.83
PL | 2017 | 7468 | 7425.06
PL | 2018 | 7729 | 7372.87
PL | 2019 | 6718 | 7407.37
PL | 2020 |  |  | 7513 | 7352 | 7326
PL | 2021 |  |  | 7512 | 7298 | 7416
PL | 2022 |  |  | 7513 | 7280 | 7474
PL | 2023 |  |  | 7552 | 7284 | 7534
PL | 2024 |  |  | 7584 | 7292 | 7584
PL | 2025 |  |  | 7610 | 7297 | 7630
PL | 2026 |  |  | 7625 | 7295 | 7671
PL | 2027 |  |  | 7650 | 7293 | 7716
PL | 2028 |  |  | 7674 | 7294 | 7763
PL | 2029 |  |  | 7691 | 7292 | 7803
PL | 2030 |  |  | 7716 | 7304 | 7860
PL | 2031 |  |  | 7734 | 7295 | 7893
PL | 2032 |  |  | 7744 | 7293 | 7945
PL | 2033 |  |  | 7746 | 7273 | 7988
PL | 2034 |  |  | 7754 | 7258 | 8035
PL | 2035 |  |  | 7758 | 7248 | 8090
PS | 1997 | 5917
PS | 1998 | 6422
PS | 1999 | 6575
PS | 2000 | 6482
PS | 2001 | 6315
PS | 2002 | 6873
PS | 2003 | 7084
PS | 2004 | 7202 | 7049.49
PS | 2005 | 7065 | 7087.02
PS | 2006 | 7051 | 7077.25
PS | 2007 | 6994 | 7199.34
PS | 2008 | 6849 | 6942.02
PS | 2009 | 6630 | 6865.13
PS | 2010 | 6795 | 6795.38
PS | 2011 | 6522 | 6645.74
PS | 2012 | 6579 | 6506.78
PS | 2013 | 7097 | 6442.07
PS | 2014 | 6697 | 6464.04
PS | 2015 | 6333 | 6522.7
PS | 2016 | 6599 | 6468.2
PS | 2017 | 7032 | 6630.9
PS | 2018 | 6890 | 6531.64
PS | 2019 | 6356 | 6529.99
PS | 2020 |  |  | 6718 | 6535 | 6494
PS | 2021 |  |  | 6759 | 6610 | 6578
PS | 2022 |  |  | 6807 | 6648 | 6634
PS | 2023 |  |  | 6887 | 6679 | 6682
PS | 2024 |  |  | 6939 | 6695 | 6705
PS | 2025 |  |  | 7002 | 6722 | 6734
PS | 2026 |  |  | 7041 | 6756 | 6772
PS | 2027 |  |  | 7077 | 6791 | 6821
PS | 2028 |  |  | 7093 | 6809 | 6849
PS | 2029 |  |  | 7106 | 6837 | 6884
PS | 2030 |  |  | 7130 | 6863 | 6915
PS | 2031 |  |  | 7169 | 6893 | 6956
PS | 2032 |  |  | 7215 | 6939 | 7012
PS | 2033 |  |  | 7206 | 6957 | 7038
PS | 2034 |  |  | 7202 | 6988 | 7078
PS | 2035 |  |  | 7208 | 7027 | 7133
RECO | 1997 | 201
RECO | 1998 | 232
RECO | 1999 | 233
RECO | 2000 | 243
RECO | 2001 | 230
RECO | 2002 | 255
RECO | 2003 | 236
RECO | 2004 | 251 | 229.61
RECO | 2005 | 258 | 232.04
RECO | 2006 | 247 | 247.44
RECO | 2007 | 245 | 245.2
RECO | 2008 | 256 | 234.9
RECO | 2009 | 230 | 229.25
RECO | 2010 | 239 | 234.78
RECO | 2011 | 232 | 226.95
RECO | 2012 | 232 | 232.15
RECO | 2013 | 247 | 224.88
RECO | 2014 | 232 | 230.68
RECO | 2015 | 219 | 218.15
RECO | 2016 | 223 | 209.88
RECO | 2017 | 226 | 217.02
RECO | 2018 | 220 | 209.16
RECO | 2019 | 211 | 209.29
RECO | 2020 |  |  | 213 | 209 | 213
RECO | 2021 |  |  | 213 | 206 | 213
RECO | 2022 |  |  | 213 | 204 | 213
RECO | 2023 |  |  | 213 | 203 | 214
RECO | 2024 |  |  | 212 | 201 | 214
RECO | 2025 |  |  | 212 | 199 | 214
RECO | 2026 |  |  | 212 | 197 | 214
RECO | 2027 |  |  | 213 | 195 | 214
RECO | 2028 |  |  | 212 | 194 | 215
RECO | 2029 |  |  | 212 | 192 | 215
RECO | 2030 |  |  | 210 | 190 | 216
RECO | 2031 |  |  | 211 | 187 | 216
RECO | 2032 |  |  | 211 | 185 | 215
RECO | 2033 |  |  | 210 | 182 | 216
RECO | 2034 |  |  | 209 | 178 | 216
RECO | 2035 |  |  | 208 | 175 | 215
UGI | 1997 | 157
UGI | 1998 | 179
UGI | 1999 | 189
UGI | 2000 | 184
UGI | 2001 | 177
UGI | 2002 | 195
UGI | 2003 | 202
UGI | 2004 | 212 | 194.64
UGI | 2005 | 202 | 196.89
UGI | 2006 | 202 | 197.88
UGI | 2007 | 193 | 200.16
UGI | 2008 | 197 | 197.53
UGI | 2009 | 193 | 194.68
UGI | 2010 | 198 | 194.68
UGI | 2011 | 190 | 197.95
UGI | 2012 | 203 | 198.18
UGI | 2013 | 224 | 197.79
UGI | 2014 | 211 | 200.35
UGI | 2015 | 194 | 200.87
UGI | 2016 | 200 | 197.87
UGI | 2017 | 215 | 202.4
UGI | 2018 | 215 | 200.77
UGI | 2019 | 186 | 203.36
UGI | 2020 |  |  | 204 | 196 | 197
UGI | 2021 |  |  | 200 | 188 | 191
UGI | 2022 |  |  | 200 | 187 | 190
UGI | 2023 |  |  | 199 | 185 | 189
UGI | 2024 |  |  | 199 | 183 | 188
UGI | 2025 |  |  | 199 | 181 | 186
UGI | 2026 |  |  | 199 | 179 | 184
UGI | 2027 |  |  | 199 | 177 | 183
UGI | 2028 |  |  | 198 | 176 | 181
UGI | 2029 |  |  | 198 | 174 | 180
UGI | 2030 |  |  | 198 | 172 | 178
UGI | 2031 |  |  | 197 | 170 | 176
UGI | 2032 |  |  | 197 | 168 | 175
UGI | 2033 |  |  | 196 | 166 | 173
UGI | 2034 |  |  | 195 | 164 | 171
UGI | 2035 |  |  | 195 | 161 | 169