## Sample System
Example System Description
- Total System Peak Load of 5,900 MW with Reliability Requirement of 6,500 MW (FPR assumed to be 1.10)
- Total system load comprised of three TO Zones (Zones A, B & C)
- Capacity Resources totaling 9,000 MW available to satisfy the reliability requirement
- Comprised of 9 individual Capacity Resources (Resources 1 through 9) at 1,000 MW each
- Resources 2 and 4 are assumed to be subsidized units located in Zone A with subsidy funded through non-bypassable charge applied to all load located in Zone A
- The sell offer price of each resource except for subsidized Resources 2 and 4 is assumed to represent the resource's true avoidable cost (i.e., fixed cost less net E&AS revenues)
- The sell offer price of subsidized Resources 2 and 4 is assumed to represent the resource's true avoidable cost minus the subsidy payment to the resource
- Capacity is procured in least-cost manner up to a vertical demand curve at the 6,500 Reliability Requirement
- Offer Price, Subsidy & True Cost expressed in $/MW-day
Capacity Resources - 9 Resources (Units 2 and 4 Subsidized) |  |  |  |  | Demand & Reliability Requirement
Resource | MW | Offer Price | Subsidy | True Cost | Zone | Peak Load
1 | 1000 | 20 |  | 20 | A | 2900
2 | 1000 | 50 | 250 | 300 | B | 2000
3 | 1000 | 80 |  | 80 | C | 1000
4 | 1000 | 110 | 190 | 300 | Total | 5900
5 | 1000 | 140 |  | 140
6 | 1000 | 170 |  | 170 | Rel. Req. | 6500 | Based on 5,900 MW Peak Load and 1.10 FPR
7 | 1000 | 200 |  | 200
8 | 1000 | 230 |  | 230
9 | 1000 | 260 |  | 260
Total | 9000

## Summary
Cleared Resource Results
[5 empty] | Base Case Results - Competitive Case / No Subsidy |  | PJM Proposal |  | LS Proposal* |  | NRG Proposal |  | ODEC Proposal |  | FRR Approach
[5 empty] | RCP = $260 |  | RCP = $260 |  | RCP = $211.25 |  | RCP = $260 except for subsidized units RCP = $200 for Resources 2 & 4 |  | RCP = $230 |  | RCP = $200
Resource | Offer MW | Offer Price | True Cost | Resource | Cleared MW | Daily RPM Credit ($) | Cleared MW | Daily RPM Credit ($) | Cleared MW | Daily RPM Credit ($) | Cleared MW | Daily RPM Credit ($) | Cleared MW | Daily RPM Credit ($) | Cleared MW | Daily RPM Credit ($)
1 | 1000 | 20 | 20 | 1 | 1000 | 260000 | 1000 | 260000 | 1000 | 211250 | 808.6124 | 210239.2344 | 1000 | 230000 | 1000 | 200000
2 | 1000 | 50 | 300 | 2 | 0 | 0 | 1000 | 260000 | 1000 | 211250 | 808.6124 | 161722.488 | 1000 | 230000 | 0 | 0
3 | 1000 | 80 | 80 | 3 | 1000 | 260000 | 1000 | 260000 | 1000 | 211250 | 808.6124 | 210239.2344 | 1000 | 230000 | 1000 | 200000
4 | 1000 | 110 | 300 | 4 | 0 | 0 | 1000 | 260000 | 1000 | 211250 | 808.6124 | 161722.488 | 1000 | 230000 | 0 | 0
5 | 1000 | 140 | 140 | 5 | 1000 | 260000 | 1000 | 260000 | 1000 | 211250 | 808.6124 | 210239.2344 | 1000 | 230000 | 1000 | 200000
6 | 1000 | 170 | 170 | 6 | 1000 | 260000 | 1000 | 260000 | 1000 | 211250 | 808.6124 | 210239.2344 | 1000 | 230000 | 1000 | 200000
7 | 1000 | 200 | 200 | 7 | 1000 | 260000 | 500 | 130000 | 1000 | 211250 | 808.6124 | 210239.2344 | 500 | 115000 | 500 | 100000
8 | 1000 | 230 | 230 | 8 | 1000 | 260000 | 0 | 0 | 1000 | 211250 | 808.6124 | 210239.2344 | 0 | 0 | 0 | 0
9 | 1000 | 260 | 260 | 9 | 500 | 130000 | 0 | 0 | 0 | 0 | 404.3062 | 105119.6172 | 0 | 0 | 0 | 0
[5 empty] | 6500 | 1690000 | 6500 | 1690000 | 8000 | 1690000 | 6873.2057 | 1690000 | 6500 | 1495000 | 4500 | 900000
Load Reliability Charges
[5 empty] | Base Case Results - Competitive Case / No Subsidy |  | PJM Proposal |  | LS Proposal |  | NRG Proposal |  | ODEC Proposal |  | FRR Approach
|  |  |  | FZCP | 260 |  | 260 |  | 211.25 |  | 245.8824 |  | 230 |  | 200
|  |  |  | Zone | UCAP Obligation (MW) | Daily RPM Charge ($) | UCAP Obligation (MW) | Daily RPM Charge ($) | UCAP Obligation (MW) | Daily RPM Charge ($) | UCAP Obligation (MW) | Daily RPM Charge ($) | UCAP Obligation (MW) | Daily RPM Charge ($) | UCAP Obligation (MW) | Daily RPM Charge ($)
|  |  |  | A | 3194.9153 | 830677.9661 | 3194.9153 | 830677.9661 | 3932.2034 | 830677.9661 | 3378.3554 | 830677.9661 | 3194.9153 | 734830.5085 | 1194.9153 | 238983.0508
|  |  |  | B | 2203.3898 | 572881.3559 | 2203.3898 | 572881.3559 | 2711.8644 | 572881.3559 | 2329.9003 | 572881.3559 | 2203.3898 | 506779.661 | 2203.3898 | 440677.9661
|  |  |  | C | 1101.6949 | 286440.678 | 1101.6949 | 286440.678 | 1355.9322 | 286440.678 | 1164.9501 | 286440.678 | 1101.6949 | 253389.8305 | 1101.6949 | 220338.9831
[5 empty] | 6500 | 1690000 | 6500 | 1690000 | 8000 | 1690000 | 6873 | 1690000 | 6500 | 1495000 | 4500 | 900000
* Results assume that Resource 9 was the only non-subsidized resource to not elect the proposal's Clearing Price Impact Option

## Base Case
Base Case - All Resources offer at True Avoidable Cost - No Subsidy
Cleared Resource Results
Resource | MW | Offer Price | ClearedMW | RCP | Daily RPM Revenue
1 | 1000 | 20 | 1000 |  | 260000
2 | 1000 | 300 | 0 |  | 0
3 | 1000 | 80 | 1000 |  | 260000
4 | 1000 | 300 | 0 |  | 0
5 | 1000 | 140 | 1000 |  | 260000
6 | 1000 | 170 | 1000 |  | 260000
7 | 1000 | 200 | 1000 |  | 260000
8 | 1000 | 230 | 1000 |  | 260000
9 | 1000 | 260 | 500 | 260 | 130000
| 9000 |  | 6500 |  | 1690000
Load Reliability Charges
Zone | Peak Load (MW) | UCAP Obligation (MW) | FZCP ($/MW-day) | Daily RPM Charge ($)
A | 2900 | 3194.9153 | 260 | 830677.9661
B | 2000 | 2203.3898 | 260 | 572881.3559
C | 1000 | 1101.6949 | 260 | 286440.678
| 5900 | 6500 |  | 1690000

## PJM
PJM Method
Capacity Resources - 9 Resources (Units 2 and 4 Subsidized) | [6 empty] | Demand & Reliability Requirement
Resource | MW | Offer Price | Subsidy | Ref. Price |  |  | Zone | Peak Load | Obligation
1 | 1000 | 20 |  |  |  |  | A | 2900 | 3194.9153
2 | 1000 | 50 | 250 | 300 |  |  | B | 2000 | 2203.3898
3 | 1000 | 80 |  |  |  |  | C | 1000 | 1101.6949
4 | 1000 | 110 | 190 | 300 |  |  | Total | 5900 | 6500
5 | 1000 | 140 |  |  |  |  | Rel. Req. | 6500
6 | 1000 | 170 |  |  |  |  | Subsidy
7 | 1000 | 200 |  |  |  |  | Unit | MW | Subsidy | $/day
8 | 1000 | 230 |  |  |  |  | 2 | 1000 | 250 | 250000
9 | 1000 | 260 |  |  |  |  | 4 | 1000 | 190 | 190000
| 9000 | [5 empty] | Total |  |  | 440000
Stage 1 - Clear as Offered to determine Cleared Resource MW | [6 empty] | Stage 2 - Clear based on Competitive Offers to determine RCP applicable to resources cleared in Stage 1
Resource | MW | Offer Price | ClearedMW | RCP | Revenue |  | Resource | MW | Offer Price | ClearedMW | RCP | Revenue
1 | 1000 | 20 | 1000 |  | 200000 |  | 1 | 1000 | 20 | 1000 |  | 260000
2 | 1000 | 50 | 1000 |  | 200000 |  | 2 | 1000 | 300 | 0 |  | 0
3 | 1000 | 80 | 1000 |  | 200000 |  | 3 | 1000 | 80 | 1000 |  | 260000
4 | 1000 | 110 | 1000 |  | 200000 |  | 4 | 1000 | 300 | 0 |  | 0
5 | 1000 | 140 | 1000 |  | 200000 |  | 5 | 1000 | 140 | 1000 |  | 260000
6 | 1000 | 170 | 1000 |  | 200000 |  | 6 | 1000 | 170 | 1000 |  | 260000
7 | 1000 | 200 | 500 | 200 | 100000 |  | 7 | 1000 | 200 | 1000 |  | 260000
8 | 1000 | 230 | 0 |  | 0 |  | 8 | 1000 | 230 | 1000 |  | 260000
9 | 1000 | 260 | 0 |  | 0 |  | 9 | 1000 | 260 | 500 | 260 | 130000
| 9000 |  | 6500 |  | 1300000 |  |  | 9000 |  | 6500 |  | 1690000
PJM Method
Resource | Cleared MW | RCP | Revenues | Zone | Obligation | FZCP | Daily Cost
1 | 1000 | 260 | 260000 | A | 3194.9153 | 260 | 830677.9661
2 | 1000 | 260 | 260000 | B | 2203.3898 | 260 | 572881.3559
3 | 1000 | 260 | 260000 | C | 1101.6949 | 260 | 286440.678
4 | 1000 | 260 | 260000 |  | 6500 |  | 1690000
5 | 1000 | 260 | 260000
6 | 1000 | 260 | 260000
7 | 500 | 260 | 130000
8 | 0 | 260 | 0
9 | 0 | 260 | 0
| 6500 |  | 1690000

## LS Power
LS Power Method
Capacity Resources - 9 Resources (Units 2 and 4 Subsidized) | [6 empty] | Demand & Reliability Requirement |  |  | LS Power
Resource | MW | Offer Price | Subsidy | Ref. Price |  |  | Zone | Peak Load | Obligation | Obligation
1 | 1000 | 20 |  |  |  |  | A | 2900 | 3194.9153 | 3932.2034
2 | 1000 | 50 | 250 | 300 |  |  | B | 2000 | 2203.3898 | 2711.8644
3 | 1000 | 80 |  |  |  |  | C | 1000 | 1101.6949 | 1355.9322
4 | 1000 | 110 | 190 | 300 |  |  | Total | 5900 | 6500 | 8000
5 | 1000 | 140 |  |  |  |  | Rel. Req. | 6500
6 | 1000 | 170 |  |  |  |  | Subsidy
7 | 1000 | 200 |  |  |  |  | Unit | MW | Subsidy | $/day
8 | 1000 | 230 |  |  |  |  | 2 | 1000 | 250 | 250000
9 | 1000 | 260 |  |  |  |  | 4 | 1000 | 190 | 190000
| 9000 | [5 empty] | Total |  |  | 440000
Stage 1 - Clear based on Competitive Offers to determine "competitive clearing price" and population of resource that are eligible to receive capacity obligation
Resource | MW | Offer Price | ClearedMW | RCP | Revenue
1 | 1000 | 20 | 1000 |  | 260000
2 | 1000 | 300 | 0 |  | 0
3 | 1000 | 80 | 1000 |  | 260000
4 | 1000 | 300 | 0 |  | 0
5 | 1000 | 140 | 1000 |  | 260000
6 | 1000 | 170 | 1000 |  | 260000
7 | 1000 | 200 | 1000 |  | 260000
8 | 1000 | 230 | 1000 |  | 260000
9 | 1000 | 260 | 500 | 260 | 130000
| 9000 |  | 6500 |  | 1690000
LS Power
Subsidized resources 2 & 4 MW = |  |  |  | 2000
Total resources MW = |  |  |  | 9000
Clearing Price Impact Factor = 2000/9000 = |  |  |  | 22.22%
Only Resource 9 did not elect Clearing Price Impact election.
Step 1 competitive clearing price = |  |  |  | 260
Competitive system cost = |  |  |  | 1690000
Subsidized clearing price adding subsidized MW = |  |  |  | 198.8235
Start iterations:
Remove 500 MW cleared from Resource 9 with offer price equal to clearing price (assumes that Resource 9 did not select the "Clearing Price Impact Election").
New subsidized clearing price = |  |  |  | 211.25
Iterations stopped after removal of Resource 9.
Resource | Cleared MW | RCP | Revenues | Zone | Obligation | FZCP | Daily Cost
1 | 1000 | 211.25 | 211250 | A | 3932.2034 | 211.25 | 830677.9661
2 | 1000 | 211.25 | 211250 | B | 2711.8644 | 211.25 | 572881.3559
3 | 1000 | 211.25 | 211250 | C | 1355.9322 | 211.25 | 286440.678
4 | 1000 | 211.25 | 211250 |  | 8000 |  | 1690000
5 | 1000 | 211.25 | 211250 | Clearing price reduced from competitive price.
6 | 1000 | 211.25 | 211250 | Subsidized resources that did not clear get committed.
7 | 1000 | 211.25 | 211250 | Obligation increased.
8 | 1000 | 211.25 | 211250 | Total cost same as competitive cost.
9 | 0 | 211.25 | 0
| 8000 |  | 1690000

## NRG
NRG Method
Capacity Resources - 9 Resources (Units 2 and 4 Subsidized) | [6 empty] | Demand & Reliability Requirement
Resource | MW | Offer Price | Subsidy | Ref. Price |  |  | Zone | Peak Load | Obligation
1 | 1000 | 20 |  |  |  |  | A | 2900 | 3194.9153
2 | 1000 | 50 | 250 | 300 |  |  | B | 2000 | 2203.3898
3 | 1000 | 80 |  |  |  |  | C | 1000 | 1101.6949
4 | 1000 | 110 | 190 | 300 |  |  | Total | 5900 | 6500
5 | 1000 | 140 |  |  |  |  | Rel. Req. | 6500
6 | 1000 | 170 |  |  |  |  | Subsidy
7 | 1000 | 200 |  |  |  |  | Unit | MW | Subsidy | $/day
8 | 1000 | 230 |  |  |  |  | 2 | 1000 | 250 | 250000
9 | 1000 | 260 |  |  |  |  | 4 | 1000 | 190 | 190000
| 9000 | [5 empty] | Total |  |  | 440000
Stage 1 - Clear based on Competitive Offers to determine q1 at price p1 | [6 empty] | Stage 2 - Clear as Offered to determine RCP applicable to subsidized resources
Resource | MW | Offer Price | ClearedMW | RCP | Revenue |  | Resource | MW | Offer Price | ClearedMW | RCP | Revenue
1 | 1000 | 20 | 1000 |  | 260000 |  | 1 | 1000 | 20 | 1000 |  | 200000
2 | 1000 | 300 | 0 |  | 0 |  | 2 | 1000 | 50 | 1000 |  | 200000
3 | 1000 | 80 | 1000 |  | 260000 |  | 3 | 1000 | 80 | 1000 |  | 200000
4 | 1000 | 300 | 0 |  | 0 |  | 4 | 1000 | 110 | 1000 |  | 200000
5 | 1000 | 140 | 1000 |  | 260000 |  | 5 | 1000 | 140 | 1000 |  | 200000
6 | 1000 | 170 | 1000 |  | 260000 |  | 6 | 1000 | 170 | 1000 |  | 200000
7 | 1000 | 200 | 1000 |  | 260000 |  | 7 | 1000 | 200 | 500 | 200 | 100000
8 | 1000 | 230 | 1000 |  | 260000 |  | 8 | 1000 | 230 | 0 |  | 0
9 | 1000 | 260 | 500 | 260 | 130000 |  | 9 | 1000 | 260 | 0 |  | 0
| 9000 |  | 6500 |  | 1690000 |  |  | 9000 |  | 6500 |  | 1300000
NRG
Initial competitive price = |  | 260 | Resources 2 & 4 did not clear at their Reference Prices.
Competitive system cost = |  | 1690000
Subsidized resources 2 & 4 offered at their unmitigated offer prices clear. They receive the lower clearing price.
Resource | Cleared MW | RCP | Revenues
1 | 1000 | 260 | 260000
2 | 1000 | 200 | 200000
3 | 1000 | 260 | 260000
4 | 1000 | 200 | 200000
5 | 1000 | 260 | 260000
6 | 1000 | 260 | 260000 | Reduce commitments by $1,690,000/$2,090,000 ratio =
7 | 1000 | 260 | 260000 |  | 0.80861
8 | 1000 | 260 | 260000
9 | 500 | 260 | 130000
| 8500 |  | 2090000
Adjusted commitments to keep the cost equal to the competitive cost.
Resource | Cleared MW | RCP | Revenues | Zone | Obligation | FZCP | Daily Cost
1 | 808.6124 | 260 | 210239.2344 | A | 3378.3554 | 245.8824 | 830677.9661
2 | 808.6124 | 200 | 161722.488 | B | 2329.9003 | 245.8824 | 572881.3559
3 | 808.6124 | 260 | 210239.2344 | C | 1164.9501 | 245.8824 | 286440.678
4 | 808.6124 | 200 | 161722.488 |  | 6873.2057 |  | 1690000
5 | 808.6124 | 260 | 210239.2344 | Need to clarify how load charges are calculated.
6 | 808.6124 | 260 | 210239.2344
7 | 808.6124 | 260 | 210239.2344
8 | 808.6124 | 260 | 210239.2344
9 | 404.3062 | 260 | 105119.6172
| 6873.2057 |  | 1690000

## ODEC
ODEC Method
Capacity Resources - 9 Resources (Units 2 and 4 Subsidized) | [6 empty] | Demand & Reliability Requirement
Resource | MW | Offer Price | Subsidy | Ref. Price |  |  | Zone | Peak Load | Obligation
1 | 1000 | 20 |  |  |  |  | A | 2900 | 3194.9153
2 | 1000 | 50 | 250 | 300 |  |  | B | 2000 | 2203.3898
3 | 1000 | 80 |  |  |  |  | C | 1000 | 1101.6949
4 | 1000 | 110 | 190 | 300 |  |  | Total | 5900 | 6500
5 | 1000 | 140 |  |  |  |  | Rel. Req. | 6500
6 | 1000 | 170 |  |  |  |  | Subsidy
7 | 1000 | 200 |  |  |  |  | Unit | MW | Subsidy | $/day
8 | 1000 | 230 |  |  |  |  | 2 | 1000 | 250 | 250000
9 | 1000 | 260 |  |  |  |  | 4 | 1000 | 190 | 190000
| 9000 | [5 empty] | Total |  |  | 440000
Stage 1 - Clear as Offered to determine Cleared Resource MWs
Resource | MW | Offer Price | ClearedMW | RCP | Revenue
1 | 1000 | 20 | 1000 |  | 200000
2 | 1000 | 50 | 1000 |  | 200000
3 | 1000 | 80 | 1000 |  | 200000
4 | 1000 | 110 | 1000 |  | 200000
5 | 1000 | 140 | 1000 |  | 200000
6 | 1000 | 170 | 1000 |  | 200000
7 | 1000 | 200 | 500 | 200 | 100000
8 | 1000 | 230 | 0 |  | 0
9 | 1000 | 260 | 0 |  | 0
| 9000 |  | 6500 |  | 1300000
ODEC Method to calculate Clearing Price
Subsidized capacity of 2000 MW removed and non-subsidized capacity increased by 9000/7000 ratio.
Resource | MW | Offer Price | ClearedMW | RCP
1 | 1285.7143 | 20 | 1285.7143
2 | 0 | 50 | 0
3 | 1285.7143 | 80 | 1285.7143
4 | 0 | 110 | 0
5 | 1285.7143 | 140 | 1285.7143
6 | 1285.7143 | 170 | 1285.7143
7 | 1285.7143 | 200 | 1285.7143
8 | 1285.7143 | 230 | 71.4286 | 230
9 | 1285.7143 | 260 | 0
| 9000 |  | 6500
Resource | Cleared MW | RCP | Revenues | Zone | Obligation | FZCP | Daily Cost
1 | 1000 | 230 | 230000 | A | 3194.9153 | 230 | 734830.5085
2 | 1000 | 230 | 230000 | B | 2203.3898 | 230 | 506779.661
3 | 1000 | 230 | 230000 | C | 1101.6949 | 230 | 253389.8305
4 | 1000 | 230 | 230000 |  | 6500 |  | 1495000
5 | 1000 | 230 | 230000 | Clearing price lower than competitive clearing price.
6 | 1000 | 230 | 230000 | Cleared MW same as PJM Stage 1 results.
7 | 500 | 230 | 115000
8 | 0 | 230 | 0
9 | 0 | 230 | 0
| 6500 |  | 1495000

## FRR
FRR Method
Capacity Resources - 9 Resources (Units 2 and 4 Subsidized) | [6 empty] | Demand & Reliability Requirement
Resource | MW | Offer Price | Subsidy | Ref. Price |  |  | Zone | Peak Load | Obligation
1 | 1000 | 20 |  |  |  |  | A | 2900 | 3194.9153
2 | 1000 | 50 | 250 | 300 |  |  | B | 2000 | 2203.3898
3 | 1000 | 80 |  |  |  |  | C | 1000 | 1101.6949
4 | 1000 | 110 | 190 | 300 |  |  | Total | 5900 | 6500
5 | 1000 | 140 |  |  |  |  | Rel. Req. | 6500
6 | 1000 | 170 |  |  |  |  | Subsidy
7 | 1000 | 200 |  |  |  |  | Unit | MW | Subsidy | $/day
8 | 1000 | 230 |  |  |  |  | 2 | 1000 | 250 | 250000
9 | 1000 | 260 |  |  |  |  | 4 | 1000 | 190 | 190000
| 9000 | [5 empty] | Total |  |  | 440000
FRR Method (2000 MW of Subsidized Resources will serve 1,815 MW of Peak Load in Zone A at assumed FPR of 1.1)
Resource | Cleared MW | RCP | Revenues | Zone | Obligation | FZCP | Daily Cost
1 | 1000 |  | 200000 | A | 1194.9153 | 200 | 238983.0508
2 | 0 |  | 0 | B | 2203.3898 | 200 | 440677.9661
3 | 1000 |  | 200000 | C | 1101.6949 | 200 | 220338.9831
4 | 0 |  | 0 |  | 4500 |  | 900000
5 | 1000 |  | 200000 | Zone A Obligation reduced by 2000 MW.
6 | 1000 |  | 200000 | Subsidized resources are not in RPM.
7 | 500 | 200 | 100000
8 | 0 |  | 0
9 | 0 |  | 0
| 4500 |  | 900000