{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Instructions","Event","Sheet1"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Instructions","index":0,"n_rows":43,"n_cols":13,"rows_kept":43,"cut":false,"hidden":false,"merged":[]}
[null,"Disclaimer"]
["This is a simulation and interactive tool for memebers to use to understand their units performance "]
["This tool is does not guarantee exact results to PJM calculations based on telemetry data but should provide a close estimate that will allow for futher discussion, if necessary."]
[]
[null,"Instructions"]
["Step 1:","Enter is all unit information to set up template"]
[null,"All green colored cells need to entered by the user"]
[null,"**Data should be entered at 2 second granularity for the most accuracte calculation"]
[]
[null,"Unit Information:","Enter Unit Information here:"]
[null,"Unit Name:","Enter Resource Name","Will be used to help PJM staff troubleshoot if data discrepancy is found"]
[null,"MarketID:","Enter Units Makets Gateway ID","Will be used to help PJM staff troubleshoot if data discrepancy is found"]
[null,"Frequency:","Low"]
[null,"Regulation","Yes/No if unit is on for regulation","Used to determine expected MW of PFR response"]
[null,"Eco Max:","Enter Unit's ECOMAX","Used in expected MW calculation "]
[null,"Eco Min:","Enter Unit's ECOMIN","Used in expected MW calculation "]
[null,"Zone","Enter Unit's Control Zone ","Used for tracking purposes"]
[null,"Fuel Type","Enter Unit's Fuel Type ","Used for tracking purposes"]
[null,"Governor Settings","Enter Governor Data here:"]
[null,"Droop (%):","Enter unit's droop setting","Enter as a percent, set at 5% droop as default"]
[null,"Deadband (Hz):","Enter unit's deadband setting","Enter as a decmial (field is in Hz), set at 0.036 Hz as default "]
[null,"Plot Times","Enter Start Date/Time of Event here:"]
[null,"Event Start:","Enter event start time (T0) ","Will be used to calculated expected response and align frequency "]
[null,"Plot Start:","2017-11-20T16:11:15"]
[null,"Plot End:","2017-11-20T16:16:15"]
[null,"Interval(seconds):","Enter Data sampling interval (2, 10, etc)","Used to set up data sampling table.  2sec samples are preferred if available"]
[]
[]
["Step 2:","Enter in unit telemetry data for the set timestamps start in cell E43"]
[null,"All green colored cells need to entered by the user"]
[]
["Time \n","Frequency\n(Hz)","Unit Output\n(MW)","Eco Max\n(MW)","Eco Min\n(MW)","PFR Capacity\n(MW)","Expected Response \n(MW)","Expected Response Graph\n(Net MW)","Basepoint\n(MW)",null,null,"Output Timestamp","Unit Output\n(MW)"]
["Time Stamp","Enter Frequency Data","Enter Unit Output Data (MW)","calculated field\n5% buffer on entered EcoMax for PFR calculation ","calculated field\n5% buffer on entered EcoMin for PFR calculation ","calculated field\n PFR capability on unit","calculated field\nExpected Response based on Droop equation","calculated field\ntotal unit output expected based on droop equation","Enter Unit Basepoint (ECOBP) Data ",null,null,"Time Stamp","Enter Unit Output Data (MW)"]
[]
[]
["Step 3:","Review Results "]
[]
[null,"Actual Response =",0,"MW","Measured response at delta between -16-0 seconds and  20-52 seconds"]
[null,"Expected Response =",2.3727573492588148,"MW","Expected Response calculated as droop equation+ ramp rate "]
[null,"Performance=",0,"MW"," Performance will be calculated based on Actual and Expected Response"]
[null,null,"Fail",null,"Pass/Fail assessment based on 50% performance score"]
[]
[null,"Ramp Rate ",-1.6581959724426269E-2,null,"Ramp Rate 1 minute before the event is calculated to offset expected response "]

{"sheet":"Event","index":1,"n_rows":343,"n_cols":20,"rows_kept":343,"cut":false,"hidden":false,"merged":[[4,5,4,6],[71,0,71,1],[82,0,82,1]]}
["Unit Information:","Enter Unit Information here:"]
["Unit Name:","Resource123"]
["MarketID:",123]
["Frequency:",{"$f":"IF(AVERAGE(IF(ISNUMBER(F83:F99),F83:F99))<60,\"Low\",IF(AVERAGE(IF(ISNUMBER(F83:F99),F83:F99))>60,\"High\",\"Error\"))","v":"Low"}]
["Regulation","No",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"X Axis"]
["Eco Max:",19,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Stop",{"$f":"MAX(IF(ISNUMBER(E43:E193),E43:E193))","v":43080.377048610826}]
["Eco Min:",1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Y Axis"]
["Zone","MidAtl"]
["Fuel Type","Coal"]
["Governor Settings","Enter Governor Data here:","Example Data",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"MAX ",{"$f":"ROUND(MAX(MAX(IF(ISNUMBER(G43:G193),G43:G193)),MAX(IF(ISNUMBER(L43:L193),L43:L193)))+3,0)","v":14}]
["Droop (%):",0.05,0.05,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"MIN",{"$f":"ROUND(MIN(MIN(IF(ISNUMBER(G43:G193),G43:G193)),MIN(IF(ISNUMBER(L43:L193),L43:L193)))-3,0)","v":2}]
["Deadband (Hz):",3.5999999999999997E-2,3.5999999999999997E-2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"PointA"]
["Plot Times","Enter Start Date/Time of Event here:",null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"43 + (MATCH(R13,$E$43:$E$193) - 1)","v":73},{"$f":"B14","v":"2017-12-11T08:58:57"},{"$f":"S10","v":14}]
["Event Start:","2017-12-11T08:58:57",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"B14","v":"2017-12-11T08:58:57"},{"$f":"S11","v":2}]
["Plot Start:",{"$f":"B14-TIME(0,1,0)","v":"2017-12-11T08:57:57"},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Point B"]
["Plot End:",{"$f":"B14+TIME(0,4,0)","v":"2017-12-11T09:02:57"},null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"43 + (MATCH(R16,$E$43:$E$193) - 1)","v":91},{"$f":"B14+TIME(0,0,36)","v":"2017-12-11T08:59:33"},{"$f":"S10","v":14}]
["Interval(seconds):",2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"B14+TIME(0,0,36)","v":"2017-12-11T08:59:33"},{"$f":"S11","v":2}]
[]
["Unit Response (in MW)","Actual Resp.","Expected Resp."]
["Point A =",0,0]
["Point B =",{"$f":"B85","v":0.24618779911714483},{"$f":"A85","v":1.0660761262137082E-2}]
[]
["Unit Output (in MW)","Actual Resp.","Expected Resp."]
["Point A =",{"$f":"B73","v":4.535369873046875},{"$f":"A73","v":4.535369873046875}]
["Point B =",{"$f":"B84","v":4.7815576721640198},{"$f":"A84","v":4.6128064611558646}]
[]
["Actual Response =",{"$f":"$B$85-$B$32","v":0.26276975884157111},"MW"]
["Expected Response =",{"$f":"IF($L$43=0,\"Off-line\",IF($B$5= \"Yes\", \"Regulation\",IF(OR((A73>=$H$43),($I$43>=A73)),\"No Capacity\",$A$85+$B$32)))","v":-5.9211984622891869E-3},"MW"]
["Performance=",{"$f":"IFERROR(MIN(MAX((1-(B28-B27)/B28),0),1),B28)","v":0},"MW"]
[null,{"$f":"IFERROR(IF(B29>=0.5,\"Pass\",\"Fail\"),\"\")","v":"Fail"}]
[]
["Ramp Rate ",{"$f":"($G$73-$G$43)*0.53","v":-1.6581959724426269E-2}]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,{"$f":"INDEX(D43:D193,MATCH(TRUE,INDEX(D43:D193<>0,),0))","v":5.0328572591146004E-3},{"$f":"VLOOKUP(K41,$D$43:$G$193,4,FALSE)","v":4.5864043235778809},null,null,null,null,{"$f":"B14-TIME(0,10,0)","v":"2017-12-11T08:48:57"}]
[null,null,null,null,"Time \n","Frequency\n(Hz)","Unit Output\n(MW)","Eco Max\n(MW)","Eco Min\n(MW)","PFR Capacity\n(MW)","Expected Response \n(MW)","Expected Response Graph\n(Net MW)","Basepoint\n(MW)",null,null,"Output Timestamp","Unit Output\n(MW)","Regulation","Unit Ramp before Event\n (MW/min)"]
[null,null,null,{"$f":"K43","v":0},{"$f":"B15","v":43080.373576388884},60.016201019287109,4.5941367149353027,{"$f":"B6","v":19},{"$f":"B7","v":1},{"$f":"IF($B$4=\"low\",(H43-(H43*0.05))-G43,IF($B$4=\"high\",G43-(I43+(I43 *0.05)),\"error\"))","v":13.455863285064698},{"$f":"IF(F43<(60-$B$12),((-1)*H43*((F43-60+$B$12)/(60*$B$11-$B$12))),IF(F43>(60+$B$12),((-1)*H43*((F43-60-$B$12)/(60*$B$11-$B$12))),0))","v":0},{"$f":"IF(G43<1,0,IF(K43=0,(G43+K43),($L$41+K43)))","v":4.5941367149353027},null,null,null,{"$f":"Q41","v":43080.367326388885},400,{"$f":"B5","v":"No"},{"$f":"Q43","v":400},"MW-10min before"]
[null,null,null,{"$f":"K44","v":0},{"$f":"IF(E43+TIME(0,0,$B$17) > $B$16,NA(),E43+TIME(0,0,$B$17))","v":43080.37359953703},60.016498565673828,4.6161103248596191,{"$f":"IF(ISERROR(E44),NA(),H43)","v":19},{"$f":"IF(ISERROR(E44),NA(),I43)","v":1},{"$f":"IF($B$4=\"low\",(H44-(H44*0.05))-G44,IF($B$4=\"high\",G44-(I44+(I44 *0.05)),\"error\"))","v":13.433889675140382},{"$f":"IF(ISERROR(E44),NA(),IF(F44<(60-$B$12),((-1)*H44*((F44-60+$B$12)/(60*$B$11-$B$12))),IF(F44>(60+$B$12),((-1)*H44*((F44-60-$B$12)/(60*$B$11-$B$12))),0)))","v":0},{"$f":"IF(ISERROR(E44),NA(),IF(G44<1,0,IF(K44=0,(G44+K44),($L$41+K44))))","v":4.6161103248596191},null,null,null,{"$f":"P43+TIME(0,0,2)","v":43080.367349537031},400,null,{"$f":"Q343","v":400},"MW- 0min before"]
[null,null,null,0,{"$f":"IF(E44+TIME(0,0,$B$17) > $B$16,NA(),E44+TIME(0,0,$B$17))","v":43080.373622685176},60.017101287841797,4.6380839347839355,{"$f":"IF(ISERROR(E45),NA(),H44)","v":19},{"$f":"IF(ISERROR(E45),NA(),I44)","v":1},13.411916065216065,{"$f":"IF(ISERROR(E45),NA(),IF(F45<(60-$B$12),((-1)*H45*((F45-60+$B$12)/(60*$B$11-$B$12))),IF(F45>(60+$B$12),((-1)*H45*((F45-60-$B$12)/(60*$B$11-$B$12))),0)))","v":0},{"$f":"IF(ISERROR(E45),NA(),IF(G45<1,0,IF(K45=0,(G45+K45),($L$41+K45))))","v":4.6380839347839355},null,null,null,{"$f":"P44+TIME(0,0,2)","v":43080.367372685178},400,null,{"$f":"(S44-S43)/10","v":0},"MW/min"]
[null,null,null,0,43080.373645833322,60.018203735351563,4.660057544708252,19,1,13.389942455291749,0,4.660057544708252,null,null,null,43080.367395833324,400]
[null,null,null,0,43080.373668981469,60.018501281738281,4.6820316314697266,19,1,13.367968368530274,0,4.6820316314697266,null,null,null,43080.36741898147,400]
[null,null,null,0,43080.373692129615,60.018501281738281,4.704005241394043,19,1,13.345994758605958,0,4.704005241394043,null,null,null,43080.367442129616,400]
[null,null,null,0,43080.373715277761,60.018501281738281,4.7259788513183594,19,1,13.324021148681641,0,4.7259788513183594,null,null,null,43080.367465277763,400]
[null,null,null,0,43080.373738425908,60.017902374267578,4.7479524612426758,19,1,13.302047538757325,0,4.7479524612426758,null,null,null,43080.367488425909,400]
[null,null,null,0,43080.373761574054,60.016998291015625,4.7590227127075195,19,1,13.290977287292481,0,4.7590227127075195,null,null,null,43080.367511574055,400]
[null,null,null,0,43080.3737847222,60.016998291015625,4.7537899017333984,19,1,13.296210098266602,0,4.7537899017333984,null,null,null,43080.367534722202,400]
[null,null,null,0,43080.373807870346,60.016605377197266,4.7485570907592773,19,1,13.301442909240723,0,4.7485570907592773,null,null,null,43080.367557870348,400]
[null,null,null,0,43080.373831018493,60.015602111816406,4.7433242797851562,19,1,13.306675720214844,0,4.7433242797851562,null,null,null,43080.367581018494,400]
[null,null,null,0,43080.373854166639,60.014999389648438,4.7380914688110352,19,1,13.311908531188966,0,4.7380914688110352,null,null,null,43080.36760416664,400]
[null,null,null,0,43080.373877314785,60.015403747558594,4.7328586578369141,19,1,13.317141342163087,0,4.7328586578369141,null,null,null,43080.367627314787,400]
[null,null,null,0,43080.373900462931,60.015998840332031,4.727625846862793,19,1,13.322374153137208,0,4.727625846862793,null,null,null,43080.367650462933,400]
[null,null,null,0,43080.373923611078,60.015598297119141,4.7223930358886719,19,1,13.327606964111329,0,4.7223930358886719,null,null,null,43080.367673611079,400]
[null,null,null,0,43080.373946759224,60.01519775390625,4.7171602249145508,19,1,13.33283977508545,0,4.7171602249145508,null,null,null,43080.367696759226,400]
[null,null,null,0,43080.37396990737,60.015499114990234,4.7119274139404297,19,1,13.338072586059571,0,4.7119274139404297,null,null,null,43080.367719907372,400]
[null,null,null,0,43080.373993055517,60.015296936035156,4.7066946029663086,19,1,13.343305397033692,0,4.7066946029663086,null,null,null,43080.367743055518,400]
[null,null,null,0,43080.374016203663,60.014999389648438,4.7014617919921875,19,1,13.348538208007813,0,4.7014617919921875,null,null,null,43080.367766203664,400]
[null,null,null,0,43080.374039351809,60.015602111816406,4.6962289810180664,19,1,13.353771018981934,0,4.6962289810180664,null,null,null,43080.367789351811,400]
[null,null,null,0,43080.374062499955,60.016498565673828,4.6909961700439453,19,1,13.359003829956055,0,4.6909961700439453,null,null,null,43080.367812499957,400]
[null,null,null,0,43080.374085648102,60.016700744628906,4.6143298149108887,19,1,13.435670185089112,0,4.6143298149108887,null,null,null,43080.367835648103,400]
[null,null,null,0,43080.374108796248,60.016799926757813,4.5078897476196289,19,1,13.542110252380372,0,4.5078897476196289,null,null,null,43080.367858796249,400]
[null,null,null,0,43080.374131944394,60.016498565673828,4.5157413482666016,19,1,13.534258651733399,0,4.5157413482666016,null,null,null,43080.367881944396,400]
[null,null,null,0,43080.374155092541,60.015903472900391,4.523592472076416,19,1,13.526407527923585,0,4.523592472076416,null,null,null,43080.367905092542,400]
[null,null,null,0,43080.374178240687,60.014999389648438,4.5314440727233887,19,1,13.518555927276612,0,4.5314440727233887,null,null,null,43080.367928240688,400]
[null,null,null,0,43080.374201388833,60.014400482177734,4.5392956733703613,{"$f":"IF(ISERROR(E70),NA(),H69)","v":19},1,13.510704326629639,0,4.5392956733703613,null,null,null,43080.367951388835,400]
["Expected","Actual",null,0,43080.374224536979,60.012897491455078,4.547147274017334,19,1,13.502852725982667,0,4.547147274017334,null,null,null,43080.367974536981,400]
["Point A",null,null,0,43080.374247685126,60.012001037597656,4.5549983978271484,19,1,13.495001602172852,0,4.5549983978271484,null,null,null,43080.367997685127,400]
[{"$f":"AVERAGE(INDIRECT(\"L\"&$A$75&\":L\"&$A$76))","v":4.535369873046875},{"$f":"AVERAGE(INDIRECT(\"G\"&$A$75&\":G\"&$A$76))","v":4.535369873046875},"MW output",0,43080.374270833272,60.000942230224609,4.5628499984741211,19,1,13.48715000152588,0,4.5628499984741211,null,null,null,43080.368020833273,400]
[{"$f":"AVERAGE(INDIRECT(\"K\"&$A$75&\":K\"&$A$76))","v":0},{"$f":"AVERAGE(INDIRECT(\"K\"&$A$75&\":K\"&$A$76))","v":0},"PFR expected",0,43080.374293981418,59.984500885009766,4.5707015991210938,19,1,13.479298400878907,0,4.5707015991210938,null,null,null,43080.36804398142,400]
[{"$f":"43 + (MATCH(B75,$E$43:$E$193) - 1)","v":66},{"$f":"R13-TIME(0,0,14)","v":"2017-12-11T08:58:43"},null,0,43080.374317129565,59.977191925048828,4.5785527229309082,19,1,13.471447277069093,0,4.5785527229309082,null,null,null,43080.368067129566,400]
[{"$f":"Q13","v":73},{"$f":"R13","v":"2017-12-11T08:58:57"},null,5.0328572591146004E-3,43080.374340277711,59.963214874267578,4.5864043235778809,19,1,13.46359567642212,5.0328572591146004E-3,4.5914371808369951,null,null,null,43080.368090277712,400]
[null,null,null,3.459676106770835E-2,43080.374363425857,59.958602905273438,4.5942559242248535,19,1,13.455744075775147,3.459676106770835E-2,4.6210010846455889,null,null,null,43080.368113425859,400]
[null,null,null,3.8460364708533673E-2,43080.374386574003,59.958000183105469,4.6021075248718262,19,1,13.447892475128175,3.8460364708533673E-2,4.6248646882864142,null,null,null,43080.368136574005,400]
[null,null,null,3.8460364708533673E-2,43080.37440972215,59.958000183105469,4.6099586486816406,19,1,13.44004135131836,3.8460364708533673E-2,4.6248646882864142,null,null,null,43080.368159722151,400]
[null,null,null,3.8460364708533673E-2,43080.374432870296,59.958000183105469,4.7179336547851562,19,1,13.332066345214844,3.8460364708533673E-2,4.6248646882864142,null,null,null,43080.368182870297,400]
[null,null,null,3.2053629557291685E-2,43080.374456018442,59.958999633789063,4.8709917068481445,19,1,13.179008293151856,3.2053629557291685E-2,4.6184579531351728,null,null,null,43080.368206018444,400]
[null,null,null,2.3739545773237194E-2,43080.374479166589,59.960296630859375,4.8709917068481445,19,1,13.179008293151856,2.3739545773237194E-2,4.6101438693511181,null,null,null,43080.36822916659,400]
["Point B",null,null,2.0511725010016045E-2,43080.374502314735,59.960800170898438,4.8709917068481445,19,1,13.179008293151856,2.0511725010016045E-2,4.6069160485878973,null,null,null,43080.368252314736,400]
[{"$f":"AVERAGE(INDIRECT(\"L\"&$A$86&\":L\"&$A$87))","v":4.6128064611558646},{"$f":"AVERAGE(INDIRECT(\"G\"&$A$86&\":G\"&$A$87))","v":4.7815576721640198},"MW output",1.2808970915965561E-2,43080.374525462881,59.962001800537109,4.8709917068481445,19,1,13.179008293151856,1.2808970915965561E-2,4.5992132944938469,null,null,null,43080.368275462883,400]
[{"$f":"AVERAGE(INDIRECT(\"K\"&$A$86&\":K\"&$A$87))","v":1.0660761262137082E-2},{"$f":"AVERAGE(INDIRECT(\"G\"&$A$86&\":G\"&$A$87))-B73","v":0.24618779911714483},"PFR expected",1.2808970915965561E-2,43080.374548611027,59.962001800537109,4.7821202278137207,19,1,13.26787977218628,1.2808970915965561E-2,4.5992132944938469,null,null,null,43080.368298611029,400]
[{"$f":"43 + (MATCH(B86,$E$43:$E$193) - 1)","v":83},{"$f":"R16-TIME(0,0,16)","v":"2017-12-11T08:59:17"},null,1.2808970915965561E-2,43080.374571759174,59.962001800537109,4.6512479782104492,19,1,13.398752021789551,1.2808970915965561E-2,4.5992132944938469,null,null,null,43080.368321759175,400]
[{"$f":"43 + (MATCH(B87,$E$43:$E$193) - 1)","v":99},{"$f":"R16+TIME(0,0,16)","v":"2017-12-11T08:59:49"},null,7.6982547075320684E-3,43080.37459490732,59.962799072265625,4.6512479782104492,19,1,13.398752021789551,7.6982547075320684E-3,4.5941025782854128,null,null,null,43080.368344907321,400]
[null,null,null,0,43080.374618055466,59.964000701904297,4.6512479782104492,19,1,13.398752021789551,0,4.6512479782104492,null,null,null,43080.368368055468,400]
[null,null,null,0,43080.374641203613,59.964000701904297,4.6512479782104492,19,1,13.398752021789551,0,4.6512479782104492,null,null,null,43080.368391203614,400]
[null,null,null,0,43080.374664351759,59.964000701904297,4.7243204116821289,19,1,13.325679588317872,0,4.7243204116821289,null,null,null,43080.36841435176,400]
[null,null,null,5.0573104467147613E-3,43080.374687499905,59.963211059570313,4.8336114883422852,19,1,13.216388511657716,5.0573104467147613E-3,4.5914616340245953,null,null,null,43080.368437499907,400]
[null,null,null,1.2808970915965561E-2,43080.374710648051,59.962001800537109,4.8316826820373535,19,1,13.218317317962647,1.2808970915965561E-2,4.5992132944938469,null,null,null,43080.368460648053,400]
[null,null,null,1.4080536671173897E-2,43080.374733796198,59.961803436279297,4.8297538757324219,19,1,13.220246124267579,1.4080536671173897E-2,4.6004848602490549,null,null,null,43080.368483796199,400]
[null,null,null,1.6012338491586557E-2,43080.374756944344,59.961502075195313,4.8278250694274902,19,1,13.22217493057251,1.6012338491586557E-2,4.6024166620694675,null,null,null,43080.368506944345,400]
[null,null,null,1.6012338491586557E-2,43080.37478009249,59.961502075195313,4.8258962631225586,19,1,13.224103736877442,1.6012338491586557E-2,4.6024166620694675,null,null,null,43080.368530092492,400]
[null,null,null,1.6012338491586557E-2,43080.374803240637,59.961502075195313,4.8239669799804687,19,1,13.226033020019532,1.6012338491586557E-2,4.6024166620694675,null,null,null,43080.368553240638,400]
[null,null,null,1.6012338491586557E-2,43080.374826388783,59.961502075195313,4.8220381736755371,19,1,13.227961826324464,1.6012338491586557E-2,4.6024166620694675,null,null,null,43080.368576388784,400]
[null,null,null,1.2197641225961557E-2,43080.374849536929,59.96209716796875,4.8201093673706055,19,1,13.229890632629395,1.2197641225961557E-2,4.5986019648038425,null,null,null,43080.368599536931,400]
[null,null,null,6.4022357647235753E-3,43080.374872685075,59.963001251220703,4.8181805610656738,19,1,13.231819438934327,6.4022357647235753E-3,4.5928065593426046,null,null,null,43080.368622685077,400]
[null,null,null,6.4022357647235753E-3,43080.374895833222,59.963001251220703,4.8162517547607422,19,1,13.233748245239259,6.4022357647235753E-3,4.5928065593426046,null,null,null,43080.368645833223,400]
[null,null,null,7.6738015199319084E-3,43080.374918981368,59.962802886962891,4.8143229484558105,19,1,13.23567705154419,7.6738015199319084E-3,4.5940781250978127,null,null,null,43080.368668981369,400]
[null,null,null,1.0877169095552903E-2,43080.374942129514,59.962303161621094,4.8123936653137207,19,1,13.23760633468628,1.0877169095552903E-2,4.5972814926734333,null,null,null,43080.368692129516,400]
[null,null,null,1.0241386217948737E-2,43080.374965277661,59.96240234375,4.8104648590087891,19,1,13.239535140991212,1.0241386217948737E-2,4.5966457097958298,null,null,null,43080.368715277662,400]
[null,null,null,6.4022357647235753E-3,43080.374988425807,59.963001251220703,4.8085360527038574,19,1,13.241463947296143,6.4022357647235753E-3,4.5928065593426046,null,null,null,43080.368738425808,400]
[null,null,null,5.1306700095152414E-3,43080.375011573953,59.963199615478516,4.8066072463989258,19,1,13.243392753601075,5.1306700095152414E-3,4.5915349935873957,null,null,null,43080.368761573955,400]
[null,null,null,3.1988681891025814E-3,43080.375034722099,59.9635009765625,4.8046784400939941,19,1,13.245321559906007,3.1988681891025814E-3,4.5896031917669831,null,null,null,43080.368784722101,400]
[null,null,null,9.6056033403445675E-3,43080.375057870246,59.962501525878906,4.8027496337890625,19,1,13.247250366210938,9.6056033403445675E-3,4.5960099269182253,null,null,null,43080.368807870247,400]
[null,null,null,{"$f":"K108","v":1.9240159254807709E-2},43080.375081018392,59.96099853515625,4.8008203506469727,19,1,{"$f":"IF($B$4=\"low\",(H108-(H108*0.05))-G108,IF($B$4=\"high\",G108-(I108+(I108 *0.05)),\"error\"))","v":13.249179649353028},1.9240159254807709E-2,4.6056444828326883,null,null,null,43080.368831018393,400]
[null,null,null,1.9240159254807709E-2,{"$f":"IF(E108+TIME(0,0,$B$17) > $B$16,NA(),E108+TIME(0,0,$B$17))","v":43080.375104166538},59.96099853515625,4.798891544342041,{"$f":"IF(ISERROR(E109),NA(),H108)","v":19},{"$f":"IF(ISERROR(E109),NA(),I108)","v":1},13.25110845565796,{"$f":"IF(ISERROR(E109),NA(),IF(F109<(60-$B$12),((-1)*H109*((F109-60+$B$12)/(60*$B$11-$B$12))),IF(F109>(60+$B$12),((-1)*H109*((F109-60-$B$12)/(60*$B$11-$B$12))),0)))","v":1.9240159254807709E-2},{"$f":"IF(ISERROR(E109),NA(),IF(G109<1,0,IF(K109=0,(G109+K109),($L$41+K109))))","v":4.6056444828326883},null,null,null,{"$f":"P108+TIME(0,0,2)","v":43080.36885416654},400]
[null,null,null,1.9240159254807709E-2,43080.375127314685,59.96099853515625,4.8718347549438477,19,1,13.178165245056153,1.9240159254807709E-2,4.6056444828326883,null,null,null,43080.368877314686,400]
[null,null,null,1.6648121369190721E-2,43080.375150462831,59.961402893066406,4.9808640480041504,19,1,13.06913595199585,1.6648121369190721E-2,4.603052444947072,null,null,null,43080.368900462832,400]
[null,null,null,1.1537405160757229E-2,43080.375173610977,59.962200164794922,4.9808640480041504,19,1,13.06913595199585,1.1537405160757229E-2,4.5979417287386379,null,null,null,43080.368923610979,400]
[null,null,null,8.3095843975360753E-3,43080.375196759123,59.962703704833984,4.9808640480041504,19,1,13.06913595199585,8.3095843975360753E-3,4.5947139079754171,null,null,null,43080.368946759125,400]
[null,null,null,6.4022357647235753E-3,43080.37521990727,59.963001251220703,4.9808640480041504,19,1,13.06913595199585,6.4022357647235753E-3,4.5928065593426046,null,null,null,43080.368969907271,400]
[null,null,null,3.8591042543069084E-3,43080.375243055416,59.963397979736328,5.3142557144165039,19,1,12.735744285583497,3.8591042543069084E-3,4.5902634278321877,null,null,null,43080.368993055417,400]
[null,null,null,0,43080.375266203562,59.964000701904297,5.8232159614562988,19,1,12.226784038543702,0,5.8232159614562988,null,null,null,43080.369016203564,400]
[null,null,null,0,43080.375289351708,59.964000701904297,5.8232159614562988,19,1,12.226784038543702,0,5.8232159614562988,null,null,null,43080.36903935171,400]
[null,null,null,0,43080.375312499855,59.964397430419922,5.8232159614562988,19,1,12.226784038543702,0,5.8232159614562988,null,null,null,43080.369062499856,400]
[null,null,null,0,43080.375335648001,59.965000152587891,5.8232159614562988,19,1,12.226784038543702,0,5.8232159614562988,null,null,null,43080.369085648003,400]
[null,null,null,0,43080.375358796147,59.965202331542969,5.7639904022216797,19,1,12.286009597778321,0,5.7639904022216797,null,null,null,43080.369108796149,400]
[null,null,null,0,43080.375381944294,59.965301513671875,5.679987907409668,19,1,12.370012092590333,0,5.679987907409668,null,null,null,43080.369131944295,400]
[null,null,null,0,43080.37540509244,59.965000152587891,5.6881256103515625,19,1,12.361874389648438,0,5.6881256103515625,null,null,null,43080.369155092441,400]
[null,null,null,0,43080.375428240586,59.965602874755859,5.6962637901306152,19,1,12.353736209869385,0,5.6962637901306152,null,null,null,43080.369178240588,400]
[null,null,null,0,43080.375451388732,59.966499328613281,5.7044014930725098,19,1,12.345598506927491,0,5.7044014930725098,null,null,null,43080.369201388734,400]
[null,null,null,0,43080.375474536879,59.967308044433594,5.7125391960144043,19,1,12.337460803985596,0,5.7125391960144043,null,null,null,43080.36922453688,400]
[null,null,null,0,43080.375497685025,59.968296051025391,5.720677375793457,19,1,12.329322624206544,0,5.720677375793457,null,null,null,43080.369247685026,400]
[null,null,null,0,43080.375520833171,59.967998504638672,5.7288150787353516,19,1,12.321184921264649,0,5.7288150787353516,null,null,null,43080.369270833173,400]
[null,null,null,0,43080.375543981318,59.968399047851562,5.7369527816772461,19,1,12.313047218322755,0,5.7369527816772461,null,null,null,43080.369293981319,400]
[null,null,null,0,43080.375567129464,59.969001770019531,5.7450904846191406,19,1,12.30490951538086,0,5.7450904846191406,null,null,null,43080.369317129465,400]
[null,null,null,0,43080.37559027761,59.969001770019531,5.5731391906738281,19,1,12.476860809326173,0,5.5731391906738281,null,null,null,43080.369340277612,400]
[null,null,null,0,43080.375613425756,59.969402313232422,5.3104801177978516,19,1,12.739519882202149,0,5.3104801177978516,null,null,null,43080.369363425758,400]
[null,null,null,0,43080.375636573903,59.969802856445313,5.3104801177978516,19,1,12.739519882202149,0,5.3104801177978516,null,null,null,43080.369386573904,400]
[null,null,null,0,43080.375659722049,59.969303131103516,5.3104801177978516,19,1,12.739519882202149,0,5.3104801177978516,null,null,null,43080.36940972205,400]
[null,null,null,0,43080.375682870195,59.969001770019531,5.3104801177978516,19,1,12.739519882202149,0,5.3104801177978516,null,null,null,43080.369432870197,400]
[null,null,null,0,43080.375706018342,59.968402862548828,5.237635612487793,19,1,12.812364387512208,0,5.237635612487793,null,null,null,43080.369456018343,400]
[null,null,null,0,43080.375729166488,59.967098236083984,5.1273598670959473,19,1,12.922640132904053,0,5.1273598670959473,null,null,null,43080.369479166489,400]
[null,null,null,0,43080.375752314634,59.966701507568359,5.1273598670959473,19,1,12.922640132904053,0,5.1273598670959473,null,null,null,43080.369502314636,400]
[null,null,null,0,43080.37577546278,59.966999053955078,5.1273598670959473,19,1,12.922640132904053,0,5.1273598670959473,null,null,null,43080.369525462782,400]
[null,null,null,0,43080.375798610927,59.967601776123047,5.1273598670959473,19,1,12.922640132904053,0,5.1273598670959473,null,null,null,43080.369548610928,400]
[null,null,null,0,43080.375821759073,59.968894958496094,5.0548453330993652,19,1,12.995154666900635,0,5.0548453330993652,null,null,null,43080.369571759074,400]
[null,null,null,0,43080.375844907219,59.969501495361328,4.9442400932312012,19,1,13.1057599067688,0,4.9442400932312012,null,null,null,43080.369594907221,400]
[null,null,null,0,43080.375868055366,59.969905853271484,4.9442400932312012,19,1,13.1057599067688,0,4.9442400932312012,null,null,null,43080.369618055367,400]
[null,null,null,0,43080.375891203512,59.970500946044922,4.9442400932312012,19,1,13.1057599067688,0,4.9442400932312012,null,null,null,43080.369641203513,400]
[null,null,null,0,43080.375914351658,59.970302581787109,4.9442400932312012,19,1,13.1057599067688,0,4.9442400932312012,null,null,null,43080.36966435166,400]
[null,null,null,0,43080.375937499804,59.970001220703125,4.8713865280151367,19,1,13.178613471984864,0,4.8713865280151367,null,null,null,43080.369687499806,400]
[null,null,null,0,43080.375960647951,59.970199584960937,4.7611198425292969,19,1,13.288880157470704,0,4.7611198425292969,null,null,null,43080.369710647952,400]
[null,null,null,0,43080.375983796097,59.970500946044922,4.7611198425292969,19,1,13.288880157470704,0,4.7611198425292969,null,null,null,43080.369733796098,400]
[null,null,null,0,43080.376006944243,59.970905303955078,4.7611198425292969,19,1,13.288880157470704,0,4.7611198425292969,null,null,null,43080.369756944245,400]
[null,null,null,0,43080.37603009239,59.971904754638672,4.7611198425292969,19,1,13.288880157470704,0,4.7611198425292969,null,null,null,43080.369780092391,400]
[null,null,null,0,43080.376053240536,59.973499298095703,5.4063577651977539,19,1,12.643642234802247,0,5.4063577651977539,null,null,null,43080.369803240537,400]
[null,null,null,0,43080.376076388682,59.974800109863281,6.3725757598876953,19,1,11.677424240112305,0,6.3725757598876953,null,null,null,43080.369826388684,400]
[null,null,null,0,43080.376099536828,59.974498748779297,6.3725757598876953,19,1,11.677424240112305,0,6.3725757598876953,null,null,null,43080.36984953683,400]
[null,null,null,0,43080.376122684975,59.973907470703125,6.3725757598876953,19,1,11.677424240112305,0,6.3725757598876953,null,null,null,43080.369872684976,400]
[null,null,null,0,43080.376145833121,59.972599029541016,6.3725757598876953,19,1,11.677424240112305,0,6.3725757598876953,null,null,null,43080.369895833122,400]
[null,null,null,0,43080.376168981267,59.971797943115234,6.6243395805358887,19,1,11.425660419464112,0,6.6243395805358887,null,null,null,43080.369918981269,400]
[null,null,null,0,43080.376192129414,59.971298217773438,6.9951839447021484,19,1,11.054816055297852,0,6.9951839447021484,null,null,null,43080.369942129415,400]
[null,null,null,0,43080.37621527756,59.971000671386719,6.9951839447021484,19,1,11.054816055297852,0,6.9951839447021484,null,null,null,43080.369965277561,400]
[null,null,null,0,43080.376238425706,59.971607208251953,6.9951839447021484,19,1,11.054816055297852,0,6.9951839447021484,null,null,null,43080.369988425708,400]
[null,null,null,0,43080.376261573852,59.972702026367188,6.9951839447021484,19,1,11.054816055297852,0,6.9951839447021484,null,null,null,43080.370011573854,400]
[null,null,null,0,43080.376284721999,59.972602844238281,7.2571520805358887,19,1,10.792847919464112,0,7.2571520805358887,null,null,null,43080.370034722,400]
[null,null,null,0,43080.376307870145,59.971603393554688,7.6544160842895508,19,1,10.39558391571045,0,7.6544160842895508,null,null,null,43080.370057870146,400]
[null,null,null,0,43080.376331018291,59.971000671386719,7.6544160842895508,19,1,10.39558391571045,0,7.6544160842895508,null,null,null,43080.370081018293,400]
[null,null,null,0,43080.376354166438,59.969814300537109,7.6544160842895508,19,1,10.39558391571045,0,7.6544160842895508,null,null,null,43080.370104166439,400]
[null,null,null,0,43080.376377314584,59.967998504638672,7.6544160842895508,19,1,10.39558391571045,0,7.6544160842895508,null,null,null,43080.370127314585,400]
[null,null,null,0,43080.37640046273,59.967403411865234,7.7995104789733887,19,1,10.250489521026612,0,7.7995104789733887,null,null,null,43080.370150462732,400]
[null,null,null,0,43080.376423610876,59.966499328613281,8.020655632019043,19,1,10.029344367980958,0,8.020655632019043,null,null,null,43080.370173610878,400]
[null,null,null,0,43080.376446759023,59.966297149658203,8.020655632019043,19,1,10.029344367980958,0,8.020655632019043,null,null,null,43080.370196759024,400]
[null,null,null,0,43080.376469907169,59.965595245361328,8.020655632019043,19,1,10.029344367980958,0,8.020655632019043,null,null,null,43080.37021990717,400]
[null,null,null,0,43080.376493055315,59.965000152587891,8.020655632019043,19,1,10.029344367980958,0,8.020655632019043,null,null,null,43080.370243055317,400]
[null,null,null,0,43080.376516203462,59.964202880859375,8.225651741027832,19,1,9.8243482589721687,0,8.225651741027832,null,null,null,43080.370266203463,400]
[null,null,null,8.9453672751402414E-3,43080.376539351608,59.962604522705078,8.5333919525146484,19,1,9.5166080474853523,8.9453672751402414E-3,4.5953496908530207,null,null,null,43080.370289351609,400]
[null,null,null,{"$f":"K172","v":1.2808970915965561E-2},43080.376562499754,59.962001800537109,8.5333919525146484,19,1,{"$f":"IF($B$4=\"low\",(H172-(H172*0.05))-G172,IF($B$4=\"high\",G172-(I172+(I172 *0.05)),\"error\"))","v":9.5166080474853523},1.2808970915965561E-2,4.5992132944938469,null,null,null,43080.370312499756,400]
[null,null,null,1.2808970915965561E-2,{"$f":"IF(E172+TIME(0,0,$B$17) > $B$16,NA(),E172+TIME(0,0,$B$17))","v":43080.3765856479},59.962001800537109,8.5333919525146484,{"$f":"IF(ISERROR(E173),NA(),H172)","v":19},{"$f":"IF(ISERROR(E173),NA(),I172)","v":1},9.5166080474853523,{"$f":"IF(ISERROR(E173),NA(),IF(F173<(60-$B$12),((-1)*H173*((F173-60+$B$12)/(60*$B$11-$B$12))),IF(F173>(60+$B$12),((-1)*H173*((F173-60-$B$12)/(60*$B$11-$B$12))),0)))","v":1.2808970915965561E-2},{"$f":"IF(ISERROR(E173),NA(),IF(G173<1,0,IF(K173=0,(G173+K173),($L$41+K173))))","v":4.5992132944938469},null,null,null,{"$f":"P172+TIME(0,0,2)","v":43080.370335647902},400]
[null,null,null,1.4080536671173897E-2,43080.376608796047,59.961803436279297,8.5333919525146484,19,1,9.5166080474853523,1.4080536671173897E-2,4.6004848602490549,null,null,null,43080.370358796048,400]
[null,null,null,1.4740772736378223E-2,43080.376631944193,59.961700439453125,8.7350139617919922,19,1,9.3149860382080085,1.4740772736378223E-2,4.6011450963142595,null,null,null,43080.370381944194,400]
[null,null,null,1.5376555613982389E-2,43080.376655092339,59.961601257324219,9.0461282730102539,19,1,9.0038717269897468,1.5376555613982389E-2,4.6017808791918631,null,null,null,43080.370405092341,400]
[null,null,null,1.9240159254807709E-2,43080.376678240485,59.96099853515625,9.0461282730102539,19,1,9.0038717269897468,1.9240159254807709E-2,4.6056444828326883,null,null,null,43080.370428240487,400]
[null,null,null,2.1783290765224377E-2,43080.376701388632,59.960601806640625,9.0461282730102539,19,1,9.0038717269897468,2.1783290765224377E-2,4.6081876143431053,null,null,null,43080.370451388633,400]
[null,null,null,2.9486044859274856E-2,43080.376724536778,59.959400177001953,9.0461282730102539,19,1,9.0038717269897468,2.9486044859274856E-2,4.6158903684371557,null,null,null,43080.37047453678,400]
[null,null,null,3.6528562888121015E-2,43080.376747684924,59.958301544189453,9.2206707000732422,19,1,8.8293292999267585,3.6528562888121015E-2,4.6229328864660015,null,null,null,43080.370497684926,400]
[null,null,null,3.7188798953325337E-2,43080.376770833071,59.958198547363281,9.4856157302856445,19,1,8.5643842697143562,3.7188798953325337E-2,4.6235931225312061,null,null,null,43080.370520833072,400]
[null,null,null,3.6528562888121015E-2,43080.376793981217,59.958301544189453,9.4856157302856445,19,1,8.5643842697143562,3.6528562888121015E-2,4.6229328864660015,null,null,null,43080.370543981218,400]
[null,null,null,3.0733157426883029E-2,43080.376817129363,59.959205627441406,9.4856157302856445,19,1,8.5643842697143562,3.0733157426883029E-2,4.6171374810047636,null,null,null,43080.370567129365,400]
[null,null,null,1.4056083483573735E-2,43080.376840277509,59.961807250976562,9.4856157302856445,19,1,8.5643842697143562,1.4056083483573735E-2,4.6004604070614548,null,null,null,43080.370590277511,400]
[null,null,null,3.8346510667067483E-3,43080.376863425656,59.963401794433594,9.5740585327148437,19,1,8.475941467285157,3.8346510667067483E-3,4.5902389746445875,null,null,null,43080.370613425657,400]
[null,null,null,0,43080.376886573802,59.964595794677734,9.7053594589233398,19,1,8.3446405410766609,0,9.7053594589233398,null,null,null,43080.370636573803,400]
[null,null,null,0,43080.376909721948,59.9656982421875,9.7053594589233398,19,1,8.3446405410766609,0,9.7053594589233398,null,null,null,43080.37065972195,400]
[null,null,null,0,43080.376932870095,59.966396331787109,9.7053594589233398,19,1,8.3446405410766609,0,9.7053594589233398,null,null,null,43080.370682870096,400]
[null,null,null,0,43080.376956018241,59.967391967773438,9.7053594589233398,19,1,8.3446405410766609,0,9.7053594589233398,null,null,null,43080.370706018242,400]
[null,null,null,0,43080.376979166387,59.968193054199219,10.249792098999023,19,1,7.8002079010009773,0,10.249792098999023,null,null,null,43080.370729166389,400]
[null,null,null,0,43080.377002314533,59.968498229980469,11.097071647644043,19,1,6.9529283523559577,0,11.097071647644043,null,null,null,43080.370752314535,400]
[null,null,null,0,43080.37702546268,59.968498229980469,11.097071647644043,19,1,6.9529283523559577,0,11.097071647644043,null,null,null,43080.370775462681,400]
[null,null,null,0,43080.377048610826,59.969089508056641,11.097071647644043,19,1,6.9529283523559577,0,11.097071647644043,null,null,null,43080.370798610827,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.370821758974,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.37084490712,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.370868055266,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.370891203413,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.370914351559,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.370937499705,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.370960647851,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.370983795998,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371006944144,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.37103009229,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371053240437,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371076388583,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371099536729,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371122684875,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371145833022,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371168981168,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371192129314,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371215277461,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371238425607,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371261573753,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371284721899,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371307870046,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371331018192,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371354166338,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371377314485,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371400462631,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371423610777,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371446758923,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.37146990707,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371493055216,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371516203362,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371539351509,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371562499655,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371585647801,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371608795947,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371631944094,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.37165509224,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371678240386,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371701388533,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371724536679,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371747684825,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371770832971,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371793981118,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"P236+TIME(0,0,2)","v":43080.371817129264},400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.37184027741,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371863425557,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371886573703,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371909721849,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371932869995,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371956018142,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.371979166288,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372002314434,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.37202546258,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372048610727,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372071758873,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372094907019,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372118055166,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372141203312,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372164351458,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372187499604,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372210647751,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372233795897,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372256944043,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.37228009219,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372303240336,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372326388482,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372349536628,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372372684775,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372395832921,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372418981067,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372442129214,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.37246527736,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372488425506,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372511573652,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372534721799,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372557869945,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372581018091,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372604166238,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372627314384,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.37265046253,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372673610676,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372696758823,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372719906969,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372743055115,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372766203262,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372789351408,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372812499554,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.3728356477,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372858795847,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372881943993,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372905092139,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372928240286,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372951388432,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372974536578,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.372997684724,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373020832871,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373043981017,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373067129163,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.37309027731,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373113425456,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373136573602,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373159721748,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373182869895,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373206018041,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373229166187,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373252314334,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.37327546248,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"P300+TIME(0,0,2)","v":43080.373298610626},400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373321758772,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373344906919,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373368055065,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373391203211,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373414351357,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373437499504,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.37346064765,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373483795796,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373506943943,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373530092089,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373553240235,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373576388381,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373599536528,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373622684674,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.37364583282,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373668980967,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373692129113,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373715277259,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373738425405,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373761573552,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373784721698,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373807869844,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373831017991,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373854166137,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373877314283,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373900462429,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373923610576,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373946758722,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373969906868,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.373993055015,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.374016203161,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.374039351307,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.374062499453,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.3740856476,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.374108795746,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.374131943892,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.374155092039,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.374178240185,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.374201388331,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.374224536477,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.374247684624,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43080.37427083277,400]

{"sheet":"Sheet1","index":2,"n_rows":30,"n_cols":8,"rows_kept":30,"cut":false,"hidden":false,"merged":[]}
[{"$f":"Event!B15","v":"2017-12-11T08:57:57"},null,null,null,{"$f":"_xll.PIAdvCalcDat(Sheet1!$A$5,Sheet1!$A$1,Sheet1!$A$2,Sheet1!$A$3,\"average (time-weighted)\",\"time-weighted\",0,1,65,\"\")","v":"2017-12-11T08:57:57"},60.017542911639381,null,60.00318937523808]
[{"$f":"Event!B16","v":"2017-12-11T09:02:57"},null,null,null,"2017-12-11T08:58:07",60.017614499315229,null,60.001479609607316]
["10s",null,null,null,"2017-12-11T08:58:17",60.015620596540067,null,60.001450185693784]
[null,null,null,null,"2017-12-11T08:58:27",60.015259052494116,null,60.004699698965034]
["ca_rt_fq/pjmc:freq-agc freq:hz",null,null,null,"2017-12-11T08:58:37",60.016521549670095,null,60.001077634923561]
[null,null,null,null,"2017-12-11T08:58:47",60.013163362268301,null,60.000360088131245]
[null,null,null,null,"2017-12-11T08:58:57",59.971944624667366,null,59.981847788695269]
[null,null,null,null,"2017-12-11T08:59:07",59.958891950307589,null,59.949321056699283]
[null,null,null,null,"2017-12-11T08:59:17",59.962289870002131,null,59.952584597631152]
[null,null,null,null,"2017-12-11T08:59:27",59.963234471267242,null,59.948891440858326]
[null,null,null,null,"2017-12-11T08:59:37",59.96154383659804,null,59.951685047620344]
[null,null,null,null,"2017-12-11T08:59:47",59.962682815700134,null,59.951523416527074]
[null,null,null,null,"2017-12-11T08:59:57",59.962805601175091,null,59.950000861739078]
[null,null,null,null,"2017-12-11T09:00:07",59.961477812140132,null,59.946982251847352]
[null,null,null,null,"2017-12-11T09:00:17",59.963578214315476,null,59.948472087375947]
[null,null,null,null,"2017-12-11T09:00:27",59.965088168980287,null,59.950491508126888]
[null,null,null,null,"2017-12-11T09:00:37",59.967432527077577,null,59.952664328807906]
[null,null,null,null,"2017-12-11T09:00:47",59.969247663990267,null,59.952805532870471]
[null,null,null,null,"2017-12-11T09:00:57",59.967858426786542,null,59.953990755144922]
[null,null,null,null,"2017-12-11T09:01:07",59.968930750290745,null,59.955677019189125]
[null,null,null,null,"2017-12-11T09:01:17",59.97031711053247,null,59.960839741909581]
[null,null,null,null,"2017-12-11T09:01:27",59.973481656847511,null,59.96545306075577]
[null,null,null,null,"2017-12-11T09:01:37",59.971818807813897,null,59.9662278372301]
[null,null,null,null,"2017-12-11T09:01:47",59.971831058024577,null,59.973548302326961]
[null,null,null,null,"2017-12-11T09:01:57",59.967132881396935,null,59.980357982231681]
[null,null,null,null,"2017-12-11T09:02:07",59.963497022451634,null,59.984331604417719]
[null,null,null,null,"2017-12-11T09:02:17",59.961505352690743,null,59.990952861492914]
[null,null,null,null,"2017-12-11T09:02:27",59.958724933809115,null,59.994392579084703]
[null,null,null,null,"2017-12-11T09:02:37",59.963709287365432,null,59.994386206469684]
[null,null,null,null,"2017-12-11T09:02:47",59.968053217652695,null,60.000028868958985]