## COMED STE Line Rating
STE Line Ratings:
Company | Voltage | Line Number | STE Limit
ComEd | 138 KV | 38L0702 | 2hr
ComEd | 138 KV | 38L0702 Z1 | 2hr
ComEd | 138 KV | 38L0705 | 2hr
ComEd | 138 KV | 38L0705 Z1 | 2hr
ComEd | 138 KV | 38L0706 | 2hr
ComEd | 138 KV | 38L0707 1 | 2hr
ComEd | 138 KV | 38L0707 2 | 2hr
ComEd | 138 KV | 38L0707 3 | 2hr
ComEd | 138 KV | 38L0708 1 | 2hr
ComEd | 138 KV | 38L0708 2 | 2hr
ComEd | 138 KV | 38L0708 3 | 2hr
ComEd | 138 KV | 38L0708 4 | 2hr
ComEd | 138 KV | 38L0708 5 | 2hr
ComEd | 138 KV | 38L0716 | 2hr
ComEd | 138 KV | 38L1106 | 2hr
ComEd | 138 KV | 38L1106 1 | 2hr
ComEd | 138 KV | 38L1107 | 2hr
ComEd | 138 KV | 38L1108 | 2hr
ComEd | 138 KV | 38L1108 1 | 2hr
ComEd | 138 KV | 38L1109 | 2hr
ComEd | 138 KV | 38L1110 | 2hr
ComEd | 138 KV | 38L1110 Z1 | 2hr
ComEd | 138 KV | 38L1111 | 2hr
ComEd | 138 KV | 38L1111 Z1 | 2hr
ComEd | 138 KV | 38L11412 | 2hr
ComEd | 138 KV | 38L11412 Z1 | 2hr
ComEd | 138 KV | 38L11413 | 2hr
ComEd | 138 KV | 38L11413 Z1 | 2hr
ComEd | 138 KV | 38L11417 | 2hr
ComEd | 138 KV | 38L11417 Z1 | 2hr
ComEd | 138 KV | 38L11418 | 2hr
ComEd | 138 KV | 38L11418 Z1 | 2hr
ComEd | 138 KV | 38L1205 9 | 2hr
ComEd | 138 KV | 38L1206 6 | 2hr
ComEd | 138 KV | 38L1306 1 | 2hr
ComEd | 138 KV | 38L1317 | 2hr
ComEd | 138 KV | 38L1317 Z1 | 2hr
ComEd | 138 KV | 38L1318 1 | 2hr
ComEd | 138 KV | 38L1318 Z1 | 2hr
ComEd | 138 KV | 38L1320 | 2hr
ComEd | 138 KV | 38L1320 Z1 | 2hr
ComEd | 138 KV | 38L1321 2 | 2hr
ComEd | 138 KV | 38L1321 Z1 | 2hr
ComEd | 138 KV | 38L1322 1 | 2hr
ComEd | 138 KV | 38L1322 6 | 2hr
ComEd | 138 KV | 38L1323 2 | 2hr
ComEd | 138 KV | 38L1323 Z1 | 2hr
ComEd | 138 KV | 38L1326 | 2hr
ComEd | 138 KV | 38L1326 Z1 | 2hr
ComEd | 138 KV | 38L13701 1 | 2hr
ComEd | 138 KV | 38L13701 2 | 2hr
ComEd | 138 KV | 38L13805 4 | 2hr
ComEd | 138 KV | 38L13806 4 | 2hr
ComEd | 138 KV | 38L14807 | 2hr
ComEd | 138 KV | 38L14809 | 2hr
ComEd | 138 KV | 38L14812 | 2hr
ComEd | 138 KV | 38L14813 | 2hr
ComEd | 138 KV | 38L14818 | 2hr
ComEd | 138 KV | 38L14826 | 2hr
ComEd | 138 KV | 38L14828 | 2hr
ComEd | 138 KV | 38L15301 | 2hr
ComEd | 138 KV | 38L15302 | 2hr
ComEd | 138 KV | 38L15302 Z1 | 2hr
ComEd | 138 KV | 38L15303 | 2hr
ComEd | 138 KV | 38L15303 Z1 | 2hr
ComEd | 138 KV | 38L15304 | 2hr
ComEd | 138 KV | 38L15305 | 2hr
ComEd | 138 KV | 38L15306 | 2hr
ComEd | 138 KV | 38L15307 | 2hr
ComEd | 138 KV | 38L15310 | 2hr
ComEd | 138 KV | 38L15312 | 2hr
ComEd | 138 KV | 38L15313 | 2hr
ComEd | 138 KV | 38L15315 1 | 2hr
ComEd | 138 KV | 38L15315 2 | 2hr
ComEd | 138 KV | 38L15316 | 2hr
ComEd | 138 KV | 38L15317 1 | 2hr
ComEd | 138 KV | 38L15317 2 | 2hr
ComEd | 138 KV | 38L15318 | 2hr
ComEd | 138 KV | 38L17008 | 2hr
ComEd | 138 KV | 38L17008 Z1 | 2hr
ComEd | 138 KV | 38L17401 | 2hr
ComEd | 138 KV | 38L17404 | 2hr
ComEd | 138 KV | 38L19209 | 2hr
ComEd | 138 KV | 38L19209 Z1 | 2hr
ComEd | 138 KV | 38L19711 | 2hr
ComEd | 138 KV | 38L19714 | 2hr
ComEd | 138 KV | 38L3610 | 2hr
ComEd | 138 KV | 38L3611 | 2hr
ComEd | 138 KV | 38L3701 Z1 | 2hr
ComEd | 138 KV | 38L3701X 1 | 2hr
ComEd | 138 KV | 38L3701X 2 | 2hr
ComEd | 138 KV | 38L3701X 3 | 2hr
ComEd | 138 KV | 38L3701Y | 2hr
ComEd | 138 KV | 38L3702 Z1 | 2hr
ComEd | 138 KV | 38L3702X 1 | 2hr
ComEd | 138 KV | 38L3702X 2 | 2hr
ComEd | 138 KV | 38L3702X 3 | 2hr
ComEd | 138 KV | 38L3702Y | 2hr
ComEd | 138 KV | 38L3703 Z1 | 2hr
ComEd | 138 KV | 38L3703X 1 | 2hr
ComEd | 138 KV | 38L3703X 2 | 2hr
ComEd | 138 KV | 38L3703X 3 | 2hr
ComEd | 138 KV | 38L3703Y | 2hr
ComEd | 138 KV | 38L3704 Z1 | 2hr
ComEd | 138 KV | 38L3704X 1 | 2hr
ComEd | 138 KV | 38L3704X 2 | 2hr
ComEd | 138 KV | 38L3704X 3 | 2hr
ComEd | 138 KV | 38L3704Y | 2hr
ComEd | 138 KV | 38L3705 | 2hr
ComEd | 138 KV | 38L3705 Z1 | 2hr
ComEd | 138 KV | 38L3709 | 2hr
ComEd | 138 KV | 38L3709 Z1 | 2hr
ComEd | 138 KV | 38L3710 | 2hr
ComEd | 138 KV | 38L4013 1 | 2hr
ComEd | 138 KV | 38L4013 2 | 2hr
ComEd | 138 KV | 38L4013 Z1 | 2hr
ComEd | 138 KV | 38L4018 | 2hr
ComEd | 138 KV | 38L4522 1 | 2hr
ComEd | 138 KV | 38L4523 | 2hr
ComEd | 138 KV | 38L4525 | 2hr
ComEd | 138 KV | 38L4527 | 2hr
ComEd | 138 KV | 38L5001 | 2hr
ComEd | 138 KV | 38L5002 | 2hr
ComEd | 138 KV | 38L5003 | 2hr
ComEd | 138 KV | 38L5004 | 2hr
ComEd | 138 KV | 38L5801 Z1 | 2hr
ComEd | 138 KV | 38L5802 Z1 | 2hr
ComEd | 138 KV | 38L5803 Z1 | 2hr
ComEd | 138 KV | 38L5804 Z1 | 2hr
ComEd | 138 KV | 38L5806 Z1 | 2hr
ComEd | 138 KV | 38L5807 Z1 | 2hr
ComEd | 138 KV | 38L5808 Z1 | 2hr
ComEd | 138 KV | 38L5809 Z1 | 2hr
ComEd | 138 KV | 38L5810 | 2hr
ComEd | 138 KV | 38L5811 | 2hr
ComEd | 138 KV | 38L5825 | 2hr
ComEd | 138 KV | 38L5826 | 2hr
ComEd | 138 KV | 38L5827 | 2hr
ComEd | 138 KV | 38L5828 | 2hr
ComEd | 138 KV | 38L6701 | 2hr
ComEd | 138 KV | 38L6702 | 2hr
ComEd | 138 KV | 38L6703 | 2hr
ComEd | 138 KV | 38L6704 | 2hr
ComEd | 138 KV | 38L6721 | 2hr
ComEd | 138 KV | 38L6723 | 2hr
ComEd | 138 KV | 38L8210 | 2hr
ComEd | 138 KV | 38L8211 | 2hr
ComEd | 138 KV | 38L8214 | 2hr
ComEd | 138 KV | 38L8221 1 | 2hr
ComEd | 138 KV | 38L8221 2 | 2hr
ComEd | 138 KV | 38L8223 | 2hr
ComEd | 345 KV | 45L1309 | 2hr
ComEd | 345 KV | 45L15323 | 2hr
ComEd | 345 KV | 45L17723 1 | 2hr
ComEd | 345 KV | 45L17723 2 | 2hr
ComEd | 345 KV | 45L17723 3 | 2hr
ComEd | 345 KV | 45L17723 Z1 | 2hr
ComEd | 345 KV | 45L17724 1 | 2hr
ComEd | 345 KV | 45L17724 2 | 2hr
ComEd | 345 KV | 45L17724 3 | 2hr
ComEd | 345 KV | 45L17724 Z1 | 2hr
ComEd | 138 KV | 38L0108 1 | 30min
ComEd | 138 KV | 38L0108 2 | 30min
ComEd | 138 KV | 38L0108 3 | 30min
ComEd | 138 KV | 38L0108 4 | 30min
ComEd | 138 KV | 38L0112 | 30min
ComEd | 138 KV | 38L0321 | 30min
ComEd | 138 KV | 38L0703 1 | 30min
ComEd | 138 KV | 38L0703 2 | 30min
ComEd | 138 KV | 38L0703 3 | 30min
ComEd | 138 KV | 38L0703 4 | 30min
ComEd | 138 KV | 38L0703 5 | 30min
ComEd | 138 KV | 38L0704 1 | 30min
ComEd | 138 KV | 38L0704 2 | 30min
ComEd | 138 KV | 38L0704 3 | 30min
ComEd | 138 KV | 38L0704 4 | 30min
ComEd | 138 KV | 38L0704 5 | 30min
ComEd | 138 KV | 38L0901 1 | 30min
ComEd | 138 KV | 38L0901 2 | 30min
ComEd | 138 KV | 38L0901 3 | 30min
ComEd | 138 KV | 38L0901 4 | 30min
ComEd | 138 KV | 38L0901 5 | 30min
ComEd | 138 KV | 38L0901 6 | 30min
ComEd | 138 KV | 38L0901 7 | 30min
ComEd | 138 KV | 38L0901 Z1 | 30min
ComEd | 138 KV | 38L0901 Z2 | 30min
ComEd | 138 KV | 38L0901 Z3 | 30min
ComEd | 138 KV | 38L0901 Z4 | 30min
ComEd | 138 KV | 38L0902 1 | 30min
ComEd | 138 KV | 38L0902 2 | 30min
ComEd | 138 KV | 38L0902 3 | 30min
ComEd | 138 KV | 38L0902 4 | 30min
ComEd | 138 KV | 38L0902 5 | 30min
ComEd | 138 KV | 38L0902 6 | 30min
ComEd | 138 KV | 38L0902 7 | 30min
ComEd | 138 KV | 38L0902 8 | 30min
ComEd | 138 KV | 38L0902 Z1 | 30min
ComEd | 138 KV | 38L0902 Z2 | 30min
ComEd | 138 KV | 38L0902 Z3 | 30min
ComEd | 138 KV | 38L0903 1 | 30min
ComEd | 138 KV | 38L0903 10 | 30min
ComEd | 138 KV | 38L0903 11 | 30min
ComEd | 138 KV | 38L0903 12 | 30min
ComEd | 138 KV | 38L0903 13 | 30min
ComEd | 138 KV | 38L0903 14 | 30min
ComEd | 138 KV | 38L0903 2 | 30min
ComEd | 138 KV | 38L0903 3 | 30min
ComEd | 138 KV | 38L0903 4 | 30min
ComEd | 138 KV | 38L0903 5 | 30min
ComEd | 138 KV | 38L0903 6 | 30min
ComEd | 138 KV | 38L0903 7 | 30min
ComEd | 138 KV | 38L0903 8 | 30min
ComEd | 138 KV | 38L0903 9 | 30min
ComEd | 138 KV | 38L0903 Z1 | 30min
ComEd | 138 KV | 38L0903 Z2 | 30min
ComEd | 138 KV | 38L0904 1 | 30min
ComEd | 138 KV | 38L0904 2 | 30min
ComEd | 138 KV | 38L0904 3 | 30min
ComEd | 138 KV | 38L0904 4 | 30min
ComEd | 138 KV | 38L0904 5 | 30min
ComEd | 138 KV | 38L0904 6 | 30min
ComEd | 138 KV | 38L0904 7 | 30min
ComEd | 138 KV | 38L0904 Z1 | 30min
ComEd | 138 KV | 38L0904 Z2 | 30min
ComEd | 138 KV | 38L0905 1 | 30min
ComEd | 138 KV | 38L0905 10 | 30min
ComEd | 138 KV | 38L0905 2 | 30min
ComEd | 138 KV | 38L0905 3 | 30min
ComEd | 138 KV | 38L0905 4 | 30min
ComEd | 138 KV | 38L0905 5 | 30min
ComEd | 138 KV | 38L0905 6 | 30min
ComEd | 138 KV | 38L0905 7 | 30min
ComEd | 138 KV | 38L0905 8 | 30min
ComEd | 138 KV | 38L0905 9 | 30min
ComEd | 138 KV | 38L0905 Z1 | 30min
ComEd | 138 KV | 38L0906 1 | 30min
ComEd | 138 KV | 38L0906 10 | 30min
ComEd | 138 KV | 38L0906 11 | 30min
ComEd | 138 KV | 38L0906 2 | 30min
ComEd | 138 KV | 38L0906 3 | 30min
ComEd | 138 KV | 38L0906 4 | 30min
ComEd | 138 KV | 38L0906 5 | 30min
ComEd | 138 KV | 38L0906 6 | 30min
ComEd | 138 KV | 38L0906 7 | 30min
ComEd | 138 KV | 38L0906 8 | 30min
ComEd | 138 KV | 38L0906 9 | 30min
ComEd | 138 KV | 38L0906 Z1 | 30min
ComEd | 138 KV | 38L0907 1 | 30min
ComEd | 138 KV | 38L0907 2 | 30min
ComEd | 138 KV | 38L0907 3 | 30min
ComEd | 138 KV | 38L0907 4 | 30min
ComEd | 138 KV | 38L0907 5 | 30min
ComEd | 138 KV | 38L0907 6 | 30min
ComEd | 138 KV | 38L0907 7 | 30min
ComEd | 138 KV | 38L0907 8 | 30min
ComEd | 138 KV | 38L0907 9 | 30min
ComEd | 138 KV | 38L0907 Z1 | 30min
ComEd | 138 KV | 38L0907 Z2 | 30min
ComEd | 138 KV | 38L0908 1 | 30min
ComEd | 138 KV | 38L0908 2 | 30min
ComEd | 138 KV | 38L0908 3 | 30min
ComEd | 138 KV | 38L0908 4 | 30min
ComEd | 138 KV | 38L0908 Z1 | 30min
ComEd | 138 KV | 38L0908 Z2 | 30min
ComEd | 138 KV | 38L10301 1 | 30min
ComEd | 138 KV | 38L10301 2 | 30min
ComEd | 138 KV | 38L10301 3 | 30min
ComEd | 138 KV | 38L10301 4 | 30min
ComEd | 138 KV | 38L10301 7 | 30min
ComEd | 138 KV | 38L10301 Z1 | 30min
ComEd | 138 KV | 38L10301 Z2 | 30min
ComEd | 138 KV | 38L10301 Z3 | 30min
ComEd | 138 KV | 38L10302 1 | 30min
ComEd | 138 KV | 38L10302 2 | 30min
ComEd | 138 KV | 38L10302 3 | 30min
ComEd | 138 KV | 38L10302 4 | 30min
ComEd | 138 KV | 38L10302 7 | 30min
ComEd | 138 KV | 38L10302 Z1 | 30min
ComEd | 138 KV | 38L10302 Z2 | 30min
ComEd | 138 KV | 38L10302 Z3 | 30min
ComEd | 138 KV | 38L10302 Z4 | 30min
ComEd | 138 KV | 38L10302 Z5 | 30min
ComEd | 138 KV | 38L10714 | 30min
ComEd | 138 KV | 38L10721 1 | 30min
ComEd | 138 KV | 38L10721 2 | 30min
ComEd | 138 KV | 38L11102 1 | 30min
ComEd | 138 KV | 38L11102 2 | 30min
ComEd | 138 KV | 38L11102 8 | 30min
ComEd | 138 KV | 38L11102 9 | 30min
ComEd | 138 KV | 38L11102 Z2 | 30min
ComEd | 138 KV | 38L11103 | 30min
ComEd | 138 KV | 38L11104 1 | 30min
ComEd | 138 KV | 38L11104 2 | 30min
ComEd | 138 KV | 38L11104 3 | 30min
ComEd | 138 KV | 38L11104 Z3 | 30min
ComEd | 138 KV | 38L11104 Z4 | 30min
ComEd | 138 KV | 38L11105 | 30min
ComEd | 138 KV | 38L11106 1 | 30min
ComEd | 138 KV | 38L11106 2 | 30min
ComEd | 138 KV | 38L11106 3 | 30min
ComEd | 138 KV | 38L11106 4 | 30min
ComEd | 138 KV | 38L11106 6 | 30min
ComEd | 138 KV | 38L11106 7 | 30min
ComEd | 138 KV | 38L11106 Z1 | 30min
ComEd | 138 KV | 38L11106 Z2 | 30min
ComEd | 138 KV | 38L11106 Z3 | 30min
ComEd | 138 KV | 38L11107 1 | 30min
ComEd | 138 KV | 38L11107 2 | 30min
ComEd | 138 KV | 38L11107 3 | 30min
ComEd | 138 KV | 38L11110 1 | 30min
ComEd | 138 KV | 38L11110 2 | 30min
ComEd | 138 KV | 38L11110 3 | 30min
ComEd | 138 KV | 38L11110 4 | 30min
ComEd | 138 KV | 38L11110 Z1 | 30min
ComEd | 138 KV | 38L11301 | 30min
ComEd | 138 KV | 38L11301 Z1 | 30min
ComEd | 138 KV | 38L11323 1 | 30min
ComEd | 138 KV | 38L11323 2 | 30min
ComEd | 138 KV | 38L11323 3 | 30min
ComEd | 138 KV | 38L11323 4 | 30min
ComEd | 138 KV | 38L11323 Z1 | 30min
ComEd | 138 KV | 38L11407 | 30min
ComEd | 138 KV | 38L11408 | 30min
ComEd | 138 KV | 38L11411 1 | 30min
ComEd | 138 KV | 38L11414 1 | 30min
ComEd | 138 KV | 38L11414 2 | 30min
ComEd | 138 KV | 38L11414 3 | 30min
ComEd | 138 KV | 38L11415 1 | 30min
ComEd | 138 KV | 38L11415 2 | 30min
ComEd | 138 KV | 38L11415 3 | 30min
ComEd | 138 KV | 38L11416 1 | 30min
ComEd | 138 KV | 38L11416 2 | 30min
ComEd | 138 KV | 38L11416 3 | 30min
ComEd | 138 KV | 38L11416 4 | 30min
ComEd | 138 KV | 38L11416 5 | 30min
ComEd | 138 KV | 38L11521 1 | 30min
ComEd | 138 KV | 38L11521 2 | 30min
ComEd | 138 KV | 38L11523 1 | 30min
ComEd | 138 KV | 38L11523 2 | 30min
ComEd | 138 KV | 38L11603 1 | 30min
ComEd | 138 KV | 38L11603 2 | 30min
ComEd | 138 KV | 38L11603 3 | 30min
ComEd | 138 KV | 38L11603 7 | 30min
ComEd | 138 KV | 38L11603 Z1 | 30min
ComEd | 138 KV | 38L11605 1 | 30min
ComEd | 138 KV | 38L11605 2 | 30min
ComEd | 138 KV | 38L11605 3 | 30min
ComEd | 138 KV | 38L11605 4 | 30min
ComEd | 138 KV | 38L11605 5 | 30min
ComEd | 138 KV | 38L11605 Z1 | 30min
ComEd | 138 KV | 38L11605 Z2 | 30min
ComEd | 138 KV | 38L11605 Z3 | 30min
ComEd | 138 KV | 38L11605 Z4 | 30min
ComEd | 138 KV | 38L11606 1 | 30min
ComEd | 138 KV | 38L11606 2 | 30min
ComEd | 138 KV | 38L11606 3 | 30min
ComEd | 138 KV | 38L11606 4 | 30min
ComEd | 138 KV | 38L11606 5 | 30min
ComEd | 138 KV | 38L11606 Z1 | 30min
ComEd | 138 KV | 38L11606 Z2 | 30min
ComEd | 138 KV | 38L11606 Z3 | 30min
ComEd | 138 KV | 38L11606 Z4 | 30min
ComEd | 138 KV | 38L11609 1 | 30min
ComEd | 138 KV | 38L11609 2 | 30min
ComEd | 138 KV | 38L11609 3 | 30min
ComEd | 138 KV | 38L11609 9 | 30min
ComEd | 138 KV | 38L11609 Z1 | 30min
ComEd | 138 KV | 38L11701 1 | 30min
ComEd | 138 KV | 38L11701 2 | 30min
ComEd | 138 KV | 38L11701 Z1 | 30min
ComEd | 138 KV | 38L11702 1 | 30min
ComEd | 138 KV | 38L11702 2 | 30min
ComEd | 138 KV | 38L11702 3 | 30min
ComEd | 138 KV | 38L11703 1 | 30min
ComEd | 138 KV | 38L11703 2 | 30min
ComEd | 138 KV | 38L11703 3 | 30min
ComEd | 138 KV | 38L11704 1 | 30min
ComEd | 138 KV | 38L11704 2 | 30min
ComEd | 138 KV | 38L11704 3 | 30min
ComEd | 138 KV | 38L11704 4 | 30min
ComEd | 138 KV | 38L11704 5 | 30min
ComEd | 138 KV | 38L11704 6 | 30min
ComEd | 138 KV | 38L11704 7 | 30min
ComEd | 138 KV | 38L11704 8 | 30min
ComEd | 138 KV | 38L11704 Z1 | 30min
ComEd | 138 KV | 38L11704 Z2 | 30min
ComEd | 138 KV | 38L11704 Z3 | 30min
ComEd | 138 KV | 38L11704 Z4 | 30min
ComEd | 138 KV | 38L11705 1 | 30min
ComEd | 138 KV | 38L11705 2 | 30min
ComEd | 138 KV | 38L11705 3 | 30min
ComEd | 138 KV | 38L11708 1 | 30min
ComEd | 138 KV | 38L11708 2 | 30min
ComEd | 138 KV | 38L11708 3 | 30min
ComEd | 138 KV | 38L11708 4 | 30min
ComEd | 138 KV | 38L11708 5 | 30min
ComEd | 138 KV | 38L11708 6 | 30min
ComEd | 138 KV | 38L11708 7 | 30min
ComEd | 138 KV | 38L11708 8 | 30min
ComEd | 138 KV | 38L11708 9 | 30min
ComEd | 138 KV | 38L11708 Z2 | 30min
ComEd | 138 KV | 38L11708 Z3 | 30min
ComEd | 138 KV | 38L11708 Z4 | 30min
ComEd | 138 KV | 38L11801 1 | 30min
ComEd | 138 KV | 38L11901 1 | 30min
ComEd | 138 KV | 38L11901 Z1 | 30min
ComEd | 138 KV | 38L11902 10 | 30min
ComEd | 138 KV | 38L11902 4 | 30min
ComEd | 138 KV | 38L11902 5 | 30min
ComEd | 138 KV | 38L11902 6 | 30min
ComEd | 138 KV | 38L11902 7 | 30min
ComEd | 138 KV | 38L11902 8 | 30min
ComEd | 138 KV | 38L11902 9 | 30min
ComEd | 138 KV | 38L11904 1 | 30min
ComEd | 138 KV | 38L11904 2 | 30min
ComEd | 138 KV | 38L11904 3 | 30min
ComEd | 138 KV | 38L11904 4 | 30min
ComEd | 138 KV | 38L11904 5 | 30min
ComEd | 138 KV | 38L12007 1 | 30min
ComEd | 138 KV | 38L12007 2 | 30min
ComEd | 138 KV | 38L12007 3 | 30min
ComEd | 138 KV | 38L12007 4 | 30min
ComEd | 138 KV | 38L12008 1 | 30min
ComEd | 138 KV | 38L12008 2 | 30min
ComEd | 138 KV | 38L12008 3 | 30min
ComEd | 138 KV | 38L12008 4 | 30min
ComEd | 138 KV | 38L12008 5 | 30min
ComEd | 138 KV | 38L12008 6 | 30min
ComEd | 138 KV | 38L12011 1 | 30min
ComEd | 138 KV | 38L12011 Z1 | 30min
ComEd | 138 KV | 38L12015 1 | 30min
ComEd | 138 KV | 38L12015 2 | 30min
ComEd | 138 KV | 38L12015 3 | 30min
ComEd | 138 KV | 38L12015 4 | 30min
ComEd | 138 KV | 38L12015 Z1 | 30min
ComEd | 138 KV | 38L12016 1 | 30min
ComEd | 138 KV | 38L12016 2 | 30min
ComEd | 138 KV | 38L12016 3 | 30min
ComEd | 138 KV | 38L12016 4 | 30min
ComEd | 138 KV | 38L12016 Z1 | 30min
ComEd | 138 KV | 38L1205 1 | 30min
ComEd | 138 KV | 38L1205 2 | 30min
ComEd | 138 KV | 38L1205 3 | 30min
ComEd | 138 KV | 38L1205 4 | 30min
ComEd | 138 KV | 38L1205 5 | 30min
ComEd | 138 KV | 38L1205 6 | 30min
ComEd | 138 KV | 38L1205 8 | 30min
ComEd | 138 KV | 38L1206 1 | 30min
ComEd | 138 KV | 38L1206 2 | 30min
ComEd | 138 KV | 38L1206 3 | 30min
ComEd | 138 KV | 38L1206 4 | 30min
ComEd | 138 KV | 38L1206 5 | 30min
ComEd | 138 KV | 38L1206 7 | 30min
ComEd | 138 KV | 38L1206 8 | 30min
ComEd | 138 KV | 38L1206 Z1 | 30min
ComEd | 138 KV | 38L1207 1 | 30min
ComEd | 138 KV | 38L1207 2 | 30min
ComEd | 138 KV | 38L1207 Z1 | 30min
ComEd | 138 KV | 38L1207 Z2 | 30min
ComEd | 138 KV | 38L1210 1 | 30min
ComEd | 138 KV | 38L1210 2 | 30min
ComEd | 138 KV | 38L1210 3 | 30min
ComEd | 138 KV | 38L1210 4 | 30min
ComEd | 138 KV | 38L1210 5 | 30min
ComEd | 138 KV | 38L1210 6 | 30min
ComEd | 138 KV | 38L1210 Z1 | 30min
ComEd | 138 KV | 38L12204 1 | 30min
ComEd | 138 KV | 38L12204 2 | 30min
ComEd | 138 KV | 38L12204 5 | 30min
ComEd | 138 KV | 38L12205 1 | 30min
ComEd | 138 KV | 38L12205 2 | 30min
ComEd | 138 KV | 38L12205 5 | 30min
ComEd | 138 KV | 38L12205 Z1 | 30min
ComEd | 138 KV | 38L12205 Z2 | 30min
ComEd | 138 KV | 38L12411 1 | 30min
ComEd | 138 KV | 38L12411 2 | 30min
ComEd | 138 KV | 38L12411 3 | 30min
ComEd | 138 KV | 38L12411 Z1 | 30min
ComEd | 138 KV | 38L1306 3 | 30min
ComEd | 138 KV | 38L1306 4 | 30min
ComEd | 138 KV | 38L1315 1 | 30min
ComEd | 138 KV | 38L1315 2 | 30min
ComEd | 138 KV | 38L1315 3 | 30min
ComEd | 138 KV | 38L13219 | 30min
ComEd | 138 KV | 38L1322 2 | 30min
ComEd | 138 KV | 38L1322 3 | 30min
ComEd | 138 KV | 38L1322 4 | 30min
ComEd | 138 KV | 38L1322 5 | 30min
ComEd | 138 KV | 38L1324 1 | 30min
ComEd | 138 KV | 38L1324 2 | 30min
ComEd | 138 KV | 38L1324 3 | 30min
ComEd | 138 KV | 38L1324 4 | 30min
ComEd | 138 KV | 38L1324 5 | 30min
ComEd | 138 KV | 38L1324 6 | 30min
ComEd | 138 KV | 38L13315 1 | 30min
ComEd | 138 KV | 38L13315 3 | 30min
ComEd | 138 KV | 38L13501 1 | 30min
ComEd | 138 KV | 38L13501 2 | 30min
ComEd | 138 KV | 38L13501 3 | 30min
ComEd | 138 KV | 38L13501 Z1 | 30min
ComEd | 138 KV | 38L13501 Z2 | 30min
ComEd | 138 KV | 38L13502 1 | 30min
ComEd | 138 KV | 38L13502 2 | 30min
ComEd | 138 KV | 38L13502 3 | 30min
ComEd | 138 KV | 38L13502 Z1 | 30min
ComEd | 138 KV | 38L13502 Z2 | 30min
ComEd | 138 KV | 38L13503 1 | 30min
ComEd | 138 KV | 38L13503 Z1 | 30min
ComEd | 138 KV | 38L13504 | 30min
ComEd | 138 KV | 38L13505 1 | 30min
ComEd | 138 KV | 38L13505 2 | 30min
ComEd | 138 KV | 38L13505 Z4 | 30min
ComEd | 138 KV | 38L13506 1 | 30min
ComEd | 138 KV | 38L13506 2 | 30min
ComEd | 138 KV | 38L13506 Z1 | 30min
ComEd | 138 KV | 38L13510 1 | 30min
ComEd | 138 KV | 38L13510 Z1 | 30min
ComEd | 138 KV | 38L1352 1 | 30min
ComEd | 138 KV | 38L1352 2 | 30min
ComEd | 138 KV | 38L1352 4 | 30min
ComEd | 138 KV | 38L13803 | 30min
ComEd | 138 KV | 38L13805 1 | 30min
ComEd | 138 KV | 38L13805 2 | 30min
ComEd | 138 KV | 38L13805 3 | 30min
ComEd | 138 KV | 38L13805 5 | 30min
ComEd | 138 KV | 38L13805 Z1 | 30min
ComEd | 138 KV | 38L13805 Z2 | 30min
ComEd | 138 KV | 38L13806 1 | 30min
ComEd | 138 KV | 38L13806 2 | 30min
ComEd | 138 KV | 38L13806 3 | 30min
ComEd | 138 KV | 38L13806 Z1 | 30min
ComEd | 138 KV | 38L13808 4 | 30min
ComEd | 138 KV | 38L13808 5 | 30min
ComEd | 138 KV | 38L13808 6 | 30min
ComEd | 138 KV | 38L13808 7 | 30min
ComEd | 138 KV | 38L13809 1 | 30min
ComEd | 138 KV | 38L13809 2 | 30min
ComEd | 138 KV | 38L13809 3 | 30min
ComEd | 138 KV | 38L13809 4 | 30min
ComEd | 138 KV | 38L13809 Z1 | 30min
ComEd | 138 KV | 38L1382 1 | 30min
ComEd | 138 KV | 38L13853 | 30min
ComEd | 138 KV | 38L14101 | 30min
ComEd | 138 KV | 38L14102 1 | 30min
ComEd | 138 KV | 38L14102 2 | 30min
ComEd | 138 KV | 38L14102 Z1 | 30min
ComEd | 138 KV | 38L14103 1 | 30min
ComEd | 138 KV | 38L14103 2 | 30min
ComEd | 138 KV | 38L14103 Z1 | 30min
ComEd | 138 KV | 38L14106 | 30min
ComEd | 138 KV | 38L14106 Z1 | 30min
ComEd | 138 KV | 38L14302 1 | 30min
ComEd | 138 KV | 38L14302 2 | 30min
ComEd | 138 KV | 38L14302 3 | 30min
ComEd | 138 KV | 38L14302 4 | 30min
ComEd | 138 KV | 38L14302 5 | 30min
ComEd | 138 KV | 38L14302 6 | 30min
ComEd | 138 KV | 38L14302 7 | 30min
ComEd | 138 KV | 38L14302 Z1 | 30min
ComEd | 138 KV | 38L14302 Z2 | 30min
ComEd | 138 KV | 38L14302 Z3 | 30min
ComEd | 138 KV | 38L14302 Z4 | 30min
ComEd | 138 KV | 38L14302 Z5 | 30min
ComEd | 138 KV | 38L14304 1 | 30min
ComEd | 138 KV | 38L14304 2 | 30min
ComEd | 138 KV | 38L14304 3 | 30min
ComEd | 138 KV | 38L14304 4 | 30min
ComEd | 138 KV | 38L14304 6 | 30min
ComEd | 138 KV | 38L14304 Z1 | 30min
ComEd | 138 KV | 38L14304 Z2 | 30min
ComEd | 138 KV | 38L14304 Z5 | 30min
ComEd | 138 KV | 38L14403 1 | 30min
ComEd | 138 KV | 38L14403 2 | 30min
ComEd | 138 KV | 38L14403 3 | 30min
ComEd | 138 KV | 38L14403 4 | 30min
ComEd | 138 KV | 38L14403 5 | 30min
ComEd | 138 KV | 38L14405 1 | 30min
ComEd | 138 KV | 38L14405 2 | 30min
ComEd | 138 KV | 38L14405 3 | 30min
ComEd | 138 KV | 38L14405 4 | 30min
ComEd | 138 KV | 38L14405 5 | 30min
ComEd | 138 KV | 38L15001 1 | 30min
ComEd | 138 KV | 38L15001 2 | 30min
ComEd | 138 KV | 38L15001 Z1 | 30min
ComEd | 138 KV | 38L15002 1 | 30min
ComEd | 138 KV | 38L15002 2 | 30min
ComEd | 138 KV | 38L15002 Z1 | 30min
ComEd | 138 KV | 38L15507 1 | 30min
ComEd | 138 KV | 38L15507 Z1 | 30min
ComEd | 138 KV | 38L15507 Z2 | 30min
ComEd | 138 KV | 38L15508 1 | 30min
ComEd | 138 KV | 38L15508 2 | 30min
ComEd | 138 KV | 38L15508 3 | 30min
ComEd | 138 KV | 38L15508 4 | 30min
ComEd | 138 KV | 38L15508 Z1 | 30min
ComEd | 138 KV | 38L15508 Z2 | 30min
ComEd | 138 KV | 38L15508 Z3 | 30min
ComEd | 138 KV | 38L15509 | 30min
ComEd | 138 KV | 38L15511 2 | 30min
ComEd | 138 KV | 38L15511 Z1 | 30min
ComEd | 138 KV | 38L15518 1 | 30min
ComEd | 138 KV | 38L15518 2 | 30min
ComEd | 138 KV | 38L15518 3 | 30min
ComEd | 138 KV | 38L15518 4 | 30min
ComEd | 138 KV | 38L15518 5 | 30min
ComEd | 138 KV | 38L15621 1 | 30min
ComEd | 138 KV | 38L15621 2 | 30min
ComEd | 138 KV | 38L15621 3 | 30min
ComEd | 138 KV | 38L15622 1 | 30min
ComEd | 138 KV | 38L15622 2 | 30min
ComEd | 138 KV | 38L15622 3 | 30min
ComEd | 138 KV | 38L15623 1 | 30min
ComEd | 138 KV | 38L15623 2 | 30min
ComEd | 138 KV | 38L15623 3 | 30min
ComEd | 138 KV | 38L15623 4 | 30min
ComEd | 138 KV | 38L15623 5 | 30min
ComEd | 138 KV | 38L15623 6 | 30min
ComEd | 138 KV | 38L15624 1 | 30min
ComEd | 138 KV | 38L15624 2 | 30min
ComEd | 138 KV | 38L15624 3 | 30min
ComEd | 138 KV | 38L15624 Z1 | 30min
ComEd | 138 KV | 38L15625 1 | 30min
ComEd | 138 KV | 38L15625 10 | 30min
ComEd | 138 KV | 38L15625 11 | 30min
ComEd | 138 KV | 38L15625 2 | 30min
ComEd | 138 KV | 38L15625 3 | 30min
ComEd | 138 KV | 38L15625 4 | 30min
ComEd | 138 KV | 38L15625 5 | 30min
ComEd | 138 KV | 38L15625 6 | 30min
ComEd | 138 KV | 38L15625 7 | 30min
ComEd | 138 KV | 38L15625 8 | 30min
ComEd | 138 KV | 38L15625 9 | 30min
ComEd | 138 KV | 38L15625 Z1 | 30min
ComEd | 138 KV | 38L15626 1 | 30min
ComEd | 138 KV | 38L15626 2 | 30min
ComEd | 138 KV | 38L15626 3 | 30min
ComEd | 138 KV | 38L15627 1 | 30min
ComEd | 138 KV | 38L15627 2 | 30min
ComEd | 138 KV | 38L15627 3 | 30min
ComEd | 138 KV | 38L15627 4 | 30min
ComEd | 138 KV | 38L15627 Z1 | 30min
ComEd | 138 KV | 38L15912 1 | 30min
ComEd | 138 KV | 38L15912 2 | 30min
ComEd | 138 KV | 38L15912 3 | 30min
ComEd | 138 KV | 38L15912 4 | 30min
ComEd | 138 KV | 38L15912 5 | 30min
ComEd | 138 KV | 38L15913 1 | 30min
ComEd | 138 KV | 38L15913 2 | 30min
ComEd | 138 KV | 38L15913 3 | 30min
ComEd | 138 KV | 38L15913 4 | 30min
ComEd | 138 KV | 38L15913 5 | 30min
ComEd | 138 KV | 38L1603 1 | 30min
ComEd | 138 KV | 38L1603 2 | 30min
ComEd | 138 KV | 38L1603 3 | 30min
ComEd | 138 KV | 38L1603 4 | 30min
ComEd | 138 KV | 38L1603 5 | 30min
ComEd | 138 KV | 38L1603 6 | 30min
ComEd | 138 KV | 38L1603 Z1 | 30min
ComEd | 138 KV | 38L1604 1 | 30min
ComEd | 138 KV | 38L1604 2 | 30min
ComEd | 138 KV | 38L1604 3 | 30min
ComEd | 138 KV | 38L1604 5 | 30min
ComEd | 138 KV | 38L1605 1 | 30min
ComEd | 138 KV | 38L1605 10 | 30min
ComEd | 138 KV | 38L1605 11 | 30min
ComEd | 138 KV | 38L1605 2 | 30min
ComEd | 138 KV | 38L1605 3 | 30min
ComEd | 138 KV | 38L1605 4 | 30min
ComEd | 138 KV | 38L1605 5 | 30min
ComEd | 138 KV | 38L1605 6 | 30min
ComEd | 138 KV | 38L1605 7 | 30min
ComEd | 138 KV | 38L1605 8 | 30min
ComEd | 138 KV | 38L1605 9 | 30min
ComEd | 138 KV | 38L1605 Z1 | 30min
ComEd | 138 KV | 38L1605 Z2 | 30min
ComEd | 138 KV | 38L1605 Z3 | 30min
ComEd | 138 KV | 38L1606 1 | 30min
ComEd | 138 KV | 38L1606 10 | 30min
ComEd | 138 KV | 38L1606 2 | 30min
ComEd | 138 KV | 38L1606 3 | 30min
ComEd | 138 KV | 38L1606 4 | 30min
ComEd | 138 KV | 38L1606 5 | 30min
ComEd | 138 KV | 38L1606 6 | 30min
ComEd | 138 KV | 38L1606 7 | 30min
ComEd | 138 KV | 38L1606 8 | 30min
ComEd | 138 KV | 38L1606 9 | 30min
ComEd | 138 KV | 38L1606 Z1 | 30min
ComEd | 138 KV | 38L1606 Z2 | 30min
ComEd | 138 KV | 38L1606 Z3 | 30min
ComEd | 138 KV | 38L1606 Z4 | 30min
ComEd | 138 KV | 38L1606 Z5 | 30min
ComEd | 138 KV | 38L1607 1 | 30min
ComEd | 138 KV | 38L1607 2 | 30min
ComEd | 138 KV | 38L1607 3 | 30min
ComEd | 138 KV | 38L1607 4 | 30min
ComEd | 138 KV | 38L1607 5 | 30min
ComEd | 138 KV | 38L1607 6 | 30min
ComEd | 138 KV | 38L1607 Z1 | 30min
ComEd | 138 KV | 38L1607 Z2 | 30min
ComEd | 138 KV | 38L1608 1 | 30min
ComEd | 138 KV | 38L1608 2 | 30min
ComEd | 138 KV | 38L1608 3 | 30min
ComEd | 138 KV | 38L1608 4 | 30min
ComEd | 138 KV | 38L1609 | 30min
ComEd | 138 KV | 38L1609 Z1 | 30min
ComEd | 138 KV | 38L16901 1 | 30min
ComEd | 138 KV | 38L16901 2 | 30min
ComEd | 138 KV | 38L16901 Z1 | 30min
ComEd | 138 KV | 38L16901 Z2 | 30min
ComEd | 138 KV | 38L16914 1 | 30min
ComEd | 138 KV | 38L16914 2 | 30min
ComEd | 138 KV | 38L16914 3 | 30min
ComEd | 138 KV | 38L17105 1 | 30min
ComEd | 138 KV | 38L17105 2 | 30min
ComEd | 138 KV | 38L17105 3 | 30min
ComEd | 138 KV | 38L17105 4 | 30min
ComEd | 138 KV | 38L17105 5 | 30min
ComEd | 138 KV | 38L17105 6 | 30min
ComEd | 138 KV | 38L17105 7 | 30min
ComEd | 138 KV | 38L17105 Z1 | 30min
ComEd | 138 KV | 38L17113 1 | 30min
ComEd | 138 KV | 38L17113 2 | 30min
ComEd | 138 KV | 38L17113 5 | 30min
ComEd | 138 KV | 38L17113 6 | 30min
ComEd | 138 KV | 38L17121 1 | 30min
ComEd | 138 KV | 38L17121 2 | 30min
ComEd | 138 KV | 38L17121 Z1 | 30min
ComEd | 138 KV | 38L17712 1 | 30min
ComEd | 138 KV | 38L17712 2 | 30min
ComEd | 138 KV | 38L17712 3 | 30min
ComEd | 138 KV | 38L17712 4 | 30min
ComEd | 138 KV | 38L17712 Z1 | 30min
ComEd | 138 KV | 38L17712 Z2 | 30min
ComEd | 138 KV | 38L17712 Z3 | 30min
ComEd | 138 KV | 38L17713 1 | 30min
ComEd | 138 KV | 38L17713 3 | 30min
ComEd | 138 KV | 38L17713 5 | 30min
ComEd | 138 KV | 38L17714 1 | 30min
ComEd | 138 KV | 38L17714 2 | 30min
ComEd | 138 KV | 38L17714 3 | 30min
ComEd | 138 KV | 38L17714 5 | 30min
ComEd | 138 KV | 38L17714 6 | 30min
ComEd | 138 KV | 38L17714 8 | 30min
ComEd | 138 KV | 38L17714 9 | 30min
ComEd | 138 KV | 38L17715 | 30min
ComEd | 138 KV | 38L17903 1 | 30min
ComEd | 138 KV | 38L17903 2 | 30min
ComEd | 138 KV | 38L17903 Z1 | 30min
ComEd | 138 KV | 38L17904 1 | 30min
ComEd | 138 KV | 38L17904 2 | 30min
ComEd | 138 KV | 38L17904 Z1 | 30min
ComEd | 138 KV | 38L1802 1 | 30min
ComEd | 138 KV | 38L1802 2 | 30min
ComEd | 138 KV | 38L1802 3 | 30min
ComEd | 138 KV | 38L1802 4 | 30min
ComEd | 138 KV | 38L1802 5 | 30min
ComEd | 138 KV | 38L1803 1 | 30min
ComEd | 138 KV | 38L1803 10 | 30min
ComEd | 138 KV | 38L1803 2 | 30min
ComEd | 138 KV | 38L1803 3 | 30min
ComEd | 138 KV | 38L1803 4 | 30min
ComEd | 138 KV | 38L1803 5 | 30min
ComEd | 138 KV | 38L1803 6 | 30min
ComEd | 138 KV | 38L1803 7 | 30min
ComEd | 138 KV | 38L1803 8 | 30min
ComEd | 138 KV | 38L1803 9 | 30min
ComEd | 138 KV | 38L1803 Z1 | 30min
ComEd | 138 KV | 38L1803 Z2 | 30min
ComEd | 138 KV | 38L1803 Z3 | 30min
ComEd | 138 KV | 38L1803 Z4 | 30min
ComEd | 138 KV | 38L1804 1 | 30min
ComEd | 138 KV | 38L1804 2 | 30min
ComEd | 138 KV | 38L1804 3 | 30min
ComEd | 138 KV | 38L1804 4 | 30min
ComEd | 138 KV | 38L1804 7 | 30min
ComEd | 138 KV | 38L1804 8 | 30min
ComEd | 138 KV | 38L1804 Z1 | 30min
ComEd | 138 KV | 38L1804 Z2 | 30min
ComEd | 138 KV | 38L1804 Z3 | 30min
ComEd | 138 KV | 38L1804 Z4 | 30min
ComEd | 138 KV | 38L1807 1 | 30min
ComEd | 138 KV | 38L1807 2 | 30min
ComEd | 138 KV | 38L1807 3 | 30min
ComEd | 138 KV | 38L1808 1 | 30min
ComEd | 138 KV | 38L1808 2 | 30min
ComEd | 138 KV | 38L1808 3 | 30min
ComEd | 138 KV | 38L1808 4 | 30min
ComEd | 138 KV | 38L1808 Z1 | 30min
ComEd | 138 KV | 38L1809 1 | 30min
ComEd | 138 KV | 38L1809 2 | 30min
ComEd | 138 KV | 38L1809 3 | 30min
ComEd | 138 KV | 38L1809 4 | 30min
ComEd | 138 KV | 38L1809 5 | 30min
ComEd | 138 KV | 38L1809 6 | 30min
ComEd | 138 KV | 38L1809 7 | 30min
ComEd | 138 KV | 38L1809 8 | 30min
ComEd | 138 KV | 38L1809 Z1 | 30min
ComEd | 138 KV | 38L1809 Z2 | 30min
ComEd | 138 KV | 38L1809 Z3 | 30min
ComEd | 138 KV | 38L1809 Z4 | 30min
ComEd | 138 KV | 38L1809 Z5 | 30min
ComEd | 138 KV | 38L1811 1 | 30min
ComEd | 138 KV | 38L1811 2 | 30min
ComEd | 138 KV | 38L1811 3 | 30min
ComEd | 138 KV | 38L1811 4 | 30min
ComEd | 138 KV | 38L1811 5 | 30min
ComEd | 138 KV | 38L1811 6 | 30min
ComEd | 138 KV | 38L1811 7 | 30min
ComEd | 138 KV | 38L1811 8 | 30min
ComEd | 138 KV | 38L1811 Z1 | 30min
ComEd | 138 KV | 38L1811 Z2 | 30min
ComEd | 138 KV | 38L18505 1 | 30min
ComEd | 138 KV | 38L18505 2 | 30min
ComEd | 138 KV | 38L18505 3 | 30min
ComEd | 138 KV | 38L18505 4 | 30min
ComEd | 138 KV | 38L18505 5 | 30min
ComEd | 138 KV | 38L18505 Z1 | 30min
ComEd | 138 KV | 38L18505 Z2 | 30min
ComEd | 138 KV | 38L18506 1 | 30min
ComEd | 138 KV | 38L18506 2 | 30min
ComEd | 138 KV | 38L18506 3 | 30min
ComEd | 138 KV | 38L18506 4 | 30min
ComEd | 138 KV | 38L18506 5 | 30min
ComEd | 138 KV | 38L18506 Z1 | 30min
ComEd | 138 KV | 38L18506 Z2 | 30min
ComEd | 138 KV | 38L18507 1 | 30min
ComEd | 138 KV | 38L18507 2 | 30min
ComEd | 138 KV | 38L18507 Z1 | 30min
ComEd | 138 KV | 38L18508 1 | 30min
ComEd | 138 KV | 38L18508 2 | 30min
ComEd | 138 KV | 38L18508 Z1 | 30min
ComEd | 138 KV | 38L18512 1 | 30min
ComEd | 138 KV | 38L18512 2 | 30min
ComEd | 138 KV | 38L18512 Z1 | 30min
ComEd | 138 KV | 38L18513 1 | 30min
ComEd | 138 KV | 38L18513 2 | 30min
ComEd | 138 KV | 38L18513 Z1 | 30min
ComEd | 138 KV | 38L18618 1 | 30min
ComEd | 138 KV | 38L18623 | 30min
ComEd | 138 KV | 38L19414 1 | 30min
ComEd | 138 KV | 38L19414 2 | 30min
ComEd | 138 KV | 38L19414 3 | 30min
ComEd | 138 KV | 38L19414 4 | 30min
ComEd | 138 KV | 38L19414 5 | 30min
ComEd | 138 KV | 38L19414 6 | 30min
ComEd | 138 KV | 38L19414 7 | 30min
ComEd | 138 KV | 38L19414 Z1 | 30min
ComEd | 138 KV | 38L19414 Z2 | 30min
ComEd | 138 KV | 38L19801 | 30min
ComEd | 138 KV | 38L19801 Z1 | 30min
ComEd | 138 KV | 38L28201 | 30min
ComEd | 138 KV | 38L28201 Z1 | 30min
ComEd | 138 KV | 38L3706 | 30min
ComEd | 138 KV | 38L3707 | 30min
ComEd | 138 KV | 38L4202 1 | 30min
ComEd | 138 KV | 38L4202 2 | 30min
ComEd | 138 KV | 38L4202 Z1 | 30min
ComEd | 138 KV | 38L4203 1 | 30min
ComEd | 138 KV | 38L4203 2 | 30min
ComEd | 138 KV | 38L4203 Z1 | 30min
ComEd | 138 KV | 38L4605 1 | 30min
ComEd | 138 KV | 38L4605 10 | 30min
ComEd | 138 KV | 38L4605 11 | 30min
ComEd | 138 KV | 38L4605 2 | 30min
ComEd | 138 KV | 38L4605 3 | 30min
ComEd | 138 KV | 38L4605 4 | 30min
ComEd | 138 KV | 38L4605 5 | 30min
ComEd | 138 KV | 38L4605 6 | 30min
ComEd | 138 KV | 38L4605 7 | 30min
ComEd | 138 KV | 38L4605 8 | 30min
ComEd | 138 KV | 38L4605 9 | 30min
ComEd | 138 KV | 38L4605 Z1 | 30min
ComEd | 138 KV | 38L4605 Z2 | 30min
ComEd | 138 KV | 38L4605 Z3 | 30min
ComEd | 138 KV | 38L4606 1 | 30min
ComEd | 138 KV | 38L4606 2 | 30min
ComEd | 138 KV | 38L4606 3 | 30min
ComEd | 138 KV | 38L4606 4 | 30min
ComEd | 138 KV | 38L4606 5 | 30min
ComEd | 138 KV | 38L4606 6 | 30min
ComEd | 138 KV | 38L4606 7 | 30min
ComEd | 138 KV | 38L4606 8 | 30min
ComEd | 138 KV | 38L4606 9 | 30min
ComEd | 138 KV | 38L4606 Z1 | 30min
ComEd | 138 KV | 38L4607 | 30min
ComEd | 138 KV | 38L4607 Z1 | 30min
ComEd | 138 KV | 38L4608 1 | 30min
ComEd | 138 KV | 38L4608 2 | 30min
ComEd | 138 KV | 38L4608 Z1 | 30min
ComEd | 138 KV | 38L4610 | 30min
ComEd | 138 KV | 38L4611 | 30min
ComEd | 138 KV | 38L5101 1 | 30min
ComEd | 138 KV | 38L5101 2 | 30min
ComEd | 138 KV | 38L5101 3 | 30min
ComEd | 138 KV | 38L5102 | 30min
ComEd | 138 KV | 38L5103 1 | 30min
ComEd | 138 KV | 38L5103 2 | 30min
ComEd | 138 KV | 38L5103 3 | 30min
ComEd | 138 KV | 38L5103 4 | 30min
ComEd | 138 KV | 38L5103 7 | 30min
ComEd | 138 KV | 38L5103 8 | 30min
ComEd | 138 KV | 38L5103 9 | 30min
ComEd | 138 KV | 38L5104 1 | 30min
ComEd | 138 KV | 38L5104 10 | 30min
ComEd | 138 KV | 38L5104 11 | 30min
ComEd | 138 KV | 38L5104 2 | 30min
ComEd | 138 KV | 38L5104 3 | 30min
ComEd | 138 KV | 38L5104 4 | 30min
ComEd | 138 KV | 38L5104 5 | 30min
ComEd | 138 KV | 38L5104 6 | 30min
ComEd | 138 KV | 38L5104 7 | 30min
ComEd | 138 KV | 38L5104 8 | 30min
ComEd | 138 KV | 38L5104 9 | 30min
ComEd | 138 KV | 38L5105 | 30min
ComEd | 138 KV | 38L5107 | 30min
ComEd | 138 KV | 38L5117 1 | 30min
ComEd | 138 KV | 38L5117 2 | 30min
ComEd | 138 KV | 38L5117 Z1 | 30min
ComEd | 138 KV | 38L5118 1 | 30min
ComEd | 138 KV | 38L5118 2 | 30min
ComEd | 138 KV | 38L5118 3 | 30min
ComEd | 138 KV | 38L5118 4 | 30min
ComEd | 138 KV | 38L5118 6 | 30min
ComEd | 138 KV | 38L6101 1 | 30min
ComEd | 138 KV | 38L6101 2 | 30min
ComEd | 138 KV | 38L6101 3 | 30min
ComEd | 138 KV | 38L6101 4 | 30min
ComEd | 138 KV | 38L6101 Z1 | 30min
ComEd | 138 KV | 38L6102 1 | 30min
ComEd | 138 KV | 38L6102 2 | 30min
ComEd | 138 KV | 38L6102 3 | 30min
ComEd | 138 KV | 38L6102 4 | 30min
ComEd | 138 KV | 38L6603 1 | 30min
ComEd | 138 KV | 38L6603 2 | 30min
ComEd | 138 KV | 38L6603 4 | 30min
ComEd | 138 KV | 38L6603 5 | 30min
ComEd | 138 KV | 38L6603 Z1 | 30min
ComEd | 138 KV | 38L6604 1 | 30min
ComEd | 138 KV | 38L6604 2 | 30min
ComEd | 138 KV | 38L6604 4 | 30min
ComEd | 138 KV | 38L6604 5 | 30min
ComEd | 138 KV | 38L6604 Z1 | 30min
ComEd | 138 KV | 38L6605 1 | 30min
ComEd | 138 KV | 38L6605 2 | 30min
ComEd | 138 KV | 38L6605 Z1 | 30min
ComEd | 138 KV | 38L6606 1 | 30min
ComEd | 138 KV | 38L6606 2 | 30min
ComEd | 138 KV | 38L6606 Z1 | 30min
ComEd | 138 KV | 38L7305 1 | 30min
ComEd | 138 KV | 38L7305 2 | 30min
ComEd | 138 KV | 38L7305 3 | 30min
ComEd | 138 KV | 38L7305 4 | 30min
ComEd | 138 KV | 38L7305 5 | 30min
ComEd | 138 KV | 38L7305 6 | 30min
ComEd | 138 KV | 38L7305 7 | 30min
ComEd | 138 KV | 38L7305 8 | 30min
ComEd | 138 KV | 38L7306 1 | 30min
ComEd | 138 KV | 38L7306 11 | 30min
ComEd | 138 KV | 38L7306 2 | 30min
ComEd | 138 KV | 38L7306 5 | 30min
ComEd | 138 KV | 38L7306 6 | 30min
ComEd | 138 KV | 38L7306 7 | 30min
ComEd | 138 KV | 38L7306 8 | 30min
ComEd | 138 KV | 38L7306 9 | 30min
ComEd | 138 KV | 38L7306 Z1 | 30min
ComEd | 138 KV | 38L7307 1 | 30min
ComEd | 138 KV | 38L7307 2 | 30min
ComEd | 138 KV | 38L7307 3 | 30min
ComEd | 138 KV | 38L7307 4 | 30min
ComEd | 138 KV | 38L7307 Z1 | 30min
ComEd | 138 KV | 38L7307 Z2 | 30min
ComEd | 138 KV | 38L7307 Z3 | 30min
ComEd | 138 KV | 38L7411 1 | 30min
ComEd | 138 KV | 38L7411 2 | 30min
ComEd | 138 KV | 38L7411 Z1 | 30min
ComEd | 138 KV | 38L7413 | 30min
ComEd | 138 KV | 38L7421 | 30min
ComEd | 138 KV | 38L7423 | 30min
ComEd | 138 KV | 38L7611 1 | 30min
ComEd | 138 KV | 38L7611 10 | 30min
ComEd | 138 KV | 38L7611 2 | 30min
ComEd | 138 KV | 38L7611 3 | 30min
ComEd | 138 KV | 38L7611 4 | 30min
ComEd | 138 KV | 38L7611 5 | 30min
ComEd | 138 KV | 38L7611 6 | 30min
ComEd | 138 KV | 38L7611 7 | 30min
ComEd | 138 KV | 38L7611 8 | 30min
ComEd | 138 KV | 38L7611 9 | 30min
ComEd | 138 KV | 38L7611 Z1 | 30min
ComEd | 138 KV | 38L7612 1 | 30min
ComEd | 138 KV | 38L7612 2 | 30min
ComEd | 138 KV | 38L7612 3 | 30min
ComEd | 138 KV | 38L7612 4 | 30min
ComEd | 138 KV | 38L7612 5 | 30min
ComEd | 138 KV | 38L7612 6 | 30min
ComEd | 138 KV | 38L7612 7 | 30min
ComEd | 138 KV | 38L7612 8 | 30min
ComEd | 138 KV | 38L7612 Z1 | 30min
ComEd | 138 KV | 38L7612 Z2 | 30min
ComEd | 138 KV | 38L7615 1 | 30min
ComEd | 138 KV | 38L7615 2 | 30min
ComEd | 138 KV | 38L7615 3 | 30min
ComEd | 138 KV | 38L7615 4 | 30min
ComEd | 138 KV | 38L7615 5 | 30min
ComEd | 138 KV | 38L7615 6 | 30min
ComEd | 138 KV | 38L7615 7 | 30min
ComEd | 138 KV | 38L7615 8 | 30min
ComEd | 138 KV | 38L7615 Z1 | 30min
ComEd | 138 KV | 38L7616 10 | 30min
ComEd | 138 KV | 38L7616 11 | 30min
ComEd | 138 KV | 38L7616 3 | 30min
ComEd | 138 KV | 38L7616 4 | 30min
ComEd | 138 KV | 38L7616 6 | 30min
ComEd | 138 KV | 38L7616 7 | 30min
ComEd | 138 KV | 38L7616 8 | 30min
ComEd | 138 KV | 38L7713 1 | 30min
ComEd | 138 KV | 38L7713 2 | 30min
ComEd | 138 KV | 38L7713 3 | 30min
ComEd | 138 KV | 38L7901 | 30min
ComEd | 138 KV | 38L7902 1 | 30min
ComEd | 138 KV | 38L7902 2 | 30min
ComEd | 138 KV | 38L7902 Z2 | 30min
ComEd | 138 KV | 38L7903 1 | 30min
ComEd | 138 KV | 38L7903 2 | 30min
ComEd | 138 KV | 38L7903 Z2 | 30min
ComEd | 138 KV | 38L7910 1 | 30min
ComEd | 138 KV | 38L7910 2 | 30min
ComEd | 138 KV | 38L7910 3 | 30min
ComEd | 138 KV | 38L7910 Z1 | 30min
ComEd | 138 KV | 38L7910 Z2 | 30min
ComEd | 138 KV | 38L7915 1 | 30min
ComEd | 138 KV | 38L7915 2 | 30min
ComEd | 138 KV | 38L7915 3 | 30min
ComEd | 138 KV | 38L7915 4 | 30min
ComEd | 138 KV | 38L7915 5 | 30min
ComEd | 138 KV | 38L7915 Z1 | 30min
ComEd | 138 KV | 38L7915 Z2 | 30min
ComEd | 138 KV | 38L81414 | 30min
ComEd | 138 KV | 38L8603 1 | 30min
ComEd | 138 KV | 38L8603 2 | 30min
ComEd | 138 KV | 38L8603 3 | 30min
ComEd | 138 KV | 38L8604 1 | 30min
ComEd | 138 KV | 38L8604 2 | 30min
ComEd | 138 KV | 38L8604 3 | 30min
ComEd | 138 KV | 38L8604 4 | 30min
ComEd | 138 KV | 38L8604 5 | 30min
ComEd | 138 KV | 38L8604 6 | 30min
ComEd | 138 KV | 38L8604 Z1 | 30min
ComEd | 138 KV | 38L8605 1 | 30min
ComEd | 138 KV | 38L8605 2 | 30min
ComEd | 138 KV | 38L8605 3 | 30min
ComEd | 138 KV | 38L8605 4 | 30min
ComEd | 138 KV | 38L8605 5 | 30min
ComEd | 138 KV | 38L8607 1 | 30min
ComEd | 138 KV | 38L8607 2 | 30min
ComEd | 138 KV | 38L8607 Z2 | 30min
ComEd | 138 KV | 38L8801 1 | 30min
ComEd | 138 KV | 38L8801 2 | 30min
ComEd | 138 KV | 38L8801 3 | 30min
ComEd | 138 KV | 38L8802 1 | 30min
ComEd | 138 KV | 38L8802 2 | 30min
ComEd | 138 KV | 38L8802 3 | 30min
ComEd | 138 KV | 38L8803 1 | 30min
ComEd | 138 KV | 38L8803 2 | 30min
ComEd | 138 KV | 38L8803 4 | 30min
ComEd | 138 KV | 38L8803 Z1 | 30min
ComEd | 138 KV | 38L8803 Z2 | 30min
ComEd | 138 KV | 38L8805 1 | 30min
ComEd | 138 KV | 38L8805 2 | 30min
ComEd | 138 KV | 38L8805 Z1 | 30min
ComEd | 138 KV | 38L8805 Z2 | 30min
ComEd | 138 KV | 38L8806 1 | 30min
ComEd | 138 KV | 38L8806 2 | 30min
ComEd | 138 KV | 38L8806 Z1 | 30min
ComEd | 138 KV | 38L8806 Z2 | 30min
ComEd | 138 KV | 38L8809 1 | 30min
ComEd | 138 KV | 38L8809 2 | 30min
ComEd | 138 KV | 38L8809 3 | 30min
ComEd | 138 KV | 38L8809 4 | 30min
ComEd | 138 KV | 38L8809 5 | 30min
ComEd | 138 KV | 38L8809 Z1 | 30min
ComEd | 138 KV | 38L8810 1 | 30min
ComEd | 138 KV | 38L8810 2 | 30min
ComEd | 138 KV | 38L8810 3 | 30min
ComEd | 138 KV | 38L8810 Z1 | 30min
ComEd | 138 KV | 38L8810 Z2 | 30min
ComEd | 138 KV | 38L94101 | 30min
ComEd | 138 KV | 38L96101 Z1 | 30min
ComEd | 138 KV | 38LBTIE Z1 | 30min
ComEd | 138 KV | 38L94301 | 30min
ComEd | 138 KV | 38L74B1 Z1 | 30min
ComEd | 138 KV | 38L74B1 Z2 | 30min
ComEd | 138 KV | 38L74B1 Z3 | 30min
ComEd | 138 KV | 38L74B1 Z4 | 30min
ComEd | 138 KV | 38L74B2 Z1 | 30min
ComEd | 138 KV | 38L74B2 Z2 | 30min
ComEd | 138 KV | 38L42B5 Z1 | 30min
ComEd | 138 KV | 38L5103_5 | 30min
ComEd | 138 KV | 38L5103_Z1 | 30min
ComEd | 138 KV | 38L6102_5 | 30min
ComEd | 138 KV | 38L5104_12 | 30min
ComEd | 138 KV | 38L5104_13 | 30min
ComEd | 138 KV | 38L8805_3 | 30min
ComEd | 138 KV | 38L8806_3 | 30min
ComEd | 345 KV | 45L0101 | 30min
ComEd | 345 KV | 45L0102 | 30min
ComEd | 345 KV | 45L0103 | 30min
ComEd | 345 KV | 45L0104 | 30min
ComEd | 345 KV | 45L0301 | 30min
ComEd | 345 KV | 45L0302 | 30min
ComEd | 345 KV | 45L0303 | 30min
ComEd | 345 KV | 45L0304 | 30min
ComEd | 345 KV | 45L0401 1 | 30min
ComEd | 345 KV | 45L0402 | 30min
ComEd | 345 KV | 45L0403 | 30min
ComEd | 345 KV | 45L0404 | 30min
ComEd | 345 KV | 45L0405 | 30min
ComEd | 345 KV | 45L0621 | 30min
ComEd | 345 KV | 45L0622 | 30min
ComEd | 345 KV | 45L0624 | 30min
ComEd | 345 KV | 45L0627 | 30min
ComEd | 345 KV | 45L0721 | 30min
ComEd | 345 KV | 45L0722 | 30min
ComEd | 345 KV | 45L10111 1 | 30min
ComEd | 345 KV | 45L10111 Z1 | 30min
ComEd | 345 KV | 45L10112 1 | 30min
ComEd | 345 KV | 45L10112 Z1 | 30min
ComEd | 345 KV | 45L10321 | 30min
ComEd | 345 KV | 45L10322 | 30min
ComEd | 345 KV | 45L10801 | 30min
ComEd | 345 KV | 45L10802 | 30min
ComEd | 345 KV | 45L10803 | 30min
ComEd | 345 KV | 45L10804 | 30min
ComEd | 345 KV | 45L10805 | 30min
ComEd | 345 KV | 45L10806 | 30min
ComEd | 345 KV | 45L10807 | 30min
ComEd | 345 KV | 45L10808 | 30min
ComEd | 345 KV | 45L11119 | 30min
ComEd | 345 KV | 45L11120 1 | 30min
ComEd | 345 KV | 45L11120 2 | 30min
ComEd | 345 KV | 45L11120 3 | 30min
ComEd | 345 KV | 45L11120 4 | 30min
ComEd | 345 KV | 45L11120 5 | 30min
ComEd | 345 KV | 45L11124 | 30min
ComEd | 345 KV | 45L11126 | 30min
ComEd | 345 KV | 45L11212 | 30min
ComEd | 345 KV | 45L11601 | 30min
ComEd | 345 KV | 45L11602 | 30min
ComEd | 345 KV | 45L11604 | 30min
ComEd | 345 KV | 45L11607 | 30min
ComEd | 345 KV | 45L11608 | 30min
ComEd | 345 KV | 45L11613 1 | 30min
ComEd | 345 KV | 45L11613 2 | 30min
ComEd | 345 KV | 45L11613 3 | 30min
ComEd | 345 KV | 45L11614 1 | 30min
ComEd | 345 KV | 45L11614 2 | 30min
ComEd | 345 KV | 45L11614 3 | 30min
ComEd | 345 KV | 45L11617 | 30min
ComEd | 345 KV | 45L11620 | 30min
ComEd | 345 KV | 45L11622 | 30min
ComEd | 345 KV | 45L11723 | 30min
ComEd | 345 KV | 45L11724 | 30min
ComEd | 345 KV | 45L12001 | 30min
ComEd | 345 KV | 45L12002 | 30min
ComEd | 345 KV | 45L12003 | 30min
ComEd | 345 KV | 45L12004 | 30min
ComEd | 345 KV | 45L12005 | 30min
ComEd | 345 KV | 45L12006 | 30min
ComEd | 345 KV | 45L1220 | 30min
ComEd | 345 KV | 45L1221 | 30min
ComEd | 345 KV | 45L1222 | 30min
ComEd | 345 KV | 45L1223 | 30min
ComEd | 345 KV | 45L1310 | 30min
ComEd | 345 KV | 45L1311 | 30min
ComEd | 345 KV | 45L1312 | 30min
ComEd | 345 KV | 45L13817 | 30min
ComEd | 345 KV | 45L13821 | 30min
ComEd | 345 KV | 45L14321 | 30min
ComEd | 345 KV | 45L14401 | 30min
ComEd | 345 KV | 45L14402 | 30min
ComEd | 345 KV | 45L14419 1 | 30min
ComEd | 345 KV | 45L14419 2 | 30min
ComEd | 345 KV | 45L14419 3 | 30min
ComEd | 345 KV | 45L14419 4 | 30min
ComEd | 345 KV | 45L14419 5 | 30min
ComEd | 345 KV | 45L15423 | 30min
ComEd | 345 KV | 45L15424 | 30min
ComEd | 345 KV | 45L15501 | 30min
ComEd | 345 KV | 45L15502 | 30min
ComEd | 345 KV | 45L15503 | 30min
ComEd | 345 KV | 45L15504 | 30min
ComEd | 345 KV | 45L15615 | 30min
ComEd | 345 KV | 45L15616 | 30min
ComEd | 345 KV | 45L15925 | 30min
ComEd | 345 KV | 45L15926 | 30min
ComEd | 345 KV | 45L16703 | 30min
ComEd | 345 KV | 45L16704 | 30min
ComEd | 345 KV | 45L17101 | 30min
ComEd | 345 KV | 45L17102 | 30min
ComEd | 345 KV | 45L17701 | 30min
ComEd | 345 KV | 45L17702 | 30min
ComEd | 345 KV | 45L17703 1 | 30min
ComEd | 345 KV | 45L17704 | 30min
ComEd | 345 KV | 45L17705 | 30min
ComEd | 345 KV | 45L17907 | 30min
ComEd | 345 KV | 45L17908 | 30min
ComEd | 345 KV | 45L18502 | 30min
ComEd | 345 KV | 45L19601 | 30min
ComEd | 345 KV | 45L2001 | 30min
ComEd | 345 KV | 45L2002 | 30min
ComEd | 345 KV | 45L2003 | 30min
ComEd | 345 KV | 45L2004 | 30min
ComEd | 345 KV | 45L2101 | 30min
ComEd | 345 KV | 45L2102 1 | 30min
ComEd | 345 KV | 45L2102 2 | 30min
ComEd | 345 KV | 45L2102 3 | 30min
ComEd | 345 KV | 45L2105 | 30min
ComEd | 345 KV | 45L2106 | 30min
ComEd | 345 KV | 45L2218 | 30min
ComEd | 345 KV | 45L2219 | 30min
ComEd | 345 KV | 45L2221 | 30min
ComEd | 345 KV | 45L2222 | 30min
ComEd | 345 KV | 45L2223 | 30min
ComEd | 345 KV | 45L2224 | 30min
ComEd | 345 KV | 45L2310 | 30min
ComEd | 345 KV | 45L2311 | 30min
ComEd | 345 KV | 45L2912 | 30min
ComEd | 345 KV | 45L2913 | 30min
ComEd | 345 KV | 45L4620 | 30min
ComEd | 345 KV | 45L4621 | 30min
ComEd | 345 KV | 45L4622 | 30min
ComEd | 345 KV | 45L6607 | 30min
ComEd | 345 KV | 45L6608 | 30min
ComEd | 345 KV | 45L6615 | 30min
ComEd | 345 KV | 45L6617 | 30min
ComEd | 345 KV | 45L8001 1 | 30min
ComEd | 345 KV | 45L8001 2 | 30min
ComEd | 345 KV | 45L8001 3 | 30min
ComEd | 345 KV | 45L8002 | 30min
ComEd | 345 KV | 45L8012 | 30min
ComEd | 345 KV | 45L8014 | 30min
ComEd | 345 KV | 45L8823 | 30min
ComEd | 345 KV | 45L8824 | 30min
ComEd | 345 KV | 45L90001 Z1 | 30min
ComEd | 345 KV | 45L90002 Z1 | 30min
ComEd | 345 KV | 45L93505 | 30min
ComEd | 345 KV | 45L94001 Z1 | 30min
ComEd | 345 KV | 45L94507 | 30min
ComEd | 345 KV | 45L97008 | 30min
ComEd | 345 KV | 45L97601 | 30min
ComEd | 345 KV | 45L98501 Z1 | 30min
ComEd | 345 KV | 45L98901 | 30min
ComEd | 345 KV | 45L1202 | 30min
ComEd | 765 KV | 65L11215 | 30min
ComEd | 765 KV | 65L11215 Z1 | 30min
ComEd | 765 KV | 65L11216 | 30min
ComEd | 765 KV | 65L2315 | 30min

## COMED_STE Transformer Rating
STE Transformer Ratings:
Company | Station | Winding1 Voltage | Transformer Number | STE Limit
ComEd | 1 LASALLE CO | 345 KV | 1 Lasalle Co_TR81 | 30min
ComEd | 101 ITASCA | 345 KV | 101 Itasca_TR81 | 30min
ComEd | 101 ITASCA | 345 KV | 101 Itasca_TR82 | 30min
ComEd | 103 LISLE | 345 KV | 103 Lisle_TR82 | 30min
ComEd | 103 LISLE | 345 KV | 103 Lisle_TR83 | 30min
ComEd | 103 LISLE | 345 KV | 103 Lisle_TR84 | 30min
ComEd | 11 FISK | 345 KV | 11 Fisk_TR81 | 30min
ComEd | 11 FISK | 345 KV | 11 Fisk_TR82 | 30min
ComEd | 111 ELECT JN | 345 KV | 111 Elect Jn_TR81 | 30min
ComEd | 111 ELECT JN | 345 KV | 111 Elect Jn_TR82 | 30min
ComEd | 111 ELECT JN | 345 KV | 111 Elect Jn_TR83 | 30min
ComEd | 111 ELECT JN | 345 KV | 111 Elect Jn_TR84 | 30min
ComEd | 112 WILTON | 765 KV | 112 Wilton_TR93 | 30min
ComEd | 112 WILTON | 765 KV | 112 Wilton_TR94 | 30min
ComEd | 115 BEDFORD | 345 KV | 115 Bedford_TR81 | 30min
ComEd | 115 BEDFORD | 345 KV | 115 Bedford_TR82 | 30min
ComEd | 115 BEDFORD | 345 KV | 115 Bedford_TR83 | 30min
ComEd | 115 BEDFORD | 345 KV | 115 Bedford_TR84 | 30min
ComEd | 116 GOODINGS | 345 KV | 116 Goodings_TR81 | 30min
ComEd | 116 GOODINGS | 345 KV | 116 Goodings_TR82 | 30min
ComEd | 116 GOODINGS | 345 KV | 116 Goodings_TR83 | 30min
ComEd | 117 PROSPECT | 345 KV | 117 Prospect_TR81 | 30min
ComEd | 117 PROSPECT | 345 KV | 117 Prospect_TR84 | 30min
ComEd | 12 DRESDEN | 345 KV | 12 Dresden_TR81 | 30min
ComEd | 12 DRESDEN | 345 KV | 12 Dresden_TR83 | 30min
ComEd | 120 LOMBARD | 345 KV | 120 Lombard_TR82 | 30min
ComEd | 120 LOMBARD | 345 KV | 120 Lombard_TR84 | 30min
ComEd | 13 CRAWFORD | 345 KV | 13 Crawford_TR81 | 30min
ComEd | 13 CRAWFORD | 345 KV | 13 Crawford_TR82 | 30min
ComEd | 13 CRAWFORD | 345 KV | 13 Crawford_TR83 | 30min
ComEd | 13 CRAWFORD | 345 KV | 13 Crawford_TR84 | 30min
ComEd | 135 ELMHURST | 345 KV | 135 Elmhurst_TR81 | 30min
ComEd | 135 ELMHURST | 345 KV | 135 Elmhurst_TR83 | 30min
ComEd | 135 ELMHURST | 345 KV | 135 Elmhurst_TR84 | 30min
ComEd | 138 SILVER L | 345 KV | 138 Silver L_TR82 | 30min
ComEd | 138 SILVER L | 345 KV | 138 Silver L_TR83 | 30min
ComEd | 141 PLEASANT | 345 KV | 141 Pleasant_TR81 | 30min
ComEd | 143 WOLFS | 345 KV | 143 Wolfs_TR81 | 30min
ComEd | 144 WAYNE | 345 KV | 144 Wayne_TR81 | 30min
ComEd | 144 WAYNE | 345 KV | 144 Wayne_TR84 | 30min
ComEd | 148 WEST LOOP | 345 KV | 148 West Loop_TR81 | 30min
ComEd | 148 WEST LOOP | 345 KV | 148 West Loop_TR82 | 30min
ComEd | 153 TAYLOR | 345 KV | 153 Taylor_TR81 | 30min
ComEd | 153 TAYLOR | 345 KV | 153 Taylor_TR82 | 30min
ComEd | 154 LIBERTYV | 345 KV | 154 Libertyv_TR81 | 30min
ComEd | 154 LIBERTYV | 345 KV | 154 Libertyv_TR83 | 30min
ComEd | 155 NELSON | 345 KV | 155 Nelson_TR81 | 30min
ComEd | 155 NELSON | 345 KV | 155 Nelson_TR82 | 30min
ComEd | 155 NELSON | 345 KV | 155 Nelson_TR84 | 30min
ComEd | 156 CHERRY V | 345 KV | 156 Cherry V_TR81 | 30min
ComEd | 156 CHERRY V | 345 KV | 156 Cherry V_TR82 | 30min
ComEd | 156 CHERRY V | 345 KV | 156 Cherry V_TR83 | 30min
ComEd | 159 NORTHBRK | 345 KV | 159 Northbrk_TR81 | 30min
ComEd | 159 NORTHBRK | 345 KV | 159 Northbrk_TR82 | 30min
ComEd | 167 PLANO | 765 KV | 167 Plano_TR93 | 30min
ComEd | 167 PLANO | 765 KV | 167 Plano_TR94 | 30min
ComEd | 171 WEMPLETN | 345 KV | 171 Wempletn_TR84 | 30min
ComEd | 172 GOLFMILL | 345 KV | 172 Golfmill_TR81 | 30min
ComEd | 172 GOLFMILL | 345 KV | 172 Golfmill_TR82 | 30min
ComEd | 177 BURNHAM | 345 KV | 177 Burnham_TR81 | 30min
ComEd | 177 BURNHAM | 345 KV | 177 Burnham_TR84 | 30min
ComEd | 179 BLOOM | 345 KV | 179 Bloom_TR84 | 30min
ComEd | 185 TOLLWAY | 345 KV | 185 Tollway_TR83 | 30min
ComEd | 23 COLLINS | 765 KV | 23 Collins_TR92 | 30min
ComEd | 46 DESPLAINS | 345 KV | 46 Desplains_TR81 | 30min
ComEd | 46 DESPLAINS | 345 KV | 46 Desplains_TR82 | 30min
ComEd | 46 DESPLAINS | 345 KV | 46 Desplains_TR83 | 30min
ComEd | 46 DESPLAINS | 345 KV | 46 Desplains_TR84 | 30min
ComEd | 51 MC COOK | 345 KV | 51 Mc Cook_TR82 | 30min
ComEd | 51 MC COOK | 345 KV | 51 Mc Cook_TR84 | 30min
ComEd | 66 E FRNKFRT | 345 KV | 66 E Frnkfrt_TR83 | 30min
ComEd | 7 STATE LINE | 345 KV | 7 State Line_TR81 | 30min
ComEd | 7 STATE LINE | 345 KV | 7 State Line_TR82 | 30min
ComEd | 76 BLUE IS | 345 KV | 76 Blue Is_TR81 | 30min
ComEd | 76 BLUE IS | 345 KV | 76 Blue Is_TR82 | 30min
ComEd | 76 BLUE IS | 345 KV | 76 Blue Is_TR83 | 30min
ComEd | 76 BLUE IS | 345 KV | 76 Blue Is_TR84 | 30min
ComEd | 80 PONTIAC | 345 KV | 80 Pontiac_TR81 | 30min
ComEd | 80 PONTIAC | 345 KV | 80 Pontiac_TR82 | 30min
ComEd | 86 DAVIS CR | 345 KV | 86 Davis Cr_TR82 | 30min
ComEd | 86 DAVIS CR | 345 KV | 86 Davis Cr_TR83 | 30min
ComEd | 88 SKOKIE | 345 KV | 88 Skokie_TR81 | 30min
ComEd | 88 SKOKIE | 345 KV | 88 Skokie_TR82 | 30min
ComEd | 88 SKOKIE | 345 KV | 88 Skokie_TR83 | 30min
ComEd | 88 SKOKIE | 345 KV | 88 Skokie_TR84 | 30min

## PEPCO STE Transformer Rating
STE Transformer Ratings:
Company | Station | Winding1 Voltage | Transformer Number | STE Limit
PEPCO | Bells Mill Road | 138 KV | BellsMil 121-7T transformer | 4hr
PEPCO | Alabama Avenue | 230 KV | ALABAMA 4T XFORMER | 4hr
PEPCO | Bells Mill Road | 230 KV | BELLSMIL 121-11T XFORMER | 4hr
PEPCO | Bells Mill Road | 230 KV | BELLSMIL 121-12T XFORMER | 4hr
PEPCO | Bells Mill Road | 230 KV | BELLSMIL 121-13T XFORMER | 4hr
PEPCO | Bells Mill Road | 230 KV | BELLSMIL 121-3T XFORMER | 4hr
PEPCO | Bells Mill Road | 230 KV | BELLSMIL 121-4T XFORMER | 4hr
PEPCO | Bells Mill Road | 230 KV | BELLSMIL 121-5T XFORMER | 4hr
PEPCO | Bells Mill Road | 230 KV | BELLSMIL 121-6T XFORMER | 4hr
PEPCO | Benning Road | 230 KV | BENNING 14T XFORMER | 4hr
PEPCO | Benning Road | 230 KV | BENNING STA-11T XFORMER | 4hr
PEPCO | Bowie | 230 KV | BOWIE 162-1T XFORMER | 4hr
PEPCO | Bowie | 230 KV | BOWIE 162-2T XFORMER | 4hr
PEPCO | Brighton | 500 KV | BRIGHTON NO.3TR XFORMER | 4hr
PEPCO | Burches Hill | 500 KV | BURCHESH NO.3TR XFORMER | 4hr
PEPCO | Burches Hill | 500 KV | BURCHESH TR NO 4 XFORMER | 4hr
PEPCO | Buzzard Point | 230 KV | BUZZARD STAB-7- XFORMER | 4hr
PEPCO | Buzzard Point | 230 KV | BUZZARD STAB-14T XFORMER | 4hr
PEPCO | Champlain | 69 KV | CHMPLN 8T XFORMER | 4hr
PEPCO | Metzerott Road East | 230 KV | METZTAP 163-1T XFORMER | 4hr
PEPCO | Metzerott Road East | 230 KV | METZTAP 163-2T XFORMER | 4hr
PEPCO | Metzerott Road East | 230 KV | METZTAP 163-3T XFORMER | 4hr
PEPCO | Metzerott Road East | 230 KV | METZTAP 163-4T XFORMER | 4hr
PEPCO | Norbeck | 230 KV | NORBECK 1T XFORMER | 4hr
PEPCO | Norbeck | 230 KV | NORBECK 2T XFORMER | 4hr
PEPCO | Norbeck | 230 KV | NORBECK 3T XFORMER | 4hr
PEPCO | Norbeck | 230 KV | NORBECK 4T XFORMER | 4hr
PEPCO | Palmers Corner | 230 KV | PALMERS 084-1T XFORMER | 4hr
PEPCO | Palmers Corner | 230 KV | PALMERS 084-3T XFORMER | 4hr
PEPCO | Palmers Corner | 230 KV | PALMERS 084-4T XFORMER | 4hr
PEPCO | Potomac River | 230 KV | POTOMAC STAC-6T XFORMER | 4hr
PEPCO | Potomac River | 230 KV | POTOMAC STAC-7T XFORMER | 4hr
PEPCO | Potomac River | 230 KV | POTOMAC STAC-8T XFORMER | 4hr
PEPCO | Potomac River | 230 KV | POTOMAC STAC-9T XFORMER | 4hr
PEPCO | Quince Orchard | 230 KV | QUINCEOR 118-1T XFORMER | 4hr
PEPCO | Quince Orchard | 230 KV | QUINCEOR 118-3T XFORMER | 4hr
PEPCO | Quince Orchard | 230 KV | QUINCEOR 118-4T XFORMER | 4hr
PEPCO | Ritchie | 230 KV | RITCHIE 123-1T XFORMER | 4hr
PEPCO | Ritchie | 230 KV | RITCHIE 123-3T XFORMER | 4hr
PEPCO | Ritchie | 230 KV | RITCHIE 123-T4 XFORMER | 4hr
PEPCO | Takoma | 230 KV | TAKOMA 027-7T XFORMER | 4hr

## Info
Updated on 9/4/2024.