## Sheet1
Update Description | 2028 Case Updates |  |  | 2025 Case Updates | Posting Update
| Summer | Winter | LL | Short Circuit
Rating correction for Deans 500/230 transformer #3 | Y | Y | Y | N | 5.26.2021
Rating correction for Raritan to Kilmer (I) 230kV circuit | Y | Y | Y | N
Rating correction for Peach Bottom-Conaston 500 kV WE | N | Y | N | N
Correction for MAAC and PLGRP "Violation Type" column in the CETL summary workbook | N | N | N | N
In the 2028 winter results summary sheet, for the "Conductor/Transformer Rating (MVA)" column, correction of the term "SN/SE" to "WN/WE". | N | N | N | N
In the 2028 winter results summary sheet, for the "Conductor/Transformer Rating (MVA)" column, correction for the 28GILBERT-SFLD 230 kV tie line (PPL/JCPL). The conductor limit is the same as the base case rating. | N | N | N | N
Information for fault clearing times, one-line diagrams and a short circuit case added to the Stability Study Files folder. | N | N | N | N
Added the 28GILBERT-SFLD 230 kV tie line (PPL/JCPL) to the 2035 winter generator deliverability summary, as it would be overloaded (due to the conductor limit being the same as the base case rating). | N | N | N | N | 6.7.2021
Add the 28GILBERT-SFLD 230 kV tie line (PPL/JCPL) winter 2035 overload to word summary documents. | N | N | N | N | 6.18.2021
Added 87 of the 143 JCPL stuck breaker (P2-3) contingencies which were missing in the 2025 winter RTEP contingency files. | N | N | N | N
1422 Dorothy-Lewis 138 kV Line rating increase | Y | Y | Y | N | 7.2.2021
2312 Chambers-Pedricktown 230 kV line rating correction (increase) | Y | Y | Y | N
2311 Pedricktown-Bridgeport 230 kV line rating correction (increase) | Y | Y | Y | N
2317 Cedar-Cardiff 230 kV line rating correction (decrease) | Y | Y | Y | N
2315 Bridgeport-Mickleton 230 kV line rating correction (decrease) | Y | Y | Y | N
5015 Red Lion-Hope Creek 500 kV line (DPL/PSEG tie) impedance correction (decrease) | Y | Y | Y | Y
BL England #3 generator removal (deactivation) | N | N | N | Y
Oyster Creek Nuc generator removal (deactivation) | N | N | N | Y
A number PSE&G impedances updates, including nine 230 kV lines and thirteen transformers (two 345/230 kV, six 345/138 kV and five 230/138 kV). | Y | Y | Y | Y | 8.5.2021
OSW updates to Cardiff 230 kV, Smithburg 500 kV, Deans 500 kV, Oyster Creek 230 kV and BL England 138 kV to reflect changes from Solicitation #2. | Y | Y | Y | N