# PJM RTEP - 2021 State Agreement Approach (“SAA”) Proposal Window TO SUPPORT New Jersey offshore wind (“NJ OSW”)

# 2021 SAA Proposal Window TO SUPPORT NJ OSW: Option 1A

### Purpose of Proposal Window

PJM seeks technical solutions, also called proposals, to resolve potential reliability criteria violations on PJM facilities in accordance with all applicable planning criteria (PJM, NERC, SERC, RFC, and Local Transmission Owner criteria). A complete list of the reliability criteria that will be applied by PJM during its evaluation of proposals in this proposal window, along with the associated analytical procedures, study material and the terminology used to define the criteria violations is described in the Appendix to the 2021 NJ Offshore Wind SAA Transmission Proposal Window Overview document.

### Scope of Work

PJM is seeking proposals associated with the buildout of up to 7,500 MW of offshore wind off the coast of New Jersey by 2035 per the NJBPU Order and the Proposal Window Overview document.

This Problem Statement is for Option 1a, which shall address reliability violations on existing and planned PJM transmission facilities, both onshore and offshore, resulting from the injections at identified POIs representing future offshore wind generation and the transmission facilities necessary to connect the offshore wind to the PJM grid.

Option 1a proposals may resolve one or more reliability violations, whether independently or in combination with other proposals or portions of proposals.  Proposals for Option 1a should be complete and responsive in addressing the reliability criteria specified in the appendix of the Proposal Window Overview document and consider the system needs identified in all four problem statements.

Option 1a proposals should not be dependent on the implementation of work identified in the other options, i.e., Options 1b, 2 or 3.  However, the Option 1a proposals that are ultimately selected by PJM and the NJBPU will need to satisfy all reliability criteria for the final set of POIs, injection amounts and proposals awarded for Options 1b, 2 and 3. Any expected interdependencies with other proposals for the various options should be clearly described in the proposal submission.

PJM will provide a list of generator deliverability criteria violations for summer, winter and light load unique to the default set of injection locations and amounts identified in the SAA Proposal Window Overview document.  This list of criteria violations will not consider N-1-1, stability or short circuit criteria.  However, PJM will consider all applicable criteria including N-1-1, stability and short circuit when evaluating proposals.  PJM and the NJBPU are seeking a comprehensive set of transmission solutions to resolve all PJM reliability criteria violations that would not occur but for the addition of the NJ offshore wind generation and the transmission facilities necessary to connect it to the PJM grid.

The posted reliability violations may not be applicable to or sufficiently capture the reliability violations associated with alternative POIs, injection amounts or other assumptions that differ from those used to examine the default POIs specified, and PJM and the NJBPU reserve the right to not consider proposals developed to address such alternative assumptions if the outcome of this window does not result in a comprehensive set of proposals that when combined resolve all the reliability violations that are identified when these alternative assumptions are evaluated.

PJM reserves the right to perform a retool and/or update the posted analytical files for the window at any point during or after the window to account for errors identified in the analytical files or to account for Interconnection Customers with queue request dates prior to the release of the NJBPU Order (November 18, 2020) that either subsequently execute an Interconnection Service Agreement or withdraw their Interconnection Service Agreement.  No retool will be performed for suspension of Interconnection Service Agreements.

### Response Back To PJM (Deliverables)

This section describes the required elements of a complete proposal. The absence of any element renders the proposal incomplete and the proposal will not be considered for selection.

Often there are several viable solutions to a given violation. Include alternate solutions in separate proposals as described above. PJM will not accept a proposal containing multiple alternatives to address a common set of system needs.

Five categories of information are described below; four are required for a complete package and one is conditional.

- Completed PJM Proposal Submittal Template (including project description, value proposition to NJ and cost control and risk mitigation measures)

- BPU Supplemental Offshore Wind Transmission Proposals Data Collection Form

- Technical analysis files and documentation

- Project diagrams and schedules

- Company evaluation and operations and maintenance information (if required)

#### PJM Proposal Submittal Template

The PJM Competitive Planner Tool is used for proposal(s) submittal and captures project details, such as the criteria violations or system constraints that are being targeted by the proposed solution, the overall and specific project descriptions and the details of cost commitment, if included.  The Competitive Planner Tool and user guide are available on the Competitive Planning Process page: https://www.pjm.com/planning/competitive-planning-process.aspx.

All proposals will be made public and posted on pjm.com after the proposal window is closed. Mark all CEII and business confidential information for redaction from this public posting. Redact only information which meets the criteria of CEII or business proprietary and confidential information.

Redaction guidelines can be found in PJM Manual 14F, Section 6.2. Please note that this section provides guidance only. PJM reserves the right to challenge proposed redaction of information in order to ensure the appropriate level of transparency.

#### BPU Supplemental Offshore Wind Transmission Proposal Data Collection Form

In addition to the PJM Competitive Planner Tool submittal template, proposers must fully complete and submit the BPU Supplemental Offshore Wind Transmission Proposal Data Collection Form. This Data Collection Form will collect supplemental information related to proposals, including: a narrative description of the proposed project(s) and options; documentation of the projected benefits in terms of design, flexibility, ratepayer costs, and environmental impacts; an identification of major risks of (such as delay or non-completion risks, including the project-on-project risks created by the interdependence of the proposed project(s) and those of other transmission and offshore wind projects); strategies to limit risks to NJ customers; and cost recovery and containment provisions.

Proposing Entities shall include the following information in the BPU Supplemental Offshore Wind Transmission Proposal Data Collection Form:

- Proposing Entity Name

- Company ID

- Project Title

- PJM Proposal ID

Proposers shall provide a completed BPU Supplemental Offshore Wind Transmission Proposal Data Collection Form that includes confidential information and a redacted version which can be made public on PJM.com.  Redact only information which meets the criteria of CEII or business proprietary and confidential information.  Any information redacted in the BPU Supplemental Offshore Wind Transmission Proposal Data Collection Form shall be subject to the redaction guideline requirements in PJM Manual 14F, Section 6.2.

#### Technical Analysis Files and Documentation

Include the following technical information to provide a complete project proposal package:

- An analysis report of the proposed solution which identifies the issues being addressed, the data and assumptions, the analysis conducted and alternatives considered.  Basic information can be included in the PJM Proposal Submittal Template.  Additional details can be submitted via the BPU Supplemental Data Collection Form.

- A detailed analysis spreadsheet showing the planning analysis results for the project.

- A set of updates to the power flow cases which model the proposed solution. Provide files in a format compatible with PSS/E version 34.7. Provide only solvable and convergent solutions. Include an idev, or equivalent type file in order to apply changes to other models. Assign a unique identifier when new busses are required. Provide contingencies in a single file for each contingency type. Organize the contingencies into one of three categories:

  - Modified Contingencies

  - New Contingencies

  - Deleted Contingencies

- A list of all proposed equipment including but not limited to transmission lines, cables, transformers, substations, reactive devices, HVDC converter stations, FACTS devices, breakers etc., along with the relevant equipment parameters and assumptions needed to examine all evaluation criteria.  Equipment parameters and assumptions include but are not limited to ratings, impedances, line lengths, limits, settings, operational recommendations and restrictions and other applicable parameters and assumptions.  This information should be supplied to support both steady-state and time domain analyses as applicable.

- Additional documentation required to verify the proposal.

### Project Diagrams & Schedules

Provide project diagrams in the PJM Competitive Planner Tool to detail how the proposed solution will modify existing infrastructure, how new infrastructure will be configured and where new infrastructure will be sited. Project diagrams should include, but are not limited to, the following detail:

- Single line diagrams

- Substation general arrangement and station layout. If expanding the substation, identify the following:

  - Area to be modified

  - Land ownership or acquisition plan

- Line routing diagram:

  - Identify proposed route of new or upgraded transmission lines

  - Clearly identify where  acquisition of additional right-of-way is required

- Detailed project schedule. Include, at minimum, the following major work activities:

  - Engineering and design

  - Siting and permitting

  - ROW and land acquisition

  - Material procurement

  - Construction

  - Testing/commissioning

- Confirmation of Pre-Submission Meeting with the New Jersey Department of Environmental Protection (NJ DEP) and summary of feedback from the Pre-Submission Meeting regarding the submitter’s project

#### Company Evaluation and Operations and Maintenance Information

For proposers seeking Designated Entity status, provide additional information which will aid PJM in understanding how the proposed solution will be developed, constructed, operated and maintained. Include this information in the PJM Competitive Planner Tool.

Relevant PJM Operating Agreement, Schedule 6, section 1.5.8(f).

Entity-Specific Criteria Considered in Determining the Designated Entity for a Project.  In determining whether the entity proposing a Short-term Project, Long-lead Project or Economic-based Enhancement or Expansion recommended for inclusion in the plan shall be the Designated Entity, the Office of the Interconnection shall consider:  (i) whether in its proposal, the entity indicated its intent to be the Designated Entity; (ii) whether the entity is pre-qualified to be a Designated Entity pursuant to Operating Agreement, Schedule 6, section 1.5.8(a); (iii) information provided either in the proposing entity’s submission  pursuant to the Operating Agreement, Schedule 6, section 1.5.8(a) or 1.5.8(c)(2) relative to the specific proposed project that demonstrates:  (1) the technical and engineering experience of the entity or its affiliate, partner, or parent company, including its previous record regarding construction, maintenance, and operation of transmission facilities relative to the project proposed; (2) ability of the entity or its affiliate, partner, or parent company to construct, maintain, and operate transmission facilities, as proposed, (3) capability of the entity to adhere to standardized construction, maintenance, and operating practices, including the capability for emergency response and restoration of damaged equipment; (4) experience of the entity in acquiring rights of way; (5) evidence of the ability of the entity, its affiliate, partner, or parent company to secure a financial commitment from an approved financial institution(s) agreeing to finance the construction, operation, and maintenance of the project, if it is accepted into the recommended plan; and (iv) any other factors that may be relevant to the proposed project, including but not limited to whether the proposal includes the entity’s previously designated project(s) included in the plan.

### Proposal Fees

All proposals, upgrade and greenfield solutions, with the exception of solutions submitted with an estimated cost of $5M or less, submitted for consideration in the 2021 SAA Proposal Window to Support NJ OSW are subject to an initial $5,000 deposit per the PJM Operating Agreement 1.5.8(c).

Relevant PJM Operating Agreement language in Section 1.5.8(c):

(c)(1)	All proposals submitted in the proposal windows must contain:  (i) the name and address of the proposing entity; (ii) a statement whether the entity intends to be the Designated Entity for the proposed project; (iii) the location of proposed project, including source and sink, if applicable; (iv) relevant engineering studies, and other relevant information as described in the PJM Manuals pertaining to the proposed project; (v) a proposed initial construction schedule including projected dates on which needed permits are required to be obtained in order to meet the required in-service date; (vi) cost estimates and analyses that provide sufficient detail for the Office of Interconnection to review and analyze the proposed cost of the project; and (vii) with the exception of project proposals submitted with cost estimates of $5 million or less, a $5,000 non-refundable deposit must be included with each project proposal submitted by a proposing entity that indicates an intention to be the Designated Entity.

(c)(1)(i)  In addition, any proposing entity indicating its intention to be the Designated Entity will be responsible for and must pay all actual costs incurred by the Transmission Provider to evaluate the submitted project proposal.  To the extent the Transmission Provider incurs costs to evaluate multiple submitted project proposals where such costs are not severable by individual project proposal, the Transmission Provider shall invoice equal shares of the non-severable costs among the project proposals that cause such non-severable costs to be incurred.  Notwithstanding this method of invoicing non-severable costs, non-severable costs will be jointly and severally owed by the proposing entities that cause such costs to be incurred.

(c)(1)(ii)  All non-refundable deposits will be credited towards the actual costs incurred by the Transmission Provider as a result of the evaluation of a submitted project proposal.

(c)(1)(iii)  Following the close of a proposal window but before the Transmission Provider incurs any third-party consultant work costs to evaluate a submitted project proposal, the Transmission Provider will issue to the proposing entity an initial invoice seeking payment of estimated costs to evaluate each submitted project proposal.  The estimated costs will be determined by considering the:  potential cost of consultant work, historical estimates for project proposals of similar scope, complexity and nature of the need, and/or technology and nature of the project proposal. The Transmission Provider may issue additional invoices to the proposing entity prior to the completion of the evaluation activities associated with a project proposal if the Transmission Provider receives updated actual cost information and/or upon consideration of the factors specified in this section.

(c)(1)(iv)  At the completion of the evaluation activities associated with a project proposal, the Transmission Provider will reconcile the actual costs with monies paid and, to the extent necessary, issue either a final invoice or refund.

(c)(1)(v)  The proposing party must pay any invoiced costs within fifteen (15) calendar days of the Transmission Provider sending the invoice to the proposing entity or its agent.  For good cause shown, this fifteen (15) calendar day time period may be extended by the Transmission Provider.  If the proposing entity fails to pay any invoice within the time period specified and/or extended by the Transmission Provider in accordance with this section, the proposing entity’s pre-qualification status may be suspended and the proposing entity will be ineligible to be a Designated Entity for any projects that do not yet have an executed Designated Entity Agreement.  Such a suspension and/or ineligibility will remain in place until the proposing entity pays in full all outstanding monies owed to the Transmission Provider as a result of the evaluation of the proposing entity’s project proposal(s).

The non-refundable deposit is due at the time of submission. Pay the non-refundable deposit by wire transfer to PJM Interconnection at:

| Wire transfer funds to: | PJM Interconnection, LLC |
| --- | --- |
| Bank Name: | PNC Bank, N.A. New Jersey |
| ABA Number: | 031207607 (Fed Wire and ACH) |
| Account Number: | 80-1358-9826 |
| Provide Reference*: | Order 1000 |

To ensure the non-refundable deposit is properly accounted for, include a reference to “Order 1000 – Competitive submittal PJM Id ###” in the subject, notes or addenda field of the wire transfer form.  Please note that the PJM ID ### will be displayed on the confirmation email you receive after submitting the proposal and is also identified on the competitive planner tool once a competitive proposal is initially saved.

The proposer also needs to provide the following information to PJM:

Company Info, Primary contact name, billing email & Tax ID#.

The PJM Proposal ID can be located on the Existing Proposal screen in the PJM Competitive Planner Tool

### Timeline

4/15/2021: Opening of 2021 SAA Proposal Window to Support NJ OSW

8/13/2021: Close of 2021 SAA Proposal Window to Support NJ OSW at 11:59 p.m. Eastern Daylight Time

Notes:

- Confidentiality of individual proposals will be maintained for the duration of the window.

- Proposals received after close of the proposal window will not be accepted.

### Questions

Submit all questions about the proposal window to the PJM Planning Community. Submit questions involving confidential information or CEII under the “Confidential” topic on the Planning Community. Answers will be provided to all participants in the proposal window.

Please reference “2021 SAA Proposal Window to Support NJ OSW” in all correspondence.

Notice

In accordance with the Open Access Transmission Tariff, Attachment M, the MMU has access to data submitted to PJM through PJM’s competitive proposal window process.  See Manual 14F, section 8.4.4.

References:

- Proposal Window Overview

### Document Revision History

4/15/2021 - V1 -      Original Problem Statement posted to the PJM Competitive Planning Process webpage: https://www.pjm.com/planning/competitive-planning-process.aspx.